## Data
Log File Data
2007-11-06 10:47 | MERIT Configuration Data
Test Description: 12002 5TP 4bunches 0T no beam
Mode = Triggered
LogFile = C:\MERIT Data\071106 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.195 | 0 | 0 | 1.94 | 0.243
100 | 0 | 0 | -15.195 | 0 | 0 | 1.864 | 0.849
200 | 0 | 0 | -15.195 | 0 | 0 | 1.864 | 0.546
300 | 0 | 0 | -15.212 | 0 | 0 | 2.167 | 0.243
400 | 0 | 0 | -15.195 | 0 | 0 | 1.94 | 0.546
500 | 0 | 0 | -15.195 | 0 | 0 | 1.94 | 0.698
600 | 0 | 0 | -15.195 | 0 | 0 | 1.713 | 0.395
700 | 0 | 0 | -15.212 | 0 | 0 | 1.713 | 0.395
800 | 0 | 0 | -15.195 | 0 | 0 | 1.864 | 0.395
900 | 0 | 0 | -15.195 | 0 | 0 | 1.94 | 0.849
1000 | 0 | 0 | -15.195 | 0 | 0 | 1.94 | 0.698
1100 | 0 | 0 | -15.212 | 0 | 0 | 1.788 | 0.849
1200 | 0 | 0 | -15.195 | 0 | 0 | 2.091 | 0.092
1300 | 0 | 0 | -15.212 | 0 | 0 | 2.091 | 0.395
1400 | 0 | 0 | -15.195 | 0 | 0 | 1.94 | 0.546
1500 | 0 | 0 | -15.195 | 0 | 0 | 2.167 | 0.698
1600 | 0 | 0 | -15.195 | 0 | 0 | 1.788 | 0.546
1700 | 0 | 0 | -15.195 | 0 | 0 | 2.167 | 0.395
1800 | 0 | 0 | -15.212 | 0 | 0 | 2.091 | 1.001
1900 | 0 | 0 | -15.195 | 0 | 0 | 1.788 | 0.849
2000 | 0 | 0 | -15.212 | 0 | 0 | 1.94 | 0.698
2100 | 0 | 0 | -15.195 | 0 | 0 | 2.243 | 0.092
2200 | 0 | 0 | -15.212 | 0 | 0 | 2.319 | 0.395
2300 | 0 | 0 | -15.212 | 0 | 0 | 2.091 | 0.546
2400 | 0 | 0 | -15.212 | 0 | 0 | 1.713 | 0.849
2500 | 0 | 0 | -15.212 | 0 | 0 | 2.091 | 0.395
2600 | 0 | 0 | -15.212 | 0 | 0 | 1.94 | 0.092
2700 | 0 | 0 | -15.212 | 0 | 0 | 2.091 | -0.06
2800 | 0 | 0 | -15.212 | 0 | 0 | 1.94 | 0.546
2900 | 0 | 0 | -15.212 | 0 | 0 | 1.788 | 0.698
3000 | 0 | 0 | -15.212 | 0 | 0 | 1.713 | 0.698
3100 | 0 | 0 | -15.212 | 0 | 0 | 1.788 | 0.395
3200 | 0 | 0 | -15.212 | 0 | 0 | 2.319 | 0.395
3300 | 0 | 0 | -15.212 | 0 | 0 | 2.167 | 0.546
3400 | 0 | 0 | -15.212 | 0 | 0 | 1.713 | 1.001
3500 | 0 | 0 | -15.212 | 0 | 0 | 1.94 | 0.698
3600 | 0 | 0 | -15.212 | 0 | 0 | 2.243 | 0.395
3700 | 0 | 0 | -15.212 | 0 | 0 | 2.243 | 0.092
3800 | 0 | 0 | -15.212 | 0 | 0 | 2.091 | 0.395
3900 | 0 | 0 | -15.229 | 0 | 0 | 1.788 | 0.849
4000 | 0 | 0 | -15.212 | 0 | 0 | 1.713 | 0.395
4100 | 0 | 0 | -15.212 | 0 | 0 | 1.94 | 0.546
4200 | 0 | 0 | -15.229 | 0 | 0 | 1.94 | 0.395
4300 | 0 | 0 | -15.229 | 0 | 0 | 1.864 | 0.243
4400 | 0 | 0 | -15.229 | 0 | 0 | 1.94 | -0.06
4500 | 0 | 0 | -15.229 | 0 | 0 | 2.091 | 0.395
4600 | 0 | 0 | -15.229 | 0 | 0 | 2.243 | 0.546
4700 | 0 | 0 | -15.229 | 0 | 0 | 1.713 | 0.546
4800 | 0 | 0 | -15.212 | 0 | 0 | 1.864 | 0.395
4900 | 0 | 0 | -15.229 | 0 | 0 | 2.091 | 0.849
5000 | 0 | 0 | -15.229 | 0 | 0 | 1.864 | 0.092
5100 | 0 | 0 | -15.229 | 0 | 0 | 1.864 | 0.546
5200 | 0 | 0 | -15.229 | 0 | 0 | 1.788 | 0.698
5300 | 0 | 0 | -15.229 | 0 | 0 | 1.713 | 0.849
5400 | 0 | 0 | -15.229 | 0 | 0 | 1.864 | 0.698
5500 | 0 | 0 | -15.229 | 0 | 0 | 1.94 | 0.092
5600 | 0 | 0 | -15.229 | 0 | 0 | 1.788 | 0.546
5700 | 0 | 0 | -15.229 | 0 | 0 | 1.788 | 0.395
5800 | 0 | 0 | -15.229 | 0 | 0 | 2.091 | 0.243
5900 | 0 | 0 | -15.245 | 0 | 0 | 1.788 | 0.698
6000 | 0 | 0 | -15.229 | 0 | 0 | 2.319 | 0.395
6100 | 0 | 0 | -15.229 | 0 | 0 | 2.091 | 0.546
6200 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.849
6300 | 0 | 0 | -15.229 | 0 | 0 | 2.091 | 0.546
6400 | 0 | 0 | -15.229 | 0 | 0 | 1.94 | 1.001
6500 | 0 | 0 | -15.245 | 0 | 0 | 2.243 | 0.546
6600 | 0 | 0 | -15.229 | 0 | 0 | 2.167 | 0.395
6700 | 0 | 0 | -15.229 | 0 | 0 | 1.713 | 0.849
6800 | 0 | 0 | -15.229 | 0 | 0 | 1.788 | 0.698
6900 | 0 | 0 | -15.229 | 0 | 0 | 1.864 | 0.849
7000 | 0 | 0 | -15.229 | 0 | 0 | 2.319 | 0.849
7100 | 0 | 0 | -15.245 | 0 | 0 | 2.319 | 0.698
7200 | 0 | 0 | -15.245 | 0 | 0 | 1.864 | 0.698
7300 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.546
7400 | 0 | 0 | -15.229 | 0 | 0 | 1.864 | 0.698
7500 | 0 | 0 | -15.229 | 0 | 0 | 1.94 | 0.849
7600 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.546
7700 | 0 | 0 | -15.245 | 0 | 0 | 1.713 | 0.395
7800 | 0 | 0 | -15.245 | 0 | 0 | 1.713 | 0.546
7900 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.698
8000 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.698
8100 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.698
8200 | 0 | 0 | -15.245 | 0 | 0 | 1.864 | 0.546
8300 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.546
8400 | 0 | 0 | -15.245 | 0 | 0 | 2.167 | 0.698
8500 | 0 | 0 | -15.245 | 0 | 0 | 2.319 | 0.849
8600 | 0 | 0 | -15.245 | 0 | 0 | 2.091 | 0.849
8700 | 0 | 0 | -15.245 | 0 | 0 | 1.788 | 0.395
8800 | 0 | 0 | -15.245 | 0 | 0 | 1.864 | 0.849
8900 | 0 | 0 | -15.245 | 0 | 0 | 2.091 | 0.849
9000 | 0 | 0 | -15.245 | 0 | 0 | 2.091 | 0.698
9100 | 0 | 0 | -15.262 | 0 | 0 | 2.167 | 0.698
9200 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.395
9300 | 0 | 0 | -15.245 | 0 | 0 | 2.091 | 0.395
9400 | 0 | 0 | -15.245 | 0 | 0 | 1.713 | 0.546
9500 | 0 | 0 | -15.262 | 0 | 0 | 2.167 | 0.395
9600 | 0 | 0 | -15.245 | 0 | 0 | 2.167 | 0.546
9700 | 0 | 0 | -15.245 | 0 | 0 | 2.243 | 0.546
9800 | 0 | 0 | -15.262 | 0 | 0 | 2.091 | 1.304
9900 | 0 | 0 | -15.262 | 0 | 0 | 1.713 | 0.243
10000 | 0 | 0 | -15.262 | 0 | 0 | 1.713 | 0.698
10100 | 0 | 0 | -15.262 | 0 | 0 | 1.788 | 0.243
10200 | 0 | 0 | -15.245 | 0 | 0 | 2.091 | 0.546
10300 | 0 | 0 | -15.262 | 0 | 0 | 2.091 | 0.395
10400 | 0 | 0 | -15.262 | 0 | 0 | 2.243 | 0.698
10500 | 0 | 0 | -15.262 | 0 | 0 | 1.864 | 0.698
10600 | 0 | 0 | -15.262 | 0 | 0 | 1.864 | 0.395
10700 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.395
10800 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.092
10900 | 0 | 0 | -15.245 | 0 | 0 | 1.94 | 0.849
11000 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.849
11100 | 0 | 0 | -15.262 | 0 | 0 | 1.788 | 0.698
11200 | 0 | 0 | -15.262 | 0 | 0 | 2.091 | 0.849
11300 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.395
11400 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.849
11500 | 0 | 0 | -15.262 | 0 | 0 | 1.788 | 0.546
11600 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 0.092
11700 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.243
11800 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.395
11900 | 0 | 0 | -15.279 | 0 | 0 | 1.788 | 0.546
12000 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.546
12100 | 0 | 0 | -15.262 | 0 | 0 | 1.94 | 0.395
12200 | 0 | 0 | -15.262 | 0 | 0 | 2.167 | 0.849
12300 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 1.001
12400 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 0.698
12500 | 0 | 0 | -15.262 | 0 | 0 | 2.091 | 0.698
12600 | 0 | 0 | -15.279 | 0 | 0 | 2.091 | 0.849
12700 | 0 | 0 | -15.279 | 0 | 0 | 2.319 | 0.849
12800 | 0 | 0 | -15.262 | 0 | 0 | 1.788 | 0.849
12900 | 0 | 0 | -15.262 | 0 | 0 | 1.788 | 0.395
13000 | 0 | 0 | -15.279 | 0 | 0 | 1.864 | 0.395
13100 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | -0.06
13200 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 0.546
13300 | 0 | 0 | -15.279 | 0 | 0 | 1.864 | 0.698
13400 | 0 | 0 | -15.279 | 0 | 0 | 1.864 | 0.698
13500 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 0.395
13600 | 0 | 0 | -15.279 | 0 | 0 | 2.091 | 0.849
13700 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 0.546
13800 | 0 | 0 | -15.279 | 0 | 0 | 1.788 | 0.698
13900 | 0 | 0 | -15.279 | 0 | 0 | 1.788 | 0.849
14000 | 0 | 0 | -15.279 | 0 | 0 | 1.713 | 0.849
14100 | 0 | 0 | -15.279 | 0 | 0 | 1.713 | 0.849
14200 | 0 | 0 | -15.279 | 0 | 0 | 1.788 | 0.698
14300 | 0 | 0 | -15.279 | 0 | 0 | 1.864 | 0.395
14400 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 0.546
14500 | 0 | 0 | -15.312 | 0 | 0 | 1.864 | 0.546
14600 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 0.698
14700 | 0 | 0 | -15.279 | 0 | 0 | 1.788 | 1.001
14800 | 0 | 0 | -15.279 | 0 | 0 | 2.091 | 0.849
14900 | 0 | 0 | -15.279 | 0 | 0 | 2.243 | 0.546
15000 | 0 | 0 | -15.279 | 0 | 0 | 2.319 | 0.849
15100 | 0 | 0 | -15.312 | 0 | 0 | 1.94 | 0.698
15200 | 0 | 0 | -15.312 | 0 | 0 | 1.788 | 0.546
15300 | 0 | 0 | -15.279 | 0 | 0 | 1.713 | 0.849
15400 | 0 | 0 | -15.312 | 0 | 0 | 1.864 | 0.698
15500 | 0 | 0 | -15.312 | 0 | 0 | 1.864 | 1.001
15600 | 0 | 0 | -15.312 | 0 | 0 | 1.94 | 0.395
15700 | 0 | 0 | -15.312 | 0 | 0 | 1.94 | 0.395
15800 | 0 | 0 | -15.312 | 0 | 0 | 1.864 | 0.698
15900 | 0 | 0 | -15.279 | 0 | 0 | 1.94 | 0.698
16000 | 0 | 0 | -15.312 | 0 | 0 | 2.243 | 0.546
16100 | 0 | 0 | -15.312 | 0 | 0 | 1.864 | 0.395
16200 | 0 | 0 | -15.312 | 0 | 0 | 1.713 | 0.243
16300 | 0 | 0 | -15.312 | 0 | 0 | 1.864 | 0.395
16400 | 0 | 0 | -15.312 | 0 | 0 | 1.864 | 0.092
16500 | 0 | 0 | -15.312 | 0 | 0 | 2.243 | 0.395
16600 | 0 | 0 | -15.312 | 0 | 0 | 2.167 | 0.092
16700 | 0 | 0 | -15.312 | 0 | 0 | 2.243 | 1.001
16800 | 0 | 0 | -15.312 | 0 | 0 | 2.319 | 1.152
16900 | 0 | 0 | -15.312 | 0 | 0 | 1.864 | 0.546
17000 | 0 | 0 | -15.312 | 0 | 0 | 2.167 | 1.001
17100 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 1.001
17200 | 0 | 0 | -15.312 | 0 | 0 | 2.091 | 0.395
17300 | 0 | 0 | -15.312 | 0 | 0 | 1.788 | 0.395
17400 | 0 | 0 | -15.312 | 0 | 0 | 2.091 | 0.698
17500 | 0 | 0 | -15.312 | 0 | 0 | 2.091 | 1.001
17600 | 0 | 0 | -15.312 | 0 | 0 | 2.243 | 0.546
17700 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.395
17800 | 0 | 0 | -15.329 | 0 | 0 | 1.788 | 0.395
17900 | 0 | 0 | -15.329 | 0 | 0 | 1.788 | 1.001
18000 | 0 | 0 | -15.329 | 0 | 0 | 2.167 | 0.546
18100 | 0 | 0 | -15.312 | 0 | 0 | 2.091 | 0.395
18200 | 0 | 0 | -15.329 | 0 | 0 | 1.864 | 0.395
18300 | 0 | 0 | -15.329 | 0 | 0 | 1.788 | 0.546
18400 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.395
18500 | 0 | 0 | -15.329 | 0 | 0 | 1.864 | 0.546
18600 | 0 | 0 | -15.329 | 0 | 0 | 1.94 | 0.395
18700 | 0 | 0 | -15.329 | 0 | 0 | 2.167 | 0.546
18800 | 0 | 0 | -15.329 | 0 | 0 | 1.94 | 0.698
18900 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.698
19000 | 0 | 0 | -15.329 | 0 | 0 | 1.788 | 0.395
19100 | 0 | 0 | -15.329 | 0 | 0 | 1.94 | 0.395
19200 | 0 | 0 | -15.329 | 0 | 0 | 1.864 | 0.546
19300 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.698
19400 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.849
19500 | 0 | 0 | -15.329 | 0 | 0 | 1.94 | 0.849
19600 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.698
19700 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.395
19800 | 0 | 0 | -15.329 | 0 | 0 | 1.94 | 0.546
19900 | 0 | 0 | -15.329 | 0 | 0 | 2.167 | 0.698
20000 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.849
20100 | 0 | 0 | -15.329 | 0 | 0 | 2.091 | 0.546
20200 | 0 | 0 | -15.329 | 0 | 0 | 1.713 | 0.546
20300 | 0 | 0 | -15.329 | 0 | 0 | 1.94 | 0.546
20400 | 0 | 0 | -15.346 | 0 | 0 | 1.864 | 1.152
20500 | 0 | 0 | -15.346 | 0 | 0 | 2.167 | 1.001
20600 | 0 | 0 | -15.346 | 0 | 0 | 1.713 | 0.243
20700 | 0 | 0 | -15.346 | 0 | 0 | 1.864 | 0.698
20800 | 0 | 0 | -15.329 | 0 | 0 | 1.864 | 0.395
20900 | 0 | 0 | -15.346 | 0 | 0 | 2.319 | 0.546
21000 | 0 | 0 | -15.329 | 0 | 0 | 2.167 | 0.395
21100 | 0 | 0 | -15.346 | 0 | 0 | 2.091 | 0.395
21200 | 0 | 0 | -15.346 | 0 | 0 | 1.788 | 0.395
21300 | 0 | 0 | -15.346 | 0 | 0 | 1.94 | 0.395
21400 | 0 | 0 | -15.346 | 0 | 0 | 1.864 | 0.698
21500 | 0 | 0 | -15.346 | 0 | 0 | 1.94 | 0.849
21600 | 0 | 0 | -15.346 | 0 | 0 | 1.788 | 0.849
21700 | 0 | 0 | -15.346 | 0 | 0 | 1.864 | 0.698
21800 | 0 | 0 | -15.346 | 0 | 0 | 1.788 | 0.546
21900 | 0 | 0 | -15.346 | 0 | 0 | 2.167 | 0.395
22000 | 0 | 0 | -15.346 | 0 | 0 | 2.091 | 0.395
22100 | 0 | 0 | -15.346 | 0 | 0 | 2.243 | 0.849
22200 | 0 | 0 | -15.363 | 0 | 0 | 1.94 | 0.546
22300 | 0 | 0 | -15.346 | 0 | 0 | 2.091 | 0.849
22400 | 0 | 0 | -15.363 | 0 | 0 | 2.167 | 0.243
22500 | 0 | 0 | -15.346 | 0 | 0 | 2.243 | 0.395
22600 | 0 | 0 | -15.363 | 0 | 0 | 2.167 | 0.698
22700 | 0 | 0 | -15.346 | 0 | 0 | 1.864 | 1.001
22800 | 0 | 0 | -15.346 | 0 | 0 | 2.091 | 0.849
22900 | 0 | 0 | -15.363 | 0 | 0 | 1.864 | 0.395
23000 | 0 | 0 | -15.363 | 0 | 0 | 1.864 | 0.395
23100 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.698
23200 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.698
23300 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.092
23400 | 0 | 0 | -15.363 | 0 | 0 | 2.167 | 0.546
23500 | 0 | 0 | -15.346 | 0 | 0 | 2.167 | 0.395
23600 | 0 | 0 | -15.363 | 0 | 0 | 2.243 | 0.546
23700 | 0 | 0 | -15.363 | 0 | 0 | 1.94 | 0.546
23800 | 0 | 0 | -15.363 | 0 | 0 | 2.091 | 1.001
23900 | 0 | 0 | -15.363 | 0 | 0 | 1.637 | 0.698
24000 | 0 | 0 | -15.363 | 0 | 0 | 1.94 | 0.395
24100 | 0 | 0 | -15.363 | 0 | 0 | 2.091 | 0.546
24200 | 0 | 0 | -15.363 | 0 | 0 | 1.864 | 0.395
24300 | 0 | 0 | -15.379 | 0 | 0 | 2.091 | 0.546
24400 | 0 | 0 | -15.363 | 0 | 0 | 2.091 | 0.546
24500 | 0 | 0 | -15.363 | 0 | 0 | 1.94 | 0.698
24600 | 0 | 0 | -15.363 | 0 | 0 | 1.864 | 0.243
24700 | 0 | 0 | -15.363 | 0 | 0 | 2.091 | 0.698
24800 | 0 | 0 | -15.363 | 0 | 0 | 1.94 | 0.395
24900 | 0 | 0 | -15.363 | 0 | 0 | 2.167 | 0.395
25000 | 0 | 0 | -15.363 | 0 | 0 | 1.788 | 0.546
25100 | 0.04 | 0.04 | -15.363 | 0 | 258.548 | 1.788 | 0.243
25200 | 0.081 | 0.081 | -15.363 | 0 | 258.548 | 1.788 | 0.395
25300 | 0.121 | 0.15 | -15.379 | 0 | 258.548 | 1.864 | 0.243
25400 | 0.161 | 0.189 | -15.363 | -103.988 | 258.548 | 1.94 | 0.698
25500 | 0.202 | 0.267 | -15.379 | 103.988 | 258.548 | 1.788 | 0.849
25600 | 0.242 | 0.314 | -15.363 | -103.988 | 258.548 | 1.713 | 1.001
25700 | 0.282 | 0.383 | -15.363 | 103.988 | 258.548 | 1.334 | 1.304
25800 | 0.323 | 0.456 | -15.363 | 0 | 258.548 | 1.334 | 1.152
25900 | 0.363 | 0.532 | -15.363 | 0 | 258.548 | 1.41 | 1.304
26000 | 0.403 | 0.63 | -15.379 | 0 | 258.548 | 1.485 | 1.91
26100 | 0.443 | 0.714 | -15.379 | -103.988 | 258.548 | 1.258 | 3.122
26200 | 0.484 | 0.786 | -15.363 | 0 | 258.548 | 2.243 | 4.031
26300 | 0.524 | 0.879 | -15.363 | 103.988 | 258.548 | 3.91 | 6.001
26400 | 0.564 | 0.976 | -15.363 | 0 | 258.548 | 5.88 | 10.092
26500 | 0.605 | 0.993 | -15.279 | 0 | 258.548 | 10.122 | 16.305
26600 | 0.645 | 1.014 | -15.195 | 519.96 | 258.548 | 16.714 | 23.73
26700 | 0.685 | 1.022 | -15.094 | 519.954 | 258.548 | 25.957 | 34.336
26800 | 0.726 | 1.051 | -15.011 | 623.936 | 258.548 | 33.76 | 43.883
26900 | 0.766 | 1.067 | -14.91 | 519.96 | 258.548 | 41.488 | 53.732
27000 | 0.806 | 1.054 | -14.776 | 623.942 | 258.548 | 49.67 | 64.49
27100 | 0.847 | 1.061 | -14.658 | 831.925 | 258.548 | 55.959 | 72.672
27200 | 0.887 | 1.09 | -14.558 | 727.936 | 258.548 | 61.111 | 78.733
27300 | 0.927 | 1.106 | -14.44 | 623.948 | 258.548 | 65.656 | 84.643
27400 | 0.968 | 1.092 | -14.289 | 727.936 | 258.548 | 70.505 | 90.401
27500 | 1.008 | 1.099 | -14.155 | 935.913 | 258.548 | 74.672 | 95.401
27600 | 1.048 | 1.143 | -14.055 | 831.925 | 258.548 | 77.096 | 98.735
27700 | 1.089 | 1.108 | -13.87 | 623.942 | 258.548 | 81.112 | 102.371
27800 | 1.129 | 1.127 | -13.736 | 1143.908 | 258.548 | 83.006 | 106.008
27900 | 1.169 | 1.167 | -13.619 | 831.925 | 258.548 | 84.294 | 107.523
28000 | 1.209 | 1.16 | -13.451 | 727.931 | 258.548 | 86.188 | 110.099
28100 | 1.25 | 1.208 | -13.334 | 1039.908 | 258.548 | 87.855 | 112.069
28200 | 1.29 | 1.21 | -13.166 | 727.931 | 258.548 | 89.673 | 113.736
28300 | 1.33 | 1.215 | -12.998 | 1039.913 | 258.548 | 91.037 | 116.463
28400 | 1.371 | 1.242 | -12.847 | 1039.908 | 258.548 | 91.643 | 117.675
28500 | 1.411 | 1.256 | -12.68 | 935.913 | 258.548 | 93.007 | 119.191
28600 | 1.451 | 1.273 | -12.512 | 1039.913 | 258.548 | 93.537 | 120.251
28700 | 1.492 | 1.312 | -12.361 | 1039.902 | 258.548 | 93.461 | 122.07
28800 | 1.532 | 1.27 | -12.125 | 935.913 | 258.548 | 94.673 | 123.736
28900 | 1.572 | 1.3 | -11.957 | 1462.372 | 258.548 | 95.431 | 125.1
29000 | 1.613 | 1.3 | -11.756 | 1039.913 | 258.548 | 95.431 | 125.858
29100 | 1.653 | 1.338 | -11.588 | 1247.878 | 258.548 | 95.583 | 127.07
29200 | 1.693 | 1.363 | -11.404 | 1039.913 | 258.548 | 95.734 | 127.221
29300 | 1.734 | 1.359 | -11.186 | 1143.896 | 258.548 | 96.416 | 128.585
29400 | 1.774 | 1.375 | -10.985 | 1351.879 | 258.548 | 97.098 | 129.04
29500 | 1.814 | 1.412 | -10.8 | 1247.89 | 258.548 | 96.643 | 130.1
29600 | 1.855 | 1.42 | -10.582 | 1143.908 | 258.548 | 96.871 | 131.161
29700 | 1.895 | 1.482 | -10.415 | 1351.867 | 258.548 | 92.476 | 135.101
29800 | 1.935 | 1.481 | -10.18 | 1039.913 | 258.548 | 84.976 | 141.465
29900 | 1.975 | 1.535 | -9.995 | 1455.867 | 258.548 | 85.43 | 143.435
30000 | 2.016 | 1.508 | -9.727 | 1143.902 | 258.548 | 83.991 | 145.101
30100 | 2.056 | 1.536 | -9.509 | 1663.85 | 258.548 | 85.885 | 146.617
30200 | 2.096 | 1.551 | -9.274 | 1351.879 | 258.548 | 86.491 | 146.617
30300 | 2.137 | 1.537 | -9.006 | 1455.873 | 258.548 | 85.809 | 147.98
30400 | 2.177 | 1.577 | -8.788 | 1663.85 | 258.548 | 86.491 | 147.677
30500 | 2.217 | 1.571 | -8.52 | 1351.879 | 258.548 | 86.112 | 148.283
30600 | 2.258 | 1.585 | -8.268 | 1663.85 | 258.548 | 85.733 | 148.89
30700 | 2.298 | 1.604 | -8.016 | 1559.861 | 258.548 | 85.885 | 149.041
30800 | 2.338 | 1.592 | -7.73 | 1559.867 | 258.548 | 85.355 | 150.102
30900 | 2.379 | 1.652 | -7.512 | 1774.334 | 258.548 | 85.203 | 150.253
31000 | 2.419 | 1.649 | -7.227 | 1351.882 | 258.548 | 83.991 | 151.314
31100 | 2.419 | 1.639 | -6.976 | 1767.844 | 258.548 | 83.309 | 152.223
31200 | 2.419 | 1.63 | -6.724 | 1559.861 | 258.548 | 83.839 | 153.587
31300 | 2.419 | 1.587 | -6.439 | 1559.858 | 258.548 | 84.749 | 152.829
31400 | 2.419 | 1.543 | -6.154 | 1767.844 | 258.548 | 85.43 | 152.375
31500 | 2.419 | 1.534 | -5.902 | 1767.844 | 258.548 | 87.173 | 150.556
31600 | 2.419 | 1.541 | -5.668 | 1559.858 | 258.548 | 88.385 | 149.041
31700 | 2.419 | 1.498 | -5.383 | 1455.873 | 258.548 | 87.703 | 148.132
31800 | 2.419 | 1.538 | -5.181 | 1767.844 | 258.548 | 88.764 | 147.829
31900 | 2.419 | 1.529 | -4.93 | 1247.884 | 258.548 | 87.627 | 146.92
32000 | 2.419 | 1.569 | -4.729 | 1559.861 | 258.548 | 87.097 | 147.677
32100 | 2.419 | 1.509 | -4.427 | 1247.893 | 258.548 | 86.491 | 147.677
32200 | 2.419 | 1.533 | -4.209 | 1871.832 | 258.548 | 86.946 | 148.435
32300 | 2.419 | 1.524 | -3.957 | 1351.882 | 258.548 | 88.309 | 147.526
32400 | 2.419 | 1.548 | -3.739 | 1559.858 | 258.548 | 87.779 | 147.223
32500 | 2.419 | 1.537 | -3.487 | 1351.876 | 258.548 | 87.097 | 147.677
32600 | 2.419 | 1.527 | -3.235 | 1566.365 | 258.548 | 86.718 | 148.132
32700 | 2.298 | 1.397 | -2.983 | 1559.86 | 258.548 | 87.703 | 147.98
32800 | 2.177 | 1.287 | -2.765 | 1559.86 | 258.548 | 92.022 | 146.162
32900 | 2.056 | 1.149 | -2.531 | 1351.882 | 258.548 | 95.431 | 141.616
33000 | 1.935 | 1.083 | -2.38 | 1455.867 | 258.548 | 97.174 | 137.828
33100 | 1.814 | 0.988 | -2.212 | 935.918 | 258.548 | 97.098 | 132.07
33200 | 1.693 | 0.965 | -2.128 | 1039.908 | 258.548 | 95.961 | 129.04
33300 | 1.572 | 0.862 | -1.977 | 519.954 | 258.548 | 93.158 | 124.342
33400 | 1.451 | 0.815 | -1.893 | 935.917 | 258.548 | 92.097 | 121.312
33500 | 1.33 | 0.755 | -1.81 | 519.955 | 258.548 | 89.143 | 115.402
33600 | 1.209 | 0.683 | -1.726 | 519.954 | 258.548 | 85.733 | 110.251
33700 | 1.089 | 0.633 | -1.675 | 519.952 | 258.548 | 82.097 | 105.705
33800 | 0.968 | 0.587 | -1.642 | 311.973 | 258.548 | 78.991 | 100.098
33900 | 0.847 | 0.496 | -1.575 | 207.981 | 258.548 | 74.899 | 94.492
34000 | 0.726 | 0.426 | -1.541 | 415.962 | 258.548 | 70.278 | 89.037
34100 | 0.605 | 0.361 | -1.524 | 207.984 | 258.548 | 66.338 | 83.734
34200 | 0.484 | 0.284 | -1.508 | 103.989 | 258.548 | 62.777 | 79.643
34300 | 0.363 | 0.194 | -1.491 | 103.992 | 258.548 | 59.444 | 75.248
34400 | 0.242 | 0.093 | -1.474 | 103.989 | 258.548 | 57.625 | 72.218
34500 | 0.121 | 0 | -1.474 | 103.992 | 258.548 | 54.065 | 68.733