## Data
Log File Data
2007-11-06 10:52 | MERIT Configuration Data
Test Description: 12003 5TP 4bunches 0T
Mode = Triggered
LogFile = C:\MERIT Data\071106 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.776 | 0 | 0 | 1.864 | 0.395
100 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.546
200 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 0.849
300 | 0 | 0 | -14.776 | 0 | 0 | 1.94 | 0.395
400 | 0 | 0 | -14.776 | 0 | 0 | 1.788 | 0.395
500 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.395
600 | 0 | 0 | -14.776 | 0 | 0 | 1.637 | 0.546
700 | 0 | 0 | -14.776 | 0 | 0 | 1.637 | 0.698
800 | 0 | 0 | -14.776 | 0 | 0 | 1.94 | 1.001
900 | 0 | 0 | -14.776 | 0 | 0 | 1.864 | 0.849
1000 | 0 | 0 | -14.776 | 0 | 0 | 1.94 | 0.698
1100 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.395
1200 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.546
1300 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.546
1400 | 0 | 0 | -14.776 | 0 | 0 | 1.713 | 0.849
1500 | 0 | 0 | -14.809 | 0 | 0 | 1.94 | 0.698
1600 | 0 | 0 | -14.776 | 0 | 0 | 1.94 | 0.849
1700 | 0 | 0 | -14.809 | 0 | 0 | 1.864 | 0.395
1800 | 0 | 0 | -14.809 | 0 | 0 | 1.864 | 0.546
1900 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.546
2000 | 0 | 0 | -14.776 | 0 | 0 | 2.091 | 0.849
2100 | 0 | 0 | -14.809 | 0 | 0 | 1.788 | 0.092
2200 | 0 | 0 | -14.809 | 0 | 0 | 1.94 | 0.395
2300 | 0 | 0 | -14.809 | 0 | 0 | 1.864 | 0.849
2400 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.092
2500 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 1.001
2600 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 1.001
2700 | 0 | 0 | -14.776 | 0 | 0 | 1.788 | 0.698
2800 | 0 | 0 | -14.809 | 0 | 0 | 1.864 | 1.304
2900 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.698
3000 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.546
3100 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 0.698
3200 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | 0.546
3300 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | 0.395
3400 | 0 | 0 | -14.809 | 0 | 0 | 1.94 | 0.395
3500 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.698
3600 | 0 | 0 | -14.826 | 0 | 0 | 1.94 | 0.849
3700 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.849
3800 | 0 | 0 | -14.809 | 0 | 0 | 1.637 | 0.698
3900 | 0 | 0 | -14.826 | 0 | 0 | 1.713 | 0.395
4000 | 0 | 0 | -14.826 | 0 | 0 | 1.713 | 0.849
4100 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | 0.243
4200 | 0 | 0 | -14.826 | 0 | 0 | 1.864 | 0.849
4300 | 0 | 0 | -14.826 | 0 | 0 | 1.94 | 0.395
4400 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.395
4500 | 0 | 0 | -14.809 | 0 | 0 | 2.091 | 0.546
4600 | 0 | 0 | -14.826 | 0 | 0 | 1.94 | 0.546
4700 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.849
4800 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.849
4900 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.546
5000 | 0 | 0 | -14.826 | 0 | 0 | 1.864 | 0.243
5100 | 0 | 0 | -14.826 | 0 | 0 | 1.94 | 0.546
5200 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.395
5300 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.849
5400 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.698
5500 | 0 | 0 | -14.826 | 0 | 0 | 1.788 | 0.395
5600 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.092
5700 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 0.395
5800 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 1.001
5900 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.395
6000 | 0 | 0 | -14.826 | 0 | 0 | 1.713 | 0.395
6100 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.546
6200 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.698
6300 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | 1.001
6400 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 0.849
6500 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.546
6600 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.395
6700 | 0 | 0 | -14.826 | 0 | 0 | 1.637 | 0.698
6800 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.849
6900 | 0 | 0 | -14.843 | 0 | 0 | 1.864 | 0.546
7000 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.546
7100 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.546
7200 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.395
7300 | 0 | 0 | -14.843 | 0 | 0 | 1.864 | 0.395
7400 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 0.395
7500 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.849
7600 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
7700 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | 1.152
7800 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.849
7900 | 0 | 0 | -14.843 | 0 | 0 | 1.94 | 0.395
8000 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | 0.546
8100 | 0 | 0 | -14.843 | 0 | 0 | 1.94 | 0.395
8200 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.698
8300 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.395
8400 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.546
8500 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | 0.395
8600 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | 0.546
8700 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.849
8800 | 0 | 0 | -14.843 | 0 | 0 | 1.94 | 0.546
8900 | 0 | 0 | -14.86 | 0 | 0 | 1.864 | 0.698
9000 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | 0.849
9100 | 0 | 0 | -14.843 | 0 | 0 | 1.788 | 0.092
9200 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.698
9300 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
9400 | 0 | 0 | -14.843 | 0 | 0 | 1.94 | 0.849
9500 | 0 | 0 | -14.86 | 0 | 0 | 1.94 | 0.395
9600 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 0.395
9700 | 0 | 0 | -14.86 | 0 | 0 | 1.864 | 0.395
9800 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.395
9900 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.546
10000 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.849
10100 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | -0.06
10200 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.546
10300 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.546
10400 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.546
10500 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 0.395
10600 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 0.698
10700 | 0 | 0 | -14.86 | 0 | 0 | 1.94 | 0.395
10800 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.546
10900 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
11000 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 1.152
11100 | 0 | 0 | -14.86 | 0 | 0 | 1.864 | 0.546
11200 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.243
11300 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.546
11400 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 0.546
11500 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.849
11600 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.849
11700 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.546
11800 | 0 | 0 | -14.86 | 0 | 0 | 1.864 | 0.395
11900 | 0 | 0 | -14.86 | 0 | 0 | 1.788 | 0.546
12000 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.395
12100 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.698
12200 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.698
12300 | 0 | 0 | -14.876 | 0 | 0 | 2.091 | 0.849
12400 | 0 | 0 | -14.876 | 0 | 0 | 1.864 | 0.243
12500 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.395
12600 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.546
12700 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.698
12800 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.849
12900 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.849
13000 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.395
13100 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.395
13200 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.546
13300 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.395
13400 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.698
13500 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.546
13600 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.546
13700 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.546
13800 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.546
13900 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.395
14000 | 0 | 0 | -14.876 | 0 | 0 | 1.864 | 0.849
14100 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.546
14200 | 0 | 0 | -14.876 | 0 | 0 | 1.788 | 0.546
14300 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.698
14400 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.849
14500 | 0 | 0 | -14.893 | 0 | 0 | 1.864 | 0.849
14600 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
14700 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.546
14800 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.395
14900 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.546
15000 | 0 | 0 | -14.893 | 0 | 0 | 1.864 | 0.849
15100 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
15200 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.395
15300 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.546
15400 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.546
15500 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.546
15600 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.395
15700 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.395
15800 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.243
15900 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.395
16000 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 1.001
16100 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.849
16200 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.849
16300 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.395
16400 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.546
16500 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
16600 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.849
16700 | 0 | 0 | -14.893 | 0 | 0 | 1.864 | 0.698
16800 | 0 | 0 | -14.893 | 0 | 0 | 2.091 | 0.395
16900 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.546
17000 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 1.001
17100 | 0 | 0 | -14.91 | 0 | 0 | 1.864 | 0.546
17200 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.395
17300 | 0 | 0 | -14.893 | 0 | 0 | 1.94 | 0.546
17400 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.698
17500 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.546
17600 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 1.152
17700 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.395
17800 | 0 | 0 | -14.91 | 0 | 0 | 1.94 | 0.395
17900 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.395
18000 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.849
18100 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.698
18200 | 0 | 0 | -14.91 | 0 | 0 | 1.864 | 0.395
18300 | 0 | 0 | -14.91 | 0 | 0 | 1.864 | 0.395
18400 | 0 | 0 | -14.91 | 0 | 0 | 1.94 | 0.243
18500 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.092
18600 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
18700 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.395
18800 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.243
18900 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 0.395
19000 | 0 | 0 | -14.91 | 0 | 0 | 1.94 | 0.546
19100 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 0.395
19200 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.546
19300 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.546
19400 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.546
19500 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 1.001
19600 | 0 | 0 | -14.927 | 0 | 0 | 2.091 | 0.698
19700 | 0 | 0 | -14.91 | 0 | 0 | 2.091 | 0.546
19800 | 0 | 0 | -14.91 | 0 | 0 | 1.864 | 0.395
19900 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.395
20000 | 0 | 0 | -14.927 | 0 | 0 | 2.091 | 0.546
20100 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 0.546
20200 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 0.395
20300 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.546
20400 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.698
20500 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.849
20600 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 0.698
20700 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.395
20800 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.243
20900 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.243
21000 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.698
21100 | 0 | 0 | -14.927 | 0 | 0 | 1.864 | 0.395
21200 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 0.698
21300 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.546
21400 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 0.395
21500 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.546
21600 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.546
21700 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.395
21800 | 0 | 0 | -14.927 | 0 | 0 | 2.091 | 1.001
21900 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.849
22000 | 0 | 0 | -14.927 | 0 | 0 | 1.864 | 0.698
22100 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.395
22200 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.243
22300 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.546
22400 | 0 | 0 | -14.943 | 0 | 0 | 2.243 | 0.849
22500 | 0 | 0 | -14.927 | 0 | 0 | 1.94 | 0.395
22600 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.395
22700 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.395
22800 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.698
22900 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.546
23000 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.092
23100 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.395
23200 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.546
23300 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.546
23400 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.698
23500 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.395
23600 | 0 | 0 | -14.943 | 0 | 0 | 1.864 | 0.395
23700 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.849
23800 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.546
23900 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.395
24000 | 0 | 0 | -14.96 | 0 | 0 | 1.637 | -0.06
24100 | 0 | 0 | -14.96 | 0 | 0 | 1.94 | 0.546
24200 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.849
24300 | 0 | 0 | -14.943 | 0 | 0 | 1.864 | 0.849
24400 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
24500 | 0 | 0 | -14.96 | 0 | 0 | 1.713 | 0.395
24600 | 0 | 0 | -14.96 | 0 | 0 | 1.788 | 0.243
24700 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.546
24800 | 0 | 0 | -14.943 | 0 | 0 | 1.94 | 0.243
24900 | 0 | 0 | -14.943 | 0 | 0 | 1.864 | 0.243
25000 | 0 | 0 | -14.96 | 0 | 0 | 1.788 | 1.001
25100 | 0.04 | 0.04 | -14.96 | 0 | 258.548 | 1.788 | 0.546
25200 | 0.081 | 0.081 | -14.96 | 0 | 258.548 | 1.637 | 1.001
25300 | 0.121 | 0.133 | -14.96 | 0 | 258.548 | 1.637 | 0.546
25400 | 0.161 | 0.173 | -14.943 | 0 | 258.548 | 1.561 | 1.001
25500 | 0.202 | 0.233 | -14.943 | 103.988 | 258.548 | 1.637 | 1.001
25600 | 0.242 | 0.298 | -14.943 | 0 | 258.548 | 1.41 | 1.304
25700 | 0.282 | 0.383 | -14.96 | 0 | 258.548 | 1.485 | 0.849
25800 | 0.323 | 0.456 | -14.96 | -103.988 | 258.548 | 1.485 | 1.001
25900 | 0.363 | 0.532 | -14.96 | 0 | 258.548 | 1.258 | 0.849
26000 | 0.403 | 0.613 | -14.96 | 0 | 258.548 | 1.258 | 1.607
26100 | 0.443 | 0.681 | -14.943 | 0 | 258.548 | 1.182 | 2.819
26200 | 0.484 | 0.769 | -14.943 | 103.988 | 258.548 | 2.167 | 3.728
26300 | 0.524 | 0.862 | -14.943 | 0 | 258.548 | 3.682 | 5.395
26400 | 0.564 | 0.959 | -14.943 | 0 | 258.548 | 5.349 | 7.971
26500 | 0.605 | 1.009 | -14.893 | 0 | 258.548 | 8.834 | 13.881
26600 | 0.645 | 0.997 | -14.776 | 311.971 | 258.548 | 16.638 | 22.972
26700 | 0.685 | 1.022 | -14.692 | 727.931 | 258.548 | 24.669 | 32.67
26800 | 0.726 | 1.034 | -14.591 | 519.96 | 258.548 | 32.7 | 42.367
26900 | 0.766 | 1.05 | -14.491 | 623.948 | 258.548 | 41.033 | 53.732
27000 | 0.806 | 1.054 | -14.373 | 623.942 | 258.548 | 47.701 | 62.217
27100 | 0.847 | 1.078 | -14.273 | 727.936 | 258.548 | 54.292 | 69.642
27200 | 0.887 | 1.09 | -14.155 | 623.936 | 258.548 | 60.429 | 77.37
27300 | 0.927 | 1.072 | -14.004 | 727.936 | 258.548 | 66.262 | 84.794
27400 | 0.968 | 1.092 | -13.887 | 935.925 | 258.548 | 70.202 | 89.946
27500 | 1.008 | 1.099 | -13.753 | 727.931 | 258.548 | 74.521 | 94.189
27600 | 1.048 | 1.126 | -13.635 | 831.925 | 258.548 | 77.172 | 97.977
27700 | 1.089 | 1.141 | -13.501 | 727.936 | 258.548 | 80.354 | 101.008
27800 | 1.129 | 1.16 | -13.367 | 831.925 | 258.548 | 82.097 | 104.493
27900 | 1.169 | 1.15 | -13.199 | 831.925 | 258.548 | 84.673 | 107.523
28000 | 1.209 | 1.177 | -13.065 | 1039.902 | 258.548 | 86.491 | 110.402
28100 | 1.25 | 1.175 | -12.898 | 831.937 | 258.548 | 88.612 | 112.069
28200 | 1.29 | 1.227 | -12.78 | 1039.902 | 258.548 | 89.446 | 113.584
28300 | 1.33 | 1.232 | -12.612 | 727.936 | 258.548 | 89.522 | 116.009
28400 | 1.371 | 1.242 | -12.445 | 1039.902 | 258.548 | 91.87 | 117.372
28500 | 1.411 | 1.239 | -12.26 | 1039.913 | 258.548 | 93.385 | 118.433
28600 | 1.451 | 1.256 | -12.092 | 1143.896 | 258.548 | 94.143 | 119.948
28700 | 1.492 | 1.261 | -11.907 | 1046.413 | 258.548 | 94.749 | 120.706
28800 | 1.532 | 1.286 | -11.739 | 1143.89 | 258.548 | 95.658 | 121.615
28900 | 1.572 | 1.316 | -11.572 | 1039.913 | 258.548 | 95.507 | 122.979
29000 | 1.613 | 1.317 | -11.37 | 1039.902 | 258.548 | 97.098 | 123.585
29100 | 1.653 | 1.321 | -11.169 | 1247.896 | 258.548 | 97.477 | 124.494
29200 | 1.693 | 1.363 | -11.002 | 1247.878 | 258.548 | 98.159 | 125.706
29300 | 1.734 | 1.342 | -10.767 | 1039.913 | 258.548 | 98.537 | 126.615
29400 | 1.774 | 1.358 | -10.566 | 1455.873 | 258.548 | 98.916 | 127.07
29500 | 1.814 | 1.379 | -10.364 | 1247.878 | 258.548 | 99.825 | 127.525
29600 | 1.855 | 1.37 | -10.129 | 1247.896 | 258.548 | 99.977 | 127.828
29700 | 1.895 | 1.415 | -9.945 | 1455.867 | 258.548 | 100.583 | 128.585
29800 | 1.935 | 1.414 | -9.71 | 1143.902 | 258.548 | 101.189 | 128.434
29900 | 1.975 | 1.434 | -9.492 | 1455.867 | 258.548 | 100.734 | 130.1
30000 | 2.016 | 1.458 | -9.274 | 1351.885 | 258.548 | 101.189 | 129.797
30100 | 2.056 | 1.452 | -9.023 | 1351.879 | 258.548 | 100.583 | 132.07
30200 | 2.096 | 1.501 | -8.821 | 1559.861 | 258.548 | 100.507 | 132.676
30300 | 2.137 | 1.487 | -8.553 | 1247.884 | 258.548 | 99.825 | 134.04
30400 | 2.177 | 1.527 | -8.335 | 1663.856 | 258.548 | 98.916 | 134.646
30500 | 2.217 | 1.52 | -8.067 | 1351.879 | 258.548 | 99.75 | 135.252
30600 | 2.258 | 1.551 | -7.831 | 1663.85 | 258.548 | 99.825 | 135.707
30700 | 2.298 | 1.536 | -7.546 | 1462.372 | 258.548 | 99.901 | 136.465
30800 | 2.338 | 1.575 | -7.311 | 1767.844 | 258.548 | 99.825 | 137.374
30900 | 2.379 | 1.618 | -7.076 | 1455.87 | 258.548 | 86.34 | 144.798
31000 | 2.419 | 1.666 | -6.842 | 1455.864 | 258.548 | 82.248 | 149.193
31100 | 2.419 | 1.639 | -6.573 | 1455.873 | 258.548 | 82.4 | 151.465
31200 | 2.419 | 1.63 | -6.322 | 1663.853 | 258.548 | 83.006 | 153.132
31300 | 2.419 | 1.603 | -6.053 | 1559.861 | 258.548 | 84.142 | 152.375
31400 | 2.419 | 1.56 | -5.768 | 1663.853 | 258.548 | 85.658 | 151.465
31500 | 2.419 | 1.551 | -5.517 | 1767.838 | 258.548 | 87.627 | 150.405
31600 | 2.419 | 1.524 | -5.248 | 1559.867 | 258.548 | 88.158 | 148.89
31700 | 2.419 | 1.531 | -5.014 | 1663.847 | 258.548 | 88.612 | 148.587
31800 | 2.419 | 1.538 | -4.779 | 1455.873 | 258.548 | 88.234 | 148.283
31900 | 2.419 | 1.495 | -4.494 | 1455.87 | 258.548 | 87.703 | 147.526
32000 | 2.419 | 1.519 | -4.276 | 1767.844 | 258.548 | 88.612 | 147.526
32100 | 2.419 | 1.509 | -4.024 | 1351.876 | 258.548 | 88.612 | 146.465
32200 | 2.419 | 1.517 | -3.789 | 1559.864 | 258.548 | 88.309 | 146.314
32300 | 2.419 | 1.523 | -3.554 | 1455.871 | 258.548 | 88.309 | 146.617
32400 | 2.419 | 1.53 | -3.319 | 1462.369 | 258.548 | 88.082 | 146.92
32500 | 2.419 | 1.554 | -3.101 | 1455.866 | 258.548 | 87.627 | 147.223
32600 | 2.419 | 1.51 | -2.816 | 1351.882 | 258.548 | 86.794 | 147.223
32700 | 2.298 | 1.413 | -2.598 | 1767.844 | 258.548 | 88.006 | 147.223
32800 | 2.177 | 1.271 | -2.346 | 1351.879 | 258.548 | 91.264 | 145.253
32900 | 2.056 | 1.183 | -2.162 | 1559.861 | 258.548 | 94.446 | 141.768
33000 | 1.935 | 1.05 | -1.944 | 1143.899 | 258.548 | 97.098 | 138.131
33100 | 1.814 | 1.005 | -1.826 | 1351.878 | 258.548 | 98.234 | 134.646
33200 | 1.693 | 0.914 | -1.675 | 727.936 | 258.548 | 96.34 | 129.343
33300 | 1.572 | 0.845 | -1.558 | 935.916 | 258.548 | 95.431 | 123.888
33400 | 1.451 | 0.798 | -1.474 | 727.935 | 258.548 | 93.158 | 120.1
33500 | 1.33 | 0.721 | -1.374 | 519.955 | 258.548 | 89.294 | 115.402
33600 | 1.209 | 0.666 | -1.306 | 623.943 | 258.548 | 85.961 | 110.554
33700 | 1.089 | 0.616 | -1.256 | 415.962 | 258.548 | 83.006 | 105.553
33800 | 0.968 | 0.554 | -1.206 | 311.973 | 258.548 | 78.687 | 99.795
33900 | 0.847 | 0.496 | -1.172 | 311.973 | 258.548 | 74.066 | 93.886
34000 | 0.726 | 0.426 | -1.139 | 207.98 | 258.548 | 69.899 | 88.279
34100 | 0.605 | 0.344 | -1.105 | 207.981 | 258.548 | 66.338 | 83.885
34200 | 0.484 | 0.267 | -1.088 | 207.981 | 258.548 | 62.399 | 78.885
34300 | 0.363 | 0.178 | -1.072 | 103.992 | 258.548 | 59.292 | 75.4
34400 | 0.242 | 0.076 | -1.055 | 103.989 | 258.548 | 56.565 | 71.763
34500 | 0.121 | 0 | -1.055 | 103.992 | 258.548 | 54.065 | 68.733