## Data
Log File Data
2007-11-06 11:53 | MERIT Configuration Data
Test Description: 12007 4TP 4bunches 0T no beam
Mode = Triggered
LogFile = C:\MERIT Data\071106 logfile.txt
Trigger-Pulse Delay (s) = 32.220000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.363 | 0 | 0 | 2.395 | 1.001
100 | 0 | 0 | -15.363 | 0 | 0 | 2.319 | 1.001
200 | 0 | 0 | -15.363 | 0 | 0 | 2.319 | 1.152
300 | 0 | 0 | -15.363 | 0 | 0 | 2.395 | 1.455
400 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 1.152
500 | 0 | 0 | -15.379 | 0 | 0 | 2.167 | 1.001
600 | 0 | 0 | -15.363 | 0 | 0 | 2.091 | 0.698
700 | 0 | 0 | -15.363 | 0 | 0 | 2.091 | 0.849
800 | 0 | 0 | -15.363 | 0 | 0 | 2.091 | 0.849
900 | 0 | 0 | -15.379 | 0 | 0 | 2.167 | 1.152
1000 | 0 | 0 | -15.363 | 0 | 0 | 2.47 | 1.304
1100 | 0 | 0 | -15.363 | 0 | 0 | 2.167 | 1.304
1200 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 0.849
1300 | 0 | 0 | -15.363 | 0 | 0 | 1.94 | 1.001
1400 | 0 | 0 | -15.379 | 0 | 0 | 2.091 | 0.698
1500 | 0 | 0 | -15.379 | 0 | 0 | 2.167 | 0.698
1600 | 0 | 0 | -15.379 | 0 | 0 | 2.395 | 1.304
1700 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 0.698
1800 | 0 | 0 | -15.379 | 0 | 0 | 2.319 | 1.455
1900 | 0 | 0 | -15.396 | 0 | 0 | 2.167 | 1.304
2000 | 0 | 0 | -15.363 | 0 | 0 | 2.091 | 0.849
2100 | 0 | 0 | -15.379 | 0 | 0 | 2.395 | 1.001
2200 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 1.304
2300 | 0 | 0 | -15.379 | 0 | 0 | 2.167 | 0.849
2400 | 0 | 0 | -15.379 | 0 | 0 | 2.167 | 1.001
2500 | 0 | 0 | -15.379 | 0 | 0 | 2.319 | 1.304
2600 | 0 | 0 | -15.379 | 0 | 0 | 2.395 | 0.698
2700 | 0 | 0 | -15.379 | 0 | 0 | 2.167 | 0.698
2800 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 0.849
2900 | 0 | 0 | -15.379 | 0 | 0 | 2.319 | 0.849
3000 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 0.849
3100 | 0 | 0 | -15.379 | 0 | 0 | 2.091 | 1.304
3200 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 1.152
3300 | 0 | 0 | -15.396 | 0 | 0 | 2.243 | 0.546
3400 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 0.546
3500 | 0 | 0 | -15.379 | 0 | 0 | 2.395 | 0.698
3600 | 0 | 0 | -15.379 | 0 | 0 | 2.243 | 1.001
3700 | 0 | 0 | -15.379 | 0 | 0 | 2.167 | 0.849
3800 | 0 | 0 | -15.379 | 0 | 0 | 2.319 | 0.849
3900 | 0 | 0 | -15.396 | 0 | 0 | 2.319 | 0.849
4000 | 0 | 0 | -15.396 | 0 | 0 | 2.167 | 0.698
4100 | 0 | 0 | -15.396 | 0 | 0 | 2.546 | 0.395
4200 | 0 | 0 | -15.396 | 0 | 0 | 2.319 | 0.546
4300 | 0 | 0 | -15.396 | 0 | 0 | 2.243 | 0.698
4400 | 0 | 0 | -15.396 | 0 | 0 | 2.319 | 1.152
4500 | 0 | 0 | -15.396 | 0 | 0 | 2.47 | 0.849
4600 | 0 | 0 | -15.396 | 0 | 0 | 2.546 | 1.001
4700 | 0 | 0 | -15.396 | 0 | 0 | 2.395 | 1.001
4800 | 0 | 0 | -15.396 | 0 | 0 | 2.167 | 1.152
4900 | 0 | 0 | -15.396 | 0 | 0 | 2.319 | 1.001
5000 | 0 | 0 | -15.396 | 0 | 0 | 2.47 | 1.152
5100 | 0 | 0 | -15.396 | 0 | 0 | 2.319 | 0.849
5200 | 0 | 0 | -15.396 | 0 | 0 | 2.167 | 1.152
5300 | 0 | 0 | -15.396 | 0 | 0 | 2.091 | 1.152
5400 | 0 | 0 | -15.396 | 0 | 0 | 2.091 | 1.304
5500 | 0 | 0 | -15.396 | 0 | 0 | 2.243 | 0.849
5600 | 0 | 0 | -15.396 | 0 | 0 | 2.546 | 0.849
5700 | 0 | 0 | -15.396 | 0 | 0 | 2.243 | 0.849
5800 | 0 | 0 | -15.413 | 0 | 0 | 2.167 | 0.698
5900 | 0 | 0 | -15.396 | 0 | 0 | 2.091 | 0.698
6000 | 0 | 0 | -15.396 | 0 | 0 | 2.395 | 1.001
6100 | 0 | 0 | -15.396 | 0 | 0 | 2.395 | 1.152
6200 | 0 | 0 | -15.396 | 0 | 0 | 2.319 | 0.849
6300 | 0 | 0 | -15.396 | 0 | 0 | 2.167 | 1.001
6400 | 0 | 0 | -15.396 | 0 | 0 | 2.091 | 1.304
6500 | 0 | 0 | -15.396 | 0 | 0 | 2.167 | 0.849
6600 | 0 | 0 | -15.413 | 0 | 0 | 2.319 | 0.698
6700 | 0 | 0 | -15.413 | 0 | 0 | 2.167 | 0.698
6800 | 0 | 0 | -15.413 | 0 | 0 | 2.243 | 0.698
6900 | 0 | 0 | -15.413 | 0 | 0 | 2.167 | 1.152
7000 | 0 | 0 | -15.413 | 0 | 0 | 2.319 | 1.152
7100 | 0 | 0 | -15.413 | 0 | 0 | 2.622 | 1.152
7200 | 0 | 0 | -15.413 | 0 | 0 | 2.395 | 0.849
7300 | 0 | 0 | -15.413 | 0 | 0 | 2.319 | 0.395
7400 | 0 | 0 | -15.413 | 0 | 0 | 1.94 | 1.001
7500 | 0 | 0 | -15.413 | 0 | 0 | 1.94 | 1.001
7600 | 0 | 0 | -15.413 | 0 | 0 | 2.243 | 0.849
7700 | 0 | 0 | -15.413 | 0 | 0 | 2.243 | 1.001
7800 | 0 | 0 | -15.413 | 0 | 0 | 2.091 | 1.304
7900 | 0 | 0 | -15.413 | 0 | 0 | 2.243 | 0.849
8000 | 0 | 0 | -15.413 | 0 | 0 | 2.319 | 1.304
8100 | 0 | 0 | -15.413 | 0 | 0 | 2.167 | 0.546
8200 | 0 | 0 | -15.413 | 0 | 0 | 2.395 | 0.546
8300 | 0 | 0 | -15.43 | 0 | 0 | 2.091 | 0.698
8400 | 0 | 0 | -15.413 | 0 | 0 | 2.319 | 0.849
8500 | 0 | 0 | -15.413 | 0 | 0 | 2.243 | 0.849
8600 | 0 | 0 | -15.43 | 0 | 0 | 2.395 | 0.546
8700 | 0 | 0 | -15.413 | 0 | 0 | 2.243 | 0.395
8800 | 0 | 0 | -15.43 | 0 | 0 | 2.47 | 0.698
8900 | 0 | 0 | -15.43 | 0 | 0 | 2.395 | 0.849
9000 | 0 | 0 | -15.413 | 0 | 0 | 2.319 | 0.849
9100 | 0 | 0 | -15.43 | 0 | 0 | 2.395 | 1.304
9200 | 0 | 0 | -15.413 | 0 | 0 | 2.395 | 1.001
9300 | 0 | 0 | -15.43 | 0 | 0 | 2.167 | 0.849
9400 | 0 | 0 | -15.43 | 0 | 0 | 2.091 | 0.698
9500 | 0 | 0 | -15.43 | 0 | 0 | 2.167 | 1.001
9600 | 0 | 0 | -15.43 | 0 | 0 | 2.47 | 1.152
9700 | 0 | 0 | -15.43 | 0 | 0 | 2.319 | 1.001
9800 | 0 | 0 | -15.43 | 0 | 0 | 2.546 | 0.849
9900 | 0 | 0 | -15.43 | 0 | 0 | 2.546 | 1.304
10000 | 0 | 0 | -15.43 | 0 | 0 | 2.319 | 1.152
10100 | 0 | 0 | -15.43 | 0 | 0 | 1.94 | 0.849
10200 | 0 | 0 | -15.43 | 0 | 0 | 2.243 | 0.698
10300 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 0.698
10400 | 0 | 0 | -15.43 | 0 | 0 | 2.319 | 1.152
10500 | 0 | 0 | -15.43 | 0 | 0 | 2.319 | 1.304
10600 | 0 | 0 | -15.43 | 0 | 0 | 2.395 | 0.849
10700 | 0 | 0 | -15.43 | 0 | 0 | 2.167 | 1.001
10800 | 0 | 0 | -15.43 | 0 | 0 | 2.167 | 0.698
10900 | 0 | 0 | -15.43 | 0 | 0 | 2.622 | 1.152
11000 | 0 | 0 | -15.43 | 0 | 0 | 2.319 | 1.152
11100 | 0 | 0 | -15.447 | 0 | 0 | 2.243 | 1.152
11200 | 0 | 0 | -15.447 | 0 | 0 | 2.091 | 0.698
11300 | 0 | 0 | -15.447 | 0 | 0 | 2.091 | 1.001
11400 | 0 | 0 | -15.43 | 0 | 0 | 2.167 | 0.849
11500 | 0 | 0 | -15.447 | 0 | 0 | 2.167 | 1.001
11600 | 0 | 0 | -15.43 | 0 | 0 | 2.319 | 1.152
11700 | 0 | 0 | -15.447 | 0 | 0 | 2.167 | 1.001
11800 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 0.849
11900 | 0 | 0 | -15.447 | 0 | 0 | 2.167 | 0.849
12000 | 0 | 0 | -15.447 | 0 | 0 | 2.167 | 0.849
12100 | 0 | 0 | -15.447 | 0 | 0 | 2.395 | 0.849
12200 | 0 | 0 | -15.43 | 0 | 0 | 2.319 | 0.546
12300 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 0.698
12400 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 1.304
12500 | 0 | 0 | -15.447 | 0 | 0 | 2.395 | 1.001
12600 | 0 | 0 | -15.447 | 0 | 0 | 2.167 | 1.304
12700 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 1.001
12800 | 0 | 0 | -15.447 | 0 | 0 | 2.091 | 0.849
12900 | 0 | 0 | -15.447 | 0 | 0 | 2.167 | 0.849
13000 | 0 | 0 | -15.447 | 0 | 0 | 2.243 | 0.395
13100 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 0.546
13200 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 0.698
13300 | 0 | 0 | -15.447 | 0 | 0 | 2.091 | 1.152
13400 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 1.152
13500 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 1.001
13600 | 0 | 0 | -15.447 | 0 | 0 | 2.319 | 0.849
13700 | 0 | 0 | -15.447 | 0 | 0 | 2.47 | 1.001
13800 | 0 | 0 | -15.447 | 0 | 0 | 2.167 | 1.152
13900 | 0 | 0 | -15.447 | 0 | 0 | 2.167 | 1.304
14000 | 0 | 0 | -15.463 | 0 | 0 | 2.091 | 1.152
14100 | 0 | 0 | -15.463 | 0 | 0 | 2.091 | 0.698
14200 | 0 | 0 | -15.463 | 0 | 0 | 2.167 | 0.849
14300 | 0 | 0 | -15.463 | 0 | 0 | 2.319 | 0.849
14400 | 0 | 0 | -15.447 | 0 | 0 | 2.243 | 0.698
14500 | 0 | 0 | -15.463 | 0 | 0 | 2.167 | 1.152
14600 | 0 | 0 | -15.463 | 0 | 0 | 2.395 | 0.849
14700 | 0 | 0 | -15.463 | 0 | 0 | 2.622 | 1.001
14800 | 0 | 0 | -15.463 | 0 | 0 | 2.319 | 1.001
14900 | 0 | 0 | -15.447 | 0 | 0 | 1.94 | 1.304
15000 | 0 | 0 | -15.463 | 0 | 0 | 2.395 | 1.001
15100 | 0 | 0 | -15.463 | 0 | 0 | 2.546 | 0.698
15200 | 0 | 0 | -15.463 | 0 | 0 | 2.243 | 1.152
15300 | 0 | 0 | -15.463 | 0 | 0 | 2.319 | 0.849
15400 | 0 | 0 | -15.463 | 0 | 0 | 2.167 | 1.001
15500 | 0 | 0 | -15.463 | 0 | 0 | 2.167 | 1.152
15600 | 0 | 0 | -15.463 | 0 | 0 | 2.167 | 1.001
15700 | 0 | 0 | -15.463 | 0 | 0 | 2.243 | 1.001
15800 | 0 | 0 | -15.463 | 0 | 0 | 2.167 | 1.152
15900 | 0 | 0 | -15.463 | 0 | 0 | 2.47 | 0.849
16000 | 0 | 0 | -15.463 | 0 | 0 | 2.47 | 0.849
16100 | 0 | 0 | -15.463 | 0 | 0 | 2.243 | 0.698
16200 | 0 | 0 | -15.463 | 0 | 0 | 2.319 | 1.304
16300 | 0 | 0 | -15.48 | 0 | 0 | 2.395 | 1.455
16400 | 0 | 0 | -15.463 | 0 | 0 | 2.546 | 1.001
16500 | 0 | 0 | -15.48 | 0 | 0 | 2.47 | 0.698
16600 | 0 | 0 | -15.463 | 0 | 0 | 2.243 | 1.304
16700 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | 1.304
16800 | 0 | 0 | -15.463 | 0 | 0 | 2.319 | 0.849
16900 | 0 | 0 | -15.48 | 0 | 0 | 2.47 | 0.698
17000 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | 1.152
17100 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.698
17200 | 0 | 0 | -15.48 | 0 | 0 | 2.395 | 1.304
17300 | 0 | 0 | -15.463 | 0 | 0 | 2.395 | 1.001
17400 | 0 | 0 | -15.48 | 0 | 0 | 2.319 | 1.001
17500 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | 0.849
17600 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | 1.304
17700 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | 1.304
17800 | 0 | 0 | -15.48 | 0 | 0 | 2.319 | 1.304
17900 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 1.001
18000 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | 1.001
18100 | 0 | 0 | -15.48 | 0 | 0 | 1.94 | 0.849
18200 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | 0.698
18300 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | 0.698
18400 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | 0.849
18500 | 0 | 0 | -15.48 | 0 | 0 | 2.243 | 0.546
18600 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | 0.698
18700 | 0 | 0 | -15.48 | 0 | 0 | 2.243 | 1.001
18800 | 0 | 0 | -15.48 | 0 | 0 | 2.091 | 1.001
18900 | 0 | 0 | -15.48 | 0 | 0 | 2.395 | 0.698
19000 | 0 | 0 | -15.48 | 0 | 0 | 2.243 | 1.304
19100 | 0 | 0 | -15.48 | 0 | 0 | 2.395 | 0.849
19200 | 0 | 0 | -15.48 | 0 | 0 | 2.47 | 1.001
19300 | 0 | 0 | -15.48 | 0 | 0 | 2.319 | 0.849
19400 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | 1.001
19500 | 0 | 0 | -15.48 | 0 | 0 | 2.395 | 0.698
19600 | 0 | 0 | -15.48 | 0 | 0 | 2.47 | 1.304
19700 | 0 | 0 | -15.48 | 0 | 0 | 2.395 | 1.001
19800 | 0 | 0 | -15.48 | 0 | 0 | 2.47 | 1.001
19900 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.698
20000 | 0 | 0 | -15.497 | 0 | 0 | 2.167 | 0.546
20100 | 0 | 0 | -15.497 | 0 | 0 | 2.395 | 1.304
20200 | 0 | 0 | -15.497 | 0 | 0 | 2.243 | 0.849
20300 | 0 | 0 | -15.48 | 0 | 0 | 2.395 | 1.152
20400 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.546
20500 | 0 | 0 | -15.48 | 0 | 0 | 2.395 | 1.001
20600 | 0 | 0 | -15.48 | 0 | 0 | 2.167 | 0.698
20700 | 0 | 0 | -15.497 | 0 | 0 | 2.319 | 1.001
20800 | 0 | 0 | -15.497 | 0 | 0 | 2.47 | 1.152
20900 | 0 | 0 | -15.497 | 0 | 0 | 2.395 | 1.001
21000 | 0 | 0 | -15.497 | 0 | 0 | 2.47 | 1.152
21100 | 0 | 0 | -15.497 | 0 | 0 | 2.319 | 0.698
21200 | 0 | 0 | -15.497 | 0 | 0 | 2.319 | 0.849
21300 | 0 | 0 | -15.497 | 0 | 0 | 2.167 | 0.849
21400 | 0 | 0 | -15.497 | 0 | 0 | 2.47 | 1.001
21500 | 0 | 0 | -15.497 | 0 | 0 | 2.546 | 1.152
21600 | 0 | 0 | -15.497 | 0 | 0 | 2.319 | 0.395
21700 | 0 | 0 | -15.497 | 0 | 0 | 2.243 | 0.849
21800 | 0 | 0 | -15.497 | 0 | 0 | 2.319 | 1.001
21900 | 0 | 0 | -15.497 | 0 | 0 | 2.319 | 0.849
22000 | 0 | 0 | -15.497 | 0 | 0 | 2.546 | 1.152
22100 | 0 | 0 | -15.497 | 0 | 0 | 2.319 | 1.152
22200 | 0 | 0 | -15.497 | 0 | 0 | 2.319 | 1.001
22300 | 0 | 0 | -15.497 | 0 | 0 | 2.546 | 1.001
22400 | 0 | 0 | -15.497 | 0 | 0 | 2.47 | 1.455
22500 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | 0.849
22600 | 0 | 0 | -15.497 | 0 | 0 | 2.243 | 0.849
22700 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | 0.546
22800 | 0 | 0 | -15.497 | 0 | 0 | 2.091 | 0.698
22900 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | 0.849
23000 | 0 | 0 | -15.497 | 0 | 0 | 2.47 | 0.849
23100 | 0 | 0 | -15.514 | 0 | 0 | 2.395 | 0.849
23200 | 0 | 0 | -15.514 | 0 | 0 | 2.546 | 1.304
23300 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | 1.001
23400 | 0 | 0 | -15.514 | 0 | 0 | 2.395 | 0.849
23500 | 0 | 0 | -15.514 | 0 | 0 | 2.319 | 0.849
23600 | 0 | 0 | -15.514 | 0 | 0 | 2.47 | 1.152
23700 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | 1.304
23800 | 0 | 0 | -15.514 | 0 | 0 | 2.167 | 1.152
23900 | 0 | 0 | -15.514 | 0 | 0 | 2.091 | 1.001
24000 | 0 | 0 | -15.53 | 0 | 0 | 2.167 | 0.698
24100 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | 1.001
24200 | 0 | 0 | -15.514 | 0 | 0 | 2.395 | 0.849
24300 | 0 | 0 | -15.514 | 0 | 0 | 2.319 | 1.001
24400 | 0 | 0 | -15.514 | 0 | 0 | 2.243 | 1.001
24500 | 0 | 0 | -15.514 | 0 | 0 | 1.94 | 1.304
24600 | 0 | 0 | -15.514 | 0 | 0 | 2.167 | 1.001
24700 | 0 | 0 | -15.514 | 0 | 0 | 2.319 | 0.849
24800 | 0 | 0 | -15.514 | 0 | 0 | 2.395 | 0.849
24900 | 0 | 0 | -15.514 | 0 | 0 | 2.546 | 0.546
25000 | 0 | 0 | -15.514 | 0 | 0 | 2.319 | 1.152
25100 | 0.04 | 0.04 | -15.53 | 0 | 258.548 | 2.243 | 1.001
25200 | 0.081 | 0.064 | -15.514 | 0 | 258.548 | 2.167 | 1.152
25300 | 0.121 | 0.116 | -15.514 | 103.988 | 258.548 | 2.167 | 1.152
25400 | 0.161 | 0.173 | -15.514 | 0 | 258.548 | 2.319 | 1.001
25500 | 0.202 | 0.233 | -15.514 | 0 | 258.548 | 2.167 | 0.849
25600 | 0.242 | 0.314 | -15.53 | 0 | 258.548 | 1.864 | 1.152
25700 | 0.282 | 0.366 | -15.514 | -103.988 | 258.548 | 1.94 | 1.152
25800 | 0.323 | 0.439 | -15.514 | 103.988 | 258.548 | 1.713 | 1.455
25900 | 0.363 | 0.532 | -15.53 | 0 | 258.548 | 1.334 | 1.759
26000 | 0.403 | 0.596 | -15.514 | -103.988 | 258.548 | 1.258 | 2.213
26100 | 0.443 | 0.681 | -15.514 | 103.988 | 258.548 | 1.561 | 2.971
26200 | 0.484 | 0.769 | -15.514 | 0 | 258.548 | 2.47 | 4.183
26300 | 0.524 | 0.862 | -15.514 | 0 | 258.548 | 4.364 | 6.304
26400 | 0.564 | 0.942 | -15.497 | 0 | 258.548 | 6.258 | 9.335
26500 | 0.605 | 1.009 | -15.463 | 103.988 | 258.548 | 11.259 | 16.911
26600 | 0.645 | 1.014 | -15.363 | 207.983 | 258.548 | 17.396 | 25.548
26700 | 0.685 | 1.022 | -15.262 | 623.942 | 258.548 | 26.563 | 35.246
26800 | 0.726 | 1.034 | -15.161 | 623.948 | 258.548 | 35.579 | 46.762
26900 | 0.766 | 1.05 | -15.061 | 623.948 | 258.548 | 43.761 | 56.762
27000 | 0.806 | 1.054 | -14.943 | 623.942 | 258.548 | 50.428 | 64.793
27100 | 0.847 | 1.061 | -14.826 | 727.936 | 258.548 | 57.095 | 73.582
27200 | 0.887 | 1.056 | -14.692 | 727.936 | 258.548 | 62.929 | 80.097
27300 | 0.927 | 1.072 | -14.575 | 831.925 | 258.548 | 67.626 | 85.855
27400 | 0.968 | 1.075 | -14.44 | 727.936 | 258.548 | 71.035 | 90.704
27500 | 1.008 | 1.115 | -14.34 | 831.925 | 258.548 | 74.748 | 95.098
27600 | 1.048 | 1.11 | -14.189 | 623.942 | 258.548 | 78.309 | 98.583
27700 | 1.089 | 1.141 | -14.071 | 935.913 | 258.548 | 80.506 | 102.674
27800 | 1.129 | 1.127 | -13.904 | 727.936 | 258.548 | 83.612 | 105.705
27900 | 1.169 | 1.15 | -13.77 | 1039.902 | 258.548 | 85.582 | 108.887
28000 | 1.209 | 1.177 | -13.635 | 831.937 | 258.548 | 87.324 | 110.402
28100 | 1.25 | 1.175 | -13.468 | 831.925 | 258.548 | 88.461 | 112.22
28200 | 1.29 | 1.193 | -13.317 | 1039.902 | 258.548 | 90.052 | 114.493
28300 | 1.33 | 1.215 | -13.166 | 935.913 | 258.548 | 91.037 | 116.16
28400 | 1.371 | 1.225 | -12.998 | 935.925 | 258.548 | 92.401 | 117.372
28500 | 1.411 | 1.239 | -12.83 | 1039.908 | 258.548 | 93.234 | 119.039
28600 | 1.451 | 1.24 | -12.646 | 1039.902 | 258.548 | 94.37 | 120.857
28700 | 1.492 | 1.262 | -12.478 | 1143.902 | 258.548 | 95.128 | 121.615
28800 | 1.532 | 1.321 | -12.344 | 1039.902 | 258.548 | 95.204 | 122.221
28900 | 1.572 | 1.266 | -12.092 | 831.937 | 258.548 | 95.128 | 124.646
29000 | 1.613 | 1.3 | -11.924 | 1566.361 | 258.548 | 95.81 | 125.858
29100 | 1.653 | 1.338 | -11.756 | 1039.902 | 258.548 | 96.113 | 126.615
29200 | 1.693 | 1.346 | -11.555 | 1039.902 | 258.548 | 96.34 | 127.221
29300 | 1.734 | 1.375 | -11.37 | 1247.89 | 258.548 | 96.871 | 128.585
29400 | 1.774 | 1.358 | -11.136 | 1143.908 | 258.548 | 97.174 | 129.646
29500 | 1.814 | 1.379 | -10.934 | 1455.867 | 258.548 | 97.931 | 130.252
29600 | 1.855 | 1.37 | -10.7 | 1247.884 | 258.548 | 98.083 | 131.01
29700 | 1.895 | 1.415 | -10.515 | 1455.867 | 258.548 | 98.234 | 131.313
29800 | 1.935 | 1.464 | -10.331 | 1143.908 | 258.548 | 91.037 | 136.313
29900 | 1.975 | 1.518 | -10.146 | 1143.89 | 258.548 | 85.582 | 141.616
30000 | 2.016 | 1.525 | -9.911 | 1143.902 | 258.548 | 84.824 | 144.041
30100 | 2.056 | 1.536 | -9.677 | 1455.873 | 258.548 | 84.749 | 146.162
30200 | 2.096 | 1.535 | -9.425 | 1455.867 | 258.548 | 85.733 | 146.92
30300 | 2.137 | 1.537 | -9.174 | 1559.861 | 258.548 | 86.264 | 147.374
30400 | 2.177 | 1.56 | -8.939 | 1559.861 | 258.548 | 86.491 | 148.132
30500 | 2.217 | 1.537 | -8.654 | 1455.867 | 258.548 | 86.643 | 147.526
30600 | 2.258 | 1.619 | -8.469 | 1767.844 | 258.548 | 86.87 | 148.283
30700 | 2.298 | 1.604 | -8.184 | 1143.902 | 258.548 | 86.264 | 148.587
30800 | 2.338 | 1.643 | -7.949 | 1767.844 | 258.548 | 84.749 | 150.405
30900 | 2.379 | 1.635 | -7.663 | 1455.867 | 258.548 | 84.067 | 151.465
31000 | 2.419 | 1.616 | -7.361 | 1774.343 | 258.548 | 84.218 | 152.526
31100 | 2.419 | 1.606 | -7.11 | 1871.832 | 258.548 | 84.749 | 152.678
31200 | 2.419 | 1.58 | -6.842 | 1559.861 | 258.548 | 85.506 | 151.769
31300 | 2.419 | 1.553 | -6.573 | 1663.85 | 258.548 | 86.112 | 151.465
31400 | 2.419 | 1.543 | -6.322 | 1663.853 | 258.548 | 87.173 | 150.102
31500 | 2.419 | 1.534 | -6.07 | 1559.861 | 258.548 | 87.779 | 149.647
31600 | 2.419 | 1.541 | -5.835 | 1559.858 | 258.548 | 87.855 | 148.89
31700 | 2.419 | 1.514 | -5.567 | 1455.87 | 258.548 | 87.627 | 148.283
31800 | 2.419 | 1.522 | -5.332 | 1663.856 | 258.548 | 88.158 | 148.435
31900 | 2.419 | 1.495 | -5.064 | 1455.87 | 258.548 | 88.082 | 147.526
32000 | 2.419 | 1.536 | -4.863 | 1663.85 | 258.548 | 88.309 | 147.071
32100 | 2.419 | 1.509 | -4.594 | 1247.893 | 258.548 | 88.158 | 147.223
32200 | 2.419 | 1.5 | -4.343 | 1663.847 | 258.548 | 88.158 | 146.768
32300 | 2.419 | 1.507 | -4.108 | 1559.861 | 258.548 | 88.537 | 146.92
32400 | 2.419 | 1.514 | -3.873 | 1455.87 | 258.548 | 88.082 | 146.768
32500 | 2.419 | 1.538 | -3.655 | 1455.871 | 258.548 | 87.779 | 146.92
32600 | 2.419 | 1.544 | -3.419 | 1351.882 | 258.548 | 87.173 | 146.617
32700 | 2.298 | 1.397 | -3.151 | 1462.369 | 258.548 | 86.34 | 148.132
32800 | 2.177 | 1.271 | -2.916 | 1663.848 | 258.548 | 91.567 | 146.92
32900 | 2.056 | 1.166 | -2.715 | 1455.871 | 258.548 | 95.81 | 140.859
33000 | 1.935 | 1.05 | -2.514 | 1247.892 | 258.548 | 97.098 | 138.283
33100 | 1.814 | 0.971 | -2.363 | 1247.887 | 258.548 | 97.704 | 133.586
33200 | 1.693 | 0.914 | -2.246 | 935.916 | 258.548 | 96.946 | 128.737
33300 | 1.572 | 0.862 | -2.145 | 727.935 | 258.548 | 94.37 | 124.494
33400 | 1.451 | 0.798 | -2.044 | 623.944 | 258.548 | 92.022 | 120.1
33500 | 1.33 | 0.755 | -1.977 | 623.947 | 258.548 | 88.915 | 115.857
33600 | 1.209 | 0.683 | -1.893 | 415.962 | 258.548 | 86.264 | 110.251
33700 | 1.089 | 0.616 | -1.826 | 519.955 | 258.548 | 83.461 | 106.008
33800 | 0.968 | 0.554 | -1.776 | 415.962 | 258.548 | 79.672 | 100.553
33900 | 0.847 | 0.496 | -1.743 | 311.973 | 258.548 | 75.884 | 94.037
34000 | 0.726 | 0.426 | -1.709 | 207.981 | 258.548 | 70.96 | 89.189
34100 | 0.605 | 0.344 | -1.675 | 207.981 | 258.548 | 66.869 | 84.188
34200 | 0.484 | 0.284 | -1.675 | 207.981 | 258.548 | 63.156 | 79.946
34300 | 0.363 | 0.178 | -1.642 | 0 | 258.548 | 60.732 | 76.915
34400 | 0.242 | 0.093 | -1.642 | 207.981 | 258.548 | 57.171 | 72.369
34500 | 0.121 | 0 | -1.625 | 0 | 258.548 | 55.05 | 68.733