## Data
Log File Data
************************
2007-11-08 19:26 | MERIT Configuration Data
Test Description: 14033 16TP 6+2bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071108 logfile.txt
Trigger-Pulse Delay (s) = 22.370000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.698
100 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.243
200 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.395
300 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.243
400 | 0 | 0 | -14.843 | 0 | 0 | 1.713 | -0.363
500 | 0 | 0 | -14.843 | 0 | 0 | 1.637 | -0.06
600 | 0 | 0 | -14.843 | 0 | 0 | 1.485 | 0.243
700 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.546
800 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.546
900 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
1000 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.243
1100 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.395
1200 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.092
1300 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.243
1400 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.243
1500 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.546
1600 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 1.152
1700 | 0 | 0 | -14.843 | 0 | 0 | 1.561 | 0.698
1800 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.243
1900 | 0 | 0 | -14.86 | 0 | 0 | 1.713 | 0.243
2000 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.395
2100 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
2200 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.546
2300 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.698
2400 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.698
2500 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.243
2600 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.243
2700 | 0 | 0 | -14.86 | 0 | 0 | 1.41 | 0.092
2800 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | -0.363
2900 | 0 | 0 | -14.86 | 0 | 0 | 1.485 | 0.395
3000 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.698
3100 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | 0.243
3200 | 0 | 0 | -14.876 | 0 | 0 | 1.864 | 0.243
3300 | 0 | 0 | -14.86 | 0 | 0 | 1.637 | -0.363
3400 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.243
3500 | 0 | 0 | -14.86 | 0 | 0 | 1.561 | 0.395
3600 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.395
3700 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
3800 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.546
3900 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.243
4000 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.849
4100 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.243
4200 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.243
4300 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.395
4400 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.243
4500 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.243
4600 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.546
4700 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.698
4800 | 0 | 0 | -14.876 | 0 | 0 | 1.713 | 0.546
4900 | 0 | 0 | -14.876 | 0 | 0 | 1.637 | 0.698
5000 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | 0.243
5100 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | 0.395
5200 | 0 | 0 | -14.876 | 0 | 0 | 1.561 | 0.546
5300 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | 0.395
5400 | 0 | 0 | -14.876 | 0 | 0 | 1.41 | -0.06
5500 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.546
5600 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.546
5700 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | -0.06
5800 | 0 | 0 | -14.876 | 0 | 0 | 1.485 | -0.363
5900 | 0 | 0 | -14.893 | 0 | 0 | 1.485 | -0.363
6000 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.243
6100 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.546
6200 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.849
6300 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
6400 | 0 | 0 | -14.893 | 0 | 0 | 1.41 | -0.514
6500 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.395
6600 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.092
6700 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 0.395
6800 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.546
6900 | 0 | 0 | -14.893 | 0 | 0 | 1.788 | 1.001
7000 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.698
7100 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.243
7200 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.395
7300 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.243
7400 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.243
7500 | 0 | 0 | -14.893 | 0 | 0 | 1.713 | 0.698
7600 | 0 | 0 | -14.893 | 0 | 0 | 1.561 | 0.243
7700 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.092
7800 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.243
7900 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.243
8000 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | -0.06
8100 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.243
8200 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.092
8300 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.395
8400 | 0 | 0 | -14.893 | 0 | 0 | 1.637 | 0.698
8500 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
8600 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
8700 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.395
8800 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.243
8900 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.698
9000 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 1.001
9100 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
9200 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.243
9300 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.243
9400 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.546
9500 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.092
9600 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.395
9700 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.243
9800 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
9900 | 0 | 0 | -14.91 | 0 | 0 | 1.788 | 0.243
10000 | 0 | 0 | -14.91 | 0 | 0 | 1.637 | 0.395
10100 | 0 | 0 | -14.91 | 0 | 0 | 1.94 | 0.395
10200 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.546
10300 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
10400 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
10500 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.243
10600 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.092
10700 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.395
10800 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.395
10900 | 0 | 0 | -14.91 | 0 | 0 | 1.713 | 0.395
11000 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.698
11100 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
11200 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.698
11300 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.546
11400 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.395
11500 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.395
11600 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.698
11700 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.395
11800 | 0 | 0 | -14.927 | 0 | 0 | 1.864 | 0.243
11900 | 0 | 0 | -14.927 | 0 | 0 | 1.788 | 0.395
12000 | 0 | 0 | -14.927 | 0 | 0 | 1.713 | 0.698
12100 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.395
12200 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.395
12300 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.546
12400 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.243
12500 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.092
12600 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | -0.06
12700 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.243
12800 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.092
12900 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.849
13000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
13100 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.395
13200 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.092
13300 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
13400 | 0 | 0 | -14.943 | 0 | 0 | 1.864 | -0.06
13500 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.092
13600 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.395
13700 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.849
13800 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
13900 | 0 | 0 | -14.943 | 0 | 0 | 1.864 | 0.395
14000 | 0 | 0 | -14.943 | 0 | 0 | 1.637 | 0.243
14100 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.395
14200 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
14300 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | -0.06
14400 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.546
14500 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.243
14600 | 0 | 0 | -14.943 | 0 | 0 | 1.713 | 0.395
14700 | 0 | 0 | -14.943 | 0 | 0 | 1.864 | 0.395
14800 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | -0.06
14900 | 0 | 0 | -14.96 | 0 | 0 | 1.485 | 0.092
15000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.243
15100 | 0 | 0 | -14.943 | 0 | 0 | 1.788 | 0.849
15200 | 0 | 0 | -14.943 | 0 | 0 | 2.091 | 0.395
15300 | 0.04 | 0.04 | -14.943 | 0 | 168.619 | 1.713 | 0.243
15400 | 0.081 | 0.081 | -14.943 | 0 | 168.392 | 1.713 | 0.395
15500 | 0.121 | 0.133 | -14.943 | 0 | 168.695 | 1.713 | 0.698
15600 | 0.161 | 0.206 | -14.96 | 0 | 169.074 | 1.41 | -0.06
15700 | 0.202 | 0.25 | -14.943 | -103.988 | 168.847 | 1.182 | 0.395
15800 | 0.242 | 0.331 | -14.96 | 103.988 | 168.695 | 1.334 | 0.546
15900 | 0.282 | 0.383 | -14.943 | -103.988 | 168.847 | 1.485 | 1.304
16000 | 0.323 | 0.473 | -14.96 | 103.988 | 168.544 | 1.485 | 1.304
16100 | 0.363 | 0.549 | -14.96 | -103.988 | 168.468 | 1.182 | 0.849
16200 | 0.403 | 0.629 | -14.96 | 0 | 168.544 | 1.182 | 1.304
16300 | 0.443 | 0.697 | -14.943 | 0 | 168.998 | 1.561 | 2.516
16400 | 0.484 | 0.786 | -14.943 | 103.988 | 168.316 | 2.319 | 3.274
16500 | 0.524 | 0.879 | -14.943 | 0 | 168.847 | 3.607 | 5.547
16600 | 0.564 | 0.976 | -14.943 | 0 | 168.922 | 5.652 | 8.729
16700 | 0.605 | 1.009 | -14.876 | 0 | 168.847 | 10.653 | 15.699
16800 | 0.645 | 1.013 | -14.776 | 415.959 | 168.316 | 17.926 | 24.79
16900 | 0.685 | 1.022 | -14.675 | 623.942 | 168.468 | 25.957 | 34.488
17000 | 0.726 | 1.051 | -14.591 | 623.948 | 168.392 | 33.609 | 44.034
17100 | 0.766 | 1.05 | -14.474 | 519.96 | 168.544 | 42.7 | 55.095
17200 | 0.806 | 1.054 | -14.357 | 727.931 | 168.316 | 49.443 | 63.884
17300 | 0.847 | 1.061 | -14.239 | 727.936 | 168.771 | 56.262 | 72.369
17400 | 0.887 | 1.073 | -14.122 | 727.936 | 168.998 | 62.02 | 79.036
17500 | 0.927 | 1.09 | -14.004 | 727.936 | 168.392 | 65.278 | 84.643
17600 | 0.968 | 1.108 | -13.887 | 727.936 | 168.544 | 70.126 | 90.401
17700 | 1.008 | 1.115 | -13.753 | 727.931 | 168.619 | 73.763 | 95.098
17800 | 1.048 | 1.143 | -13.635 | 831.925 | 168.392 | 76.945 | 99.189
17900 | 1.089 | 1.141 | -13.484 | 727.936 | 168.619 | 79.824 | 103.735
18000 | 1.129 | 1.178 | -13.367 | 935.913 | 168.544 | 81.642 | 106.766
18100 | 1.169 | 1.183 | -13.216 | 727.936 | 169.074 | 83.309 | 110.402
18200 | 1.209 | 1.16 | -13.032 | 935.913 | 168.619 | 86.188 | 112.069
18300 | 1.25 | 1.225 | -12.931 | 1143.902 | 168.695 | 87.855 | 113.584
18400 | 1.29 | 1.193 | -12.73 | 623.948 | 168.771 | 88.84 | 116.009
18500 | 1.33 | 1.217 | -12.579 | 1247.878 | 168.695 | 90.355 | 117.978
18600 | 1.371 | 1.258 | -12.445 | 935.925 | 168.468 | 91.264 | 118.585
18700 | 1.411 | 1.239 | -12.244 | 831.925 | 169.074 | 91.946 | 120.403
18800 | 1.451 | 1.289 | -12.108 | 1247.884 | 168.468 | 88.234 | 124.797
18900 | 1.492 | 1.327 | -11.957 | 838.436 | 168.241 | 85.582 | 128.585
19000 | 1.532 | 1.338 | -11.773 | 935.913 | 168.998 | 86.415 | 130.252
19100 | 1.572 | 1.366 | -11.605 | 1143.89 | 168.922 | 87.097 | 132.979
19200 | 1.613 | 1.367 | -11.404 | 1039.913 | 168.771 | 87.552 | 134.343
19300 | 1.653 | 1.371 | -11.203 | 1247.884 | 168.998 | 88.082 | 135.707
19400 | 1.693 | 1.379 | -11.002 | 1247.89 | 168.241 | 88.612 | 136.768
19500 | 1.734 | 1.427 | -10.834 | 1247.89 | 168.695 | 88.84 | 137.374
19600 | 1.774 | 1.391 | -10.582 | 1039.902 | 168.392 | 88.612 | 138.131
19700 | 1.814 | 1.429 | -10.398 | 1559.861 | 168.619 | 89.673 | 139.192
19800 | 1.855 | 1.42 | -10.163 | 1143.902 | 168.013 | 88.915 | 140.253
19900 | 1.895 | 1.432 | -9.945 | 1455.873 | 171.27 | 89.446 | 140.859
20000 | 1.935 | 1.466 | -9.744 | 1351.879 | 168.316 | 89.749 | 141.01
20100 | 1.975 | 1.484 | -9.526 | 1247.89 | 168.013 | 88.84 | 141.465
20200 | 2.016 | 1.508 | -9.308 | 1351.873 | 168.771 | 88.385 | 142.829
20300 | 2.056 | 1.536 | -9.09 | 1351.885 | 168.619 | 88.082 | 143.586
20400 | 2.096 | 1.534 | -8.838 | 1351.879 | 168.619 | 86.946 | 145.101
20500 | 2.137 | 1.522 | -8.57 | 1559.861 | 168.392 | 87.4 | 145.405
20600 | 2.177 | 1.56 | -8.352 | 1663.85 | 168.771 | 87.703 | 146.617
20700 | 2.217 | 1.587 | -8.117 | 1351.879 | 168.695 | 86.87 | 146.314
20800 | 2.258 | 1.567 | -7.831 | 1455.873 | 168.619 | 86.188 | 148.132
20900 | 2.298 | 1.619 | -7.613 | 1774.343 | 168.241 | 86.34 | 148.435
21000 | 2.338 | 1.611 | -7.328 | 1351.876 | 168.392 | 85.658 | 149.193
21100 | 2.379 | 1.652 | -7.093 | 1767.844 | 168.392 | 85.43 | 149.95
21200 | 2.419 | 1.665 | -6.825 | 1455.87 | 168.316 | 83.991 | 150.859
21300 | 2.419 | 1.605 | -6.523 | 1663.856 | 168.392 | 83.536 | 152.678
21400 | 2.419 | 1.596 | -6.271 | 1871.832 | 168.922 | 85.658 | 151.617
21500 | 2.419 | 1.555 | -5.986 | 1559.858 | 168.695 | 86.567 | 151.162
21600 | 2.419 | 1.543 | -5.735 | 1767.844 | 168.998 | 87.855 | 150.102
21700 | 2.419 | 1.517 | -5.466 | 1559.861 | 168.544 | 88.158 | 148.435
21800 | 2.419 | 1.507 | -5.215 | 1663.85 | 169.074 | 88.688 | 148.435
21900 | 2.419 | 1.531 | -4.997 | 1559.864 | 168.922 | 88.991 | 146.92
22000 | 2.419 | 1.54 | -4.762 | 1351.876 | 168.619 | 88.385 | 146.92
22100 | 2.419 | 1.511 | -4.494 | 1455.87 | 168.695 | 87.324 | 147.374
22200 | 2.419 | 1.519 | -4.259 | 1663.856 | 168.922 | 88.385 | 146.768
22300 | 2.419 | 1.542 | -4.041 | 1455.87 | 168.922 | 88.309 | 146.617
22400 | 2.419 | 1.533 | -3.789 | 1351.876 | 183.773 | 86.946 | 146.92
22500 | 2.419 | 1.541 | -3.554 | 1559.866 | 184.682 | 87.552 | 147.374
22600 | 2.419 | 1.512 | -3.285 | 1462.369 | 183.546 | 87.627 | 147.071
22700 | 2.419 | 1.536 | -3.067 | 1663.85 | 184.152 | 88.234 | 146.92
22800 | 2.419 | 1.51 | -2.799 | 1351.882 | 184.455 | 87.4 | 146.92
22900 | 2.298 | 1.413 | -2.581 | 1663.848 | 184.152 | 88.006 | 147.223
23000 | 2.177 | 1.289 | -2.346 | 1351.882 | 185.515 | 91.719 | 144.798
23100 | 2.056 | 1.183 | -2.145 | 1455.87 | 183.546 | 95.431 | 141.313
23200 | 1.935 | 1.083 | -1.961 | 1247.887 | 183.47 | 96.416 | 137.677
23300 | 1.814 | 1.021 | -1.826 | 1143.9 | 183.167 | 97.098 | 133.586
23400 | 1.693 | 0.931 | -1.675 | 831.925 | 183.47 | 95.658 | 129.494
23500 | 1.572 | 0.863 | -1.558 | 935.916 | 183.243 | 94.749 | 125.403
23600 | 1.451 | 0.814 | -1.474 | 727.935 | 183.925 | 93.31 | 119.948
23700 | 1.33 | 0.755 | -1.39 | 519.955 | 183.773 | 90.431 | 116.463
23800 | 1.209 | 0.683 | -1.306 | 519.954 | 183.697 | 87.855 | 111.463
23900 | 1.089 | 0.616 | -1.239 | 519.952 | 184.606 | 83.233 | 107.069
24000 | 0.968 | 0.554 | -1.189 | 415.965 | 183.091 | 79.218 | 100.401
24100 | 0.847 | 0.496 | -1.156 | 311.97 | 183.394 | 76.642 | 95.553
24200 | 0.726 | 0.426 | -1.122 | 207.983 | 183.925 | 71.111 | 90.098
24300 | 0.605 | 0.361 | -1.105 | 207.981 | 182.864 | 67.02 | 85.097
24400 | 0.484 | 0.267 | -1.072 | 103.989 | 182.561 | 63.535 | 79.946
24500 | 0.363 | 0.178 | -1.055 | 207.981 | 182.637 | 60.732 | 76.612
24600 | 0.242 | 0.076 | -1.038 | 103.992 | 182.94 | 57.625 | 72.975
24700 | 0.121 | 0 | -1.038 | 103.989 | 183.016 | 54.974 | 69.642