## Data
Log File Data
************************
2007-11-08 19:38 | MERIT Configuration Data
Test Description: 14034 16TP 6+2bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071108 logfile.txt
Trigger-Pulse Delay (s) = 22.370000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.977 | 0 | 0 | 1.864 | 0.092
100 | 0 | 0 | -14.977 | 0 | 0 | 1.94 | 0.395
200 | 0 | 0 | -14.977 | 0 | 0 | 1.864 | 0.698
300 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 0.698
400 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.546
500 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.243
600 | 0 | 0 | -14.977 | 0 | 0 | 1.561 | -0.06
700 | 0 | 0 | -14.977 | 0 | 0 | 1.788 | 0.092
800 | 0 | 0 | -14.994 | 0 | 0 | 1.864 | 0.395
900 | 0 | 0 | -14.994 | 0 | 0 | 2.091 | 0.243
1000 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.243
1100 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.546
1200 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 0.546
1300 | 0 | 0 | -14.977 | 0 | 0 | 1.788 | 0.243
1400 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.546
1500 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.243
1600 | 0 | 0 | -14.994 | 0 | 0 | 1.713 | 0.395
1700 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.698
1800 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.395
1900 | 0 | 0 | -14.994 | 0 | 0 | 1.561 | 0.546
2000 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 1.001
2100 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 0.395
2200 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 0.243
2300 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 0.395
2400 | 0 | 0 | -14.994 | 0 | 0 | 1.864 | 0.243
2500 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 0.395
2600 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.698
2700 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 0.698
2800 | 0 | 0 | -14.994 | 0 | 0 | 1.864 | 0.092
2900 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 0.243
3000 | 0 | 0 | -14.994 | 0 | 0 | 1.788 | 0.243
3100 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.698
3200 | 0 | 0 | -14.994 | 0 | 0 | 2.091 | 0.092
3300 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 0.849
3400 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 0.243
3500 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.395
3600 | 0 | 0 | -14.994 | 0 | 0 | 1.94 | 0.243
3700 | 0 | 0 | -14.994 | 0 | 0 | 1.637 | 0.395
3800 | 0 | 0 | -15.011 | 0 | 0 | 1.561 | 0.546
3900 | 0 | 0 | -15.011 | 0 | 0 | 1.864 | 0.698
4000 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.243
4100 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | -0.06
4200 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.395
4300 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.395
4400 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.395
4500 | 0 | 0 | -15.011 | 0 | 0 | 1.864 | 0.698
4600 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.395
4700 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.546
4800 | 0 | 0 | -15.011 | 0 | 0 | 1.788 | 0.243
4900 | 0 | 0 | -15.011 | 0 | 0 | 1.713 | 0.546
5000 | 0 | 0 | -15.011 | 0 | 0 | 1.637 | 0.092
5100 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.546
5200 | 0 | 0 | -15.011 | 0 | 0 | 2.319 | 0.849
5300 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.546
5400 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.092
5500 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.243
5600 | 0 | 0 | -15.011 | 0 | 0 | 1.788 | 0.395
5700 | 0 | 0 | -15.011 | 0 | 0 | 2.091 | 0.395
5800 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.243
5900 | 0 | 0 | -15.011 | 0 | 0 | 1.788 | -0.06
6000 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.698
6100 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.243
6200 | 0 | 0 | -15.011 | 0 | 0 | 1.864 | 0.243
6300 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.546
6400 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.395
6500 | 0 | 0 | -15.011 | 0 | 0 | 1.788 | 0.698
6600 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.546
6700 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | -0.06
6800 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 0.395
6900 | 0 | 0 | -15.011 | 0 | 0 | 1.94 | 0.546
7000 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 0.395
7100 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.243
7200 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.546
7300 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.395
7400 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | -0.363
7500 | 0 | 0 | -15.027 | 0 | 0 | 1.637 | 0.092
7600 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.395
7700 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 0.395
7800 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 0.395
7900 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 0.092
8000 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.243
8100 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.243
8200 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 0.092
8300 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | -0.06
8400 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.546
8500 | 0 | 0 | -15.027 | 0 | 0 | 2.091 | 0.698
8600 | 0 | 0 | -15.027 | 0 | 0 | 1.864 | 0.092
8700 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | -0.06
8800 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.243
8900 | 0 | 0 | -15.027 | 0 | 0 | 1.94 | 0.395
9000 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.092
9100 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.849
9200 | 0 | 0 | -15.027 | 0 | 0 | 1.788 | 0.546
9300 | 0 | 0 | -15.027 | 0 | 0 | 1.713 | 0.698
9400 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | 0.546
9500 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | -0.363
9600 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.546
9700 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | -0.06
9800 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | 0.243
9900 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.243
10000 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.395
10100 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.849
10200 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.243
10300 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.243
10400 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.243
10500 | 0 | 0 | -15.044 | 0 | 0 | 2.167 | 0.395
10600 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.546
10700 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.546
10800 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.395
10900 | 0 | 0 | -15.044 | 0 | 0 | 2.091 | 0.546
11000 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.395
11100 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.546
11200 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.395
11300 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.395
11400 | 0 | 0 | -15.044 | 0 | 0 | 1.713 | 0.395
11500 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 0.698
11600 | 0 | 0 | -15.044 | 0 | 0 | 1.788 | 0.243
11700 | 0 | 0 | -15.044 | 0 | 0 | 1.94 | 0.395
11800 | 0 | 0 | -15.044 | 0 | 0 | 1.864 | 0.395
11900 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.092
12000 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.092
12100 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.092
12200 | 0 | 0 | -15.061 | 0 | 0 | 2.243 | -0.06
12300 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.395
12400 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 0.546
12500 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.092
12600 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.698
12700 | 0 | 0 | -15.061 | 0 | 0 | 2.091 | 0.395
12800 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 0.395
12900 | 0 | 0 | -15.061 | 0 | 0 | 1.637 | 0.092
13000 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.243
13100 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.395
13200 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.698
13300 | 0 | 0 | -15.061 | 0 | 0 | 1.788 | 0.243
13400 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.395
13500 | 0 | 0 | -15.061 | 0 | 0 | 1.864 | 0.243
13600 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | -0.06
13700 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.698
13800 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.546
13900 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | 0.698
14000 | 0 | 0 | -15.078 | 0 | 0 | 1.713 | 0.243
14100 | 0 | 0 | -15.078 | 0 | 0 | 1.713 | 0.092
14200 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.395
14300 | 0 | 0 | -15.061 | 0 | 0 | 1.713 | 0.395
14400 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.546
14500 | 0 | 0 | -15.078 | 0 | 0 | 1.864 | 0.243
14600 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | -0.06
14700 | 0 | 0 | -15.078 | 0 | 0 | 1.94 | 0.243
14800 | 0 | 0 | -15.078 | 0 | 0 | 1.864 | 0.395
14900 | 0 | 0 | -15.078 | 0 | 0 | 1.788 | 0.546
15000 | 0 | 0 | -15.078 | 0 | 0 | 1.864 | 0.395
15100 | 0 | 0 | -15.061 | 0 | 0 | 1.94 | -0.06
15200 | 0 | 0 | -15.078 | 0 | 0 | 1.788 | 0.092
15300 | 0.04 | 0.04 | -15.078 | 0 | 169.377 | 1.864 | 0.092
15400 | 0.081 | 0.081 | -15.078 | 0 | 169.528 | 1.713 | 0.243
15500 | 0.121 | 0.133 | -15.078 | 0 | 169.453 | 2.091 | 0.395
15600 | 0.161 | 0.19 | -15.078 | 0 | 172.028 | 1.94 | 0.698
15700 | 0.202 | 0.25 | -15.078 | 0 | 169.68 | 1.485 | 0.698
15800 | 0.242 | 0.314 | -15.078 | 0 | 168.922 | 1.485 | 0.698
15900 | 0.282 | 0.383 | -15.078 | 0 | 169.15 | 1.182 | 0.849
16000 | 0.323 | 0.456 | -15.078 | 0 | 169.225 | 1.258 | 0.849
16100 | 0.363 | 0.532 | -15.078 | 0 | 169.377 | 1.334 | 1.001
16200 | 0.403 | 0.613 | -15.078 | 0 | 169.225 | 1.334 | 1.607
16300 | 0.443 | 0.681 | -15.061 | 0 | 169.377 | 1.258 | 2.365
16400 | 0.484 | 0.786 | -15.078 | 103.988 | 169.225 | 2.091 | 3.122
16500 | 0.524 | 0.862 | -15.061 | -103.988 | 169.453 | 3.379 | 5.092
16600 | 0.564 | 0.959 | -15.061 | 103.988 | 168.771 | 5.955 | 8.88
16700 | 0.605 | 1.026 | -15.027 | 0 | 169.377 | 9.44 | 14.79
16800 | 0.645 | 1.047 | -14.943 | 207.983 | 169.68 | 15.501 | 23.427
16900 | 0.685 | 1.038 | -14.826 | 519.954 | 169.377 | 26.411 | 35.397
17000 | 0.726 | 1.051 | -14.725 | 727.936 | 169.377 | 34.139 | 44.337
17100 | 0.766 | 1.051 | -14.608 | 623.948 | 169.453 | 43.231 | 55.853
17200 | 0.806 | 1.071 | -14.507 | 727.936 | 169.074 | 50.807 | 65.551
17300 | 0.847 | 1.061 | -14.373 | 623.93 | 168.847 | 56.944 | 72.975
17400 | 0.887 | 1.073 | -14.256 | 831.937 | 169.604 | 62.853 | 80.249
17500 | 0.927 | 1.105 | -14.155 | 727.936 | 169.453 | 67.02 | 85.552
17600 | 0.968 | 1.076 | -13.988 | 623.936 | 169.074 | 71.945 | 90.401
17700 | 1.008 | 1.115 | -13.887 | 1039.913 | 169.074 | 74.824 | 95.25
17800 | 1.048 | 1.109 | -13.736 | 623.942 | 169.528 | 78.157 | 98.886
17900 | 1.089 | 1.141 | -13.619 | 935.919 | 169.15 | 80.43 | 102.068
18000 | 1.129 | 1.143 | -13.468 | 727.931 | 169.074 | 82.93 | 105.099
18100 | 1.169 | 1.184 | -13.35 | 935.913 | 169.225 | 84.445 | 108.129
18200 | 1.209 | 1.177 | -13.183 | 727.936 | 169.225 | 86.188 | 111.311
18300 | 1.25 | 1.191 | -13.032 | 1039.913 | 169.68 | 88.006 | 113.281
18400 | 1.29 | 1.21 | -12.881 | 935.913 | 169.604 | 88.84 | 115.402
18500 | 1.33 | 1.232 | -12.73 | 935.913 | 169.074 | 89.673 | 116.918
18600 | 1.371 | 1.226 | -12.545 | 935.913 | 168.847 | 90.658 | 119.191
18700 | 1.411 | 1.255 | -12.394 | 1143.908 | 169.377 | 92.325 | 119.797
18800 | 1.451 | 1.273 | -12.227 | 935.913 | 168.998 | 93.082 | 121.464
18900 | 1.492 | 1.277 | -12.041 | 1039.913 | 169.15 | 94.295 | 122.373
19000 | 1.532 | 1.286 | -11.857 | 1150.389 | 169.453 | 94.749 | 123.888
19100 | 1.572 | 1.301 | -11.672 | 1143.902 | 169.453 | 94.976 | 124.797
19200 | 1.613 | 1.35 | -11.521 | 1143.896 | 169.604 | 89.597 | 129.797
19300 | 1.653 | 1.371 | -11.337 | 935.913 | 169.528 | 86.415 | 133.889
19400 | 1.693 | 1.379 | -11.136 | 1143.902 | 169.604 | 87.855 | 134.798
19500 | 1.734 | 1.409 | -10.951 | 1247.89 | 168.998 | 87.703 | 137.071
19600 | 1.774 | 1.444 | -10.767 | 1143.896 | 169.074 | 88.158 | 138.131
19700 | 1.814 | 1.429 | -10.532 | 1143.902 | 169.15 | 87.4 | 139.95
19800 | 1.855 | 1.453 | -10.331 | 1455.867 | 169.15 | 87.627 | 141.313
19900 | 1.895 | 1.432 | -10.079 | 1247.884 | 169.15 | 88.006 | 141.465
20000 | 1.935 | 1.464 | -9.878 | 1559.867 | 168.847 | 89.219 | 142.374
20100 | 1.975 | 1.503 | -9.677 | 1247.884 | 169.453 | 89.597 | 141.768
20200 | 2.016 | 1.541 | -9.475 | 1247.89 | 170.21 | 88.309 | 143.132
20300 | 2.056 | 1.519 | -9.207 | 1247.89 | 169.604 | 87.097 | 144.798
20400 | 2.096 | 1.501 | -8.939 | 1663.856 | 168.998 | 87.476 | 146.314
20500 | 2.137 | 1.537 | -8.721 | 1663.844 | 169.453 | 88.612 | 145.405
20600 | 2.177 | 1.528 | -8.453 | 1351.885 | 168.695 | 88.006 | 145.405
20700 | 2.217 | 1.57 | -8.235 | 1663.85 | 168.998 | 87.931 | 146.314
20800 | 2.258 | 1.602 | -8 | 1351.879 | 169.377 | 86.87 | 146.92
20900 | 2.298 | 1.586 | -7.714 | 1455.873 | 169.15 | 86.036 | 148.283
21000 | 2.338 | 1.642 | -7.496 | 1774.343 | 169.377 | 85.43 | 149.95
21100 | 2.379 | 1.637 | -7.211 | 1351.876 | 169.528 | 84.597 | 150.405
21200 | 2.419 | 1.665 | -6.959 | 1767.844 | 169.225 | 84.067 | 151.617
21300 | 2.419 | 1.605 | -6.657 | 1559.858 | 169.15 | 83.233 | 152.829
21400 | 2.419 | 1.579 | -6.389 | 1871.832 | 168.998 | 85.506 | 152.223
21500 | 2.419 | 1.553 | -6.12 | 1663.856 | 168.847 | 87.097 | 150.708
21600 | 2.419 | 1.545 | -5.869 | 1663.85 | 168.847 | 87.627 | 149.95
21700 | 2.419 | 1.517 | -5.601 | 1559.864 | 169.377 | 88.158 | 148.738
21800 | 2.419 | 1.524 | -5.366 | 1663.85 | 169.377 | 88.84 | 147.526
21900 | 2.419 | 1.514 | -5.114 | 1455.87 | 169.225 | 88.688 | 147.677
22000 | 2.419 | 1.555 | -4.913 | 1559.858 | 169.604 | 88.461 | 146.92
22100 | 2.419 | 1.547 | -4.661 | 1247.893 | 169.225 | 87.324 | 147.071
22200 | 2.419 | 1.519 | -4.393 | 1559.858 | 169.756 | 86.87 | 147.374
22300 | 2.419 | 1.475 | -4.108 | 1663.85 | 169.756 | 88.385 | 147.526
22400 | 2.419 | 1.516 | -3.907 | 1767.844 | 170.74 | 89.597 | 146.617
22500 | 2.419 | 1.54 | -3.689 | 1247.893 | 170.21 | 88.612 | 146.162
22600 | 2.419 | 1.532 | -3.436 | 1351.876 | 169.983 | 87.173 | 146.768
22700 | 2.419 | 1.52 | -3.185 | 1566.365 | 169.983 | 87.249 | 147.374
22800 | 2.419 | 1.51 | -2.933 | 1559.858 | 170.286 | 88.082 | 146.768
22900 | 2.298 | 1.396 | -2.698 | 1559.86 | 170.059 | 88.234 | 146.768
23000 | 2.177 | 1.287 | -2.48 | 1455.871 | 170.286 | 90.658 | 144.95
23100 | 2.056 | 1.168 | -2.262 | 1351.879 | 169.907 | 95.204 | 141.313
23200 | 1.935 | 1.066 | -2.078 | 1351.879 | 170.134 | 97.628 | 136.313
23300 | 1.814 | 1.004 | -1.944 | 1143.9 | 170.513 | 97.628 | 133.434
23400 | 1.693 | 0.914 | -1.793 | 831.924 | 170.21 | 96.189 | 128.585
23500 | 1.572 | 0.878 | -1.709 | 935.916 | 170.286 | 94.825 | 124.342
23600 | 1.451 | 0.816 | -1.608 | 519.955 | 170.134 | 92.022 | 120.251
23700 | 1.33 | 0.755 | -1.524 | 623.944 | 169.831 | 89.673 | 116.009
23800 | 1.209 | 0.683 | -1.441 | 519.954 | 169.604 | 86.188 | 111.614
23900 | 1.089 | 0.616 | -1.374 | 519.955 | 170.059 | 82.703 | 106.008
24000 | 0.968 | 0.553 | -1.323 | 415.962 | 170.059 | 78.839 | 100.705
24100 | 0.847 | 0.48 | -1.273 | 311.973 | 169.907 | 74.824 | 95.25
24200 | 0.726 | 0.409 | -1.239 | 311.973 | 170.816 | 71.263 | 89.189
24300 | 0.605 | 0.344 | -1.223 | 207.981 | 169.68 | 66.565 | 84.34
24400 | 0.484 | 0.267 | -1.206 | 103.989 | 170.059 | 63.459 | 80.4
24500 | 0.363 | 0.177 | -1.189 | 103.992 | 170.665 | 60.126 | 76.157
24600 | 0.242 | 0.076 | -1.172 | 103.989 | 170.665 | 57.701 | 73.278
24700 | 0.121 | 0 | -1.172 | 103.991 | 170.362 | 54.747 | 69.187