## Data
Log File Data
************************
2007-11-09 11:13 | MERIT Configuration Data
Test Description: 15010 16TP 6+2Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071109 logfile.txt
Trigger-Pulse Delay (s) = 18.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | -0.363
100 | 0 | 0 | -14.692 | 0 | 0 | 1.485 | -0.514
200 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.363
300 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | -0.06
400 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 0.092
500 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.395
600 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | -0.363
700 | 0 | 0 | -14.709 | 0 | 0 | 1.485 | -0.363
800 | 0 | 0 | -14.692 | 0 | 0 | 1.485 | -0.363
900 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | -0.363
1000 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | -0.666
1100 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | -0.514
1200 | 0 | 0 | -14.692 | 0 | 0 | 1.258 | 0.092
1300 | 0 | 0 | -14.692 | 0 | 0 | 1.334 | 0.395
1400 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | 0.243
1500 | 0 | 0 | -14.692 | 0 | 0 | 1.485 | -0.06
1600 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | -0.363
1700 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | -0.363
1800 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.092
1900 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.06
2000 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | -0.363
2100 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | -0.06
2200 | 0 | 0 | -14.692 | 0 | 0 | 1.41 | -0.06
2300 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.092
2400 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | -0.363
2500 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | -0.06
2600 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.363
2700 | 0 | 0 | -14.725 | 0 | 0 | 1.561 | 0.092
2800 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.092
2900 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | -0.363
3000 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | -0.363
3100 | 0 | 0 | -14.709 | 0 | 0 | 1.182 | -0.06
3200 | 0 | 0 | -14.709 | 0 | 0 | 1.334 | -0.363
3300 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.395
3400 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | -0.06
3500 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | -0.363
3600 | 0 | 0 | -14.709 | 0 | 0 | 1.258 | 0.092
3700 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.363
3800 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.06
3900 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.092
4000 | 0 | 0 | -14.709 | 0 | 0 | 1.41 | 0.092
4100 | 0 | 0 | -14.725 | 0 | 0 | 1.561 | 0.243
4200 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.363
4300 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | -0.06
4400 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.363
4500 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | -0.363
4600 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.06
4700 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | -0.06
4800 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | 0.243
4900 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.06
5000 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | -0.514
5100 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | -0.363
5200 | 0 | 0 | -14.725 | 0 | 0 | 1.485 | -0.363
5300 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.06
5400 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | 0.698
5500 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | -0.363
5600 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.06
5700 | 0 | 0 | -14.725 | 0 | 0 | 1.561 | 0.092
5800 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.243
5900 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | 0.395
6000 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.092
6100 | 0 | 0 | -14.725 | 0 | 0 | 1.258 | -0.363
6200 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.363
6300 | 0 | 0 | -14.725 | 0 | 0 | 1.41 | -0.06
6400 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.092
6500 | 0 | 0 | -14.725 | 0 | 0 | 1.182 | 0.092
6600 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.363
6700 | 0 | 0 | -14.725 | 0 | 0 | 1.334 | -0.363
6800 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.363
6900 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.06
7000 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.06
7100 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.092
7200 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.363
7300 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | -0.363
7400 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | -0.06
7500 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.06
7600 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.243
7700 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.06
7800 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.363
7900 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.06
8000 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.092
8100 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.092
8200 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.243
8300 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.363
8400 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.363
8500 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.092
8600 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | -0.06
8700 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 0.092
8800 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 0.243
8900 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | -0.363
9000 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.363
9100 | 0 | 0 | -14.742 | 0 | 0 | 1.485 | -0.363
9200 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | -0.363
9300 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | -0.514
9400 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.243
9500 | 0 | 0 | -14.759 | 0 | 0 | 1.561 | -0.06
9600 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | -0.363
9700 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.06
9800 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.092
9900 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.395
10000 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | -0.06
10100 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | -0.06
10200 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | -0.363
10300 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | -0.363
10400 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 0.546
10500 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.395
10600 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | -0.06
10700 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | -0.06
10800 | 0 | 0 | -14.776 | 0 | 0 | 1.182 | -0.363
10900 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | -0.06
11000 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.243
11100 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 0.395
11200 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | -0.06
11300 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.092
11400 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | -0.06
11500 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | -0.363
11600 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | -0.363
11700 | 0.04 | 0.04 | -14.776 | 0 | 171.876 | 1.334 | 0.092
11800 | 0.081 | 0.064 | -14.759 | 0 | 172.028 | 1.334 | -0.514
11900 | 0.121 | 0.116 | -14.759 | 103.994 | 171.498 | 1.41 | 0.546
12000 | 0.161 | 0.173 | -14.759 | 0 | 171.725 | 1.41 | 0.092
12100 | 0.202 | 0.233 | -14.759 | 0 | 171.27 | 1.334 | -0.06
12200 | 0.242 | 0.298 | -14.759 | 0 | 172.407 | 1.258 | 0.698
12300 | 0.282 | 0.366 | -14.759 | 0 | 171.952 | 1.031 | 0.395
12400 | 0.323 | 0.439 | -14.759 | 0 | 171.649 | 1.031 | 0.849
12500 | 0.363 | 0.532 | -14.776 | 0 | 172.028 | 1.031 | 0.849
12600 | 0.403 | 0.613 | -14.776 | -103.994 | 172.028 | 0.955 | 0.849
12700 | 0.443 | 0.681 | -14.759 | 0 | 172.028 | 1.031 | 1.759
12800 | 0.484 | 0.769 | -14.759 | 103.994 | 172.331 | 1.864 | 2.819
12900 | 0.524 | 0.863 | -14.759 | 0 | 172.482 | 2.773 | 4.334
13000 | 0.564 | 0.959 | -14.759 | 0 | 171.952 | 4.289 | 7.062
13100 | 0.605 | 1.009 | -14.709 | 0 | 172.179 | 7.243 | 12.062
13200 | 0.645 | 1.03 | -14.625 | 311.977 | 171.876 | 12.85 | 20.093
13300 | 0.685 | 1.055 | -14.541 | 519.942 | 172.407 | 20.426 | 29.336
13400 | 0.726 | 1.051 | -14.424 | 519.96 | 171.498 | 30.654 | 41.155
13500 | 0.766 | 1.067 | -14.323 | 727.936 | 171.725 | 38.988 | 51.156
13600 | 0.806 | 1.054 | -14.189 | 623.942 | 171.952 | 47.17 | 62.369
13700 | 0.847 | 1.078 | -14.088 | 831.925 | 171.649 | 53.989 | 70.248
13800 | 0.887 | 1.073 | -13.954 | 623.948 | 171.801 | 60.05 | 77.521
13900 | 0.927 | 1.073 | -13.82 | 831.925 | 172.331 | 65.884 | 84.643
14000 | 0.968 | 1.108 | -13.719 | 831.925 | 171.801 | 69.444 | 89.643
14100 | 1.008 | 1.132 | -13.602 | 623.948 | 172.179 | 73.233 | 94.795
14200 | 1.048 | 1.126 | -13.451 | 727.931 | 172.482 | 76.187 | 99.189
14300 | 1.089 | 1.158 | -13.334 | 935.919 | 172.104 | 79.521 | 103.432
14400 | 1.129 | 1.145 | -13.166 | 727.931 | 171.876 | 82.324 | 106.614
14500 | 1.169 | 1.166 | -13.032 | 1039.913 | 172.407 | 83.461 | 109.645
14600 | 1.209 | 1.21 | -12.914 | 831.925 | 172.331 | 85.43 | 111.917
14700 | 1.25 | 1.191 | -12.73 | 727.936 | 172.255 | 86.567 | 115.251
14800 | 1.29 | 1.21 | -12.579 | 1143.89 | 172.028 | 88.688 | 116.615
14900 | 1.33 | 1.233 | -12.428 | 935.925 | 172.028 | 89.9 | 118.281
15000 | 1.371 | 1.225 | -12.244 | 935.913 | 172.558 | 90.81 | 119.797
15100 | 1.411 | 1.238 | -12.075 | 1143.896 | 171.952 | 91.719 | 121.464
15200 | 1.451 | 1.272 | -11.924 | 1046.413 | 171.195 | 92.097 | 122.373
15300 | 1.492 | 1.294 | -11.756 | 935.913 | 172.331 | 88.082 | 127.373
15400 | 1.532 | 1.338 | -11.605 | 1039.902 | 172.104 | 86.264 | 130.555
15500 | 1.572 | 1.366 | -11.438 | 935.925 | 172.028 | 86.643 | 132.525
15600 | 1.613 | 1.367 | -11.236 | 1039.902 | 172.407 | 86.264 | 134.949
15700 | 1.653 | 1.371 | -11.035 | 1247.896 | 172.255 | 87.249 | 136.919
15800 | 1.693 | 1.396 | -10.851 | 1247.89 | 172.255 | 88.082 | 137.071
15900 | 1.734 | 1.394 | -10.633 | 1143.89 | 171.876 | 88.385 | 138.434
16000 | 1.774 | 1.425 | -10.448 | 1351.885 | 171.649 | 88.688 | 139.04
16100 | 1.814 | 1.446 | -10.247 | 1143.89 | 171.649 | 89.219 | 139.798
16200 | 1.855 | 1.47 | -10.046 | 1247.89 | 171.876 | 88.764 | 140.253
16300 | 1.895 | 1.448 | -9.794 | 1247.896 | 172.104 | 87.552 | 142.98
16400 | 1.935 | 1.483 | -9.593 | 1559.861 | 172.331 | 88.234 | 143.283
16500 | 1.975 | 1.501 | -9.375 | 1247.884 | 171.725 | 88.158 | 143.435
16600 | 2.016 | 1.508 | -9.14 | 1351.879 | 171.725 | 87.779 | 144.647
16700 | 2.056 | 1.502 | -8.889 | 1455.873 | 171.725 | 87.476 | 145.556
16800 | 2.096 | 1.517 | -8.654 | 1559.861 | 171.876 | 87.931 | 145.708
16900 | 2.137 | 1.555 | -8.436 | 1455.867 | 172.179 | 87.324 | 146.92
17000 | 2.177 | 1.593 | -8.218 | 1351.885 | 172.028 | 86.718 | 147.374
17100 | 2.217 | 1.537 | -7.899 | 1351.873 | 171.498 | 85.43 | 148.435
17200 | 2.258 | 1.601 | -7.697 | 1975.83 | 172.028 | 85.733 | 149.95
17300 | 2.298 | 1.586 | -7.412 | 1254.387 | 171.422 | 85.658 | 148.738
17400 | 2.338 | 1.611 | -7.16 | 1767.844 | 172.331 | 85.582 | 150.253
17500 | 2.379 | 1.668 | -6.942 | 1559.858 | 171.649 | 85.355 | 150.253
17600 | 2.419 | 1.649 | -6.64 | 1351.882 | 171.952 | 82.248 | 152.829
17700 | 2.419 | 1.639 | -6.389 | 1871.832 | 171.952 | 83.309 | 153.738
17800 | 2.419 | 1.579 | -6.087 | 1559.861 | 172.331 | 84.37 | 153.284
17900 | 2.419 | 1.589 | -5.852 | 1871.832 | 174.225 | 86.643 | 152.526
18000 | 2.419 | 1.56 | -5.584 | 1455.87 | 172.255 | 86.794 | 151.314
18100 | 2.419 | 1.517 | -5.299 | 1663.85 | 171.498 | 86.946 | 150.556
18200 | 2.419 | 1.524 | -5.064 | 1767.844 | 171.876 | 88.158 | 149.647
18300 | 2.419 | 1.531 | -4.829 | 1455.87 | 171.876 | 88.688 | 148.283
18400 | 2.419 | 1.54 | -4.594 | 1455.87 | 172.331 | 87.703 | 148.283
18500 | 2.419 | 1.528 | -4.343 | 1455.87 | 171.801 | 87.173 | 148.132
18600 | 2.419 | 1.519 | -4.091 | 1559.861 | 171.952 | 87.4 | 148.738
18700 | 2.419 | 1.542 | -3.873 | 1559.864 | 172.179 | 88.082 | 147.829
18800 | 2.419 | 1.533 | -3.622 | 1351.877 | 171.876 | 87.249 | 148.283
18900 | 2.419 | 1.541 | -3.386 | 1559.86 | 189.075 | 87.4 | 148.283
19000 | 2.419 | 1.546 | -3.151 | 1462.369 | 189.075 | 86.946 | 148.435
19100 | 2.419 | 1.553 | -2.916 | 1455.87 | 188.242 | 86.946 | 148.132
19200 | 2.419 | 1.543 | -2.665 | 1455.871 | 187.788 | 86.264 | 148.738
19300 | 2.298 | 1.396 | -2.397 | 1559.86 | 188.772 | 87.173 | 148.89
19400 | 2.177 | 1.306 | -2.195 | 1663.854 | 189.151 | 88.991 | 147.223
19500 | 2.056 | 1.149 | -1.944 | 1247.89 | 188.166 | 95.583 | 142.677
19600 | 1.935 | 1.049 | -1.759 | 1559.859 | 187.863 | 98.537 | 137.828
19700 | 1.814 | 0.971 | -1.608 | 1143.897 | 188.091 | 98.159 | 133.889
19800 | 1.693 | 0.897 | -1.474 | 935.917 | 188.394 | 97.098 | 129.494
19900 | 1.572 | 0.847 | -1.374 | 831.927 | 188.621 | 94.673 | 123.433
20000 | 1.451 | 0.781 | -1.273 | 623.943 | 188.621 | 91.567 | 119.948
20100 | 1.33 | 0.738 | -1.206 | 623.947 | 187.863 | 88.537 | 115.251
20200 | 1.209 | 0.683 | -1.139 | 415.962 | 196.65 | 84.824 | 110.251
20300 | 1.089 | 0.616 | -1.072 | 415.962 | 188.318 | 81.263 | 105.25
20400 | 0.968 | 0.554 | -1.021 | 415.962 | 188.469 | 77.248 | 99.341
20500 | 0.847 | 0.496 | -0.988 | 311.973 | 188.545 | 73.763 | 93.734
20600 | 0.726 | 0.443 | -0.971 | 207.981 | 188.242 | 69.369 | 87.673
20700 | 0.605 | 0.361 | -0.938 | 103.992 | 188.924 | 65.202 | 83.431
20800 | 0.484 | 0.284 | -0.921 | 207.981 | 190.515 | 61.641 | 78.127
20900 | 0.363 | 0.195 | -0.904 | 103.989 | 188.545 | 58.61 | 74.794
21000 | 0.242 | 0.093 | -0.887 | 103.992 | 188.469 | 55.959 | 71.309
21100 | 0.121 | 0 | -0.87 | 103.992 | 188.772 | 53.231 | 67.824
21200 | 0.121 | 0 | -0.636 | 0 | 172.255 | 53.837 | 68.581