## Data
Log File Data
************************
2007-11-09 19:27 | MERIT Configuration Data
Test Description: 15042 6TP 8Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071109 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.161 | 0 | 0 | 1.485 | 0.849
100 | 0 | 0 | -15.178 | 0 | 0 | 1.41 | 0.849
200 | 0 | 0 | -15.178 | 0 | 0 | 1.485 | 0.849
300 | 0 | 0 | -15.178 | 0 | 0 | 1.258 | 1.001
400 | 0 | 0 | -15.178 | 0 | 0 | 1.485 | 1.304
500 | 0 | 0 | -15.178 | 0 | 0 | 1.41 | 0.698
600 | 0 | 0 | -15.178 | 0 | 0 | 1.561 | 1.001
700 | 0 | 0 | -15.178 | 0 | 0 | 1.41 | 0.698
800 | 0 | 0 | -15.178 | 0 | 0 | 1.485 | 0.849
900 | 0 | 0 | -15.178 | 0 | 0 | 1.41 | 0.849
1000 | 0 | 0 | -15.195 | 0 | 0 | 1.182 | 1.152
1100 | 0 | 0 | -15.178 | 0 | 0 | 1.485 | 0.698
1200 | 0 | 0 | -15.195 | 0 | 0 | 1.41 | 0.395
1300 | 0 | 0 | -15.178 | 0 | 0 | 1.637 | 0.698
1400 | 0 | 0 | -15.178 | 0 | 0 | 1.713 | 0.849
1500 | 0 | 0 | -15.195 | 0 | 0 | 1.637 | 0.698
1600 | 0 | 0 | -15.178 | 0 | 0 | 1.258 | 1.001
1700 | 0 | 0 | -15.178 | 0 | 0 | 1.182 | 1.001
1800 | 0 | 0 | -15.178 | 0 | 0 | 1.485 | 0.395
1900 | 0 | 0 | -15.178 | 0 | 0 | 1.561 | 0.395
2000 | 0 | 0 | -15.195 | 0 | 0 | 1.334 | 0.849
2100 | 0 | 0 | -15.195 | 0 | 0 | 1.41 | 0.849
2200 | 0 | 0 | -15.195 | 0 | 0 | 1.334 | 0.849
2300 | 0 | 0 | -15.195 | 0 | 0 | 1.334 | 1.304
2400 | 0 | 0 | -15.195 | 0 | 0 | 1.485 | 1.001
2500 | 0 | 0 | -15.195 | 0 | 0 | 1.561 | 0.849
2600 | 0 | 0 | -15.195 | 0 | 0 | 1.637 | 0.698
2700 | 0 | 0 | -15.195 | 0 | 0 | 1.485 | 0.849
2800 | 0 | 0 | -15.195 | 0 | 0 | 1.637 | 1.152
2900 | 0 | 0 | -15.212 | 0 | 0 | 1.41 | 1.152
3000 | 0 | 0 | -15.212 | 0 | 0 | 1.485 | 1.152
3100 | 0 | 0 | -15.195 | 0 | 0 | 1.258 | 1.001
3200 | 0 | 0 | -15.195 | 0 | 0 | 1.258 | 1.152
3300 | 0 | 0 | -15.195 | 0 | 0 | 1.258 | 1.304
3400 | 0 | 0 | -15.212 | 0 | 0 | 1.637 | 0.849
3500 | 0 | 0 | -15.195 | 0 | 0 | 1.41 | 0.849
3600 | 0 | 0 | -15.212 | 0 | 0 | 1.182 | 0.849
3700 | 0 | 0 | -15.195 | 0 | 0 | 1.41 | 0.395
3800 | 0 | 0 | -15.212 | 0 | 0 | 1.258 | 0.849
3900 | 0 | 0 | -15.212 | 0 | 0 | 1.258 | 0.698
4000 | 0 | 0 | -15.212 | 0 | 0 | 1.561 | 1.001
4100 | 0 | 0 | -15.212 | 0 | 0 | 1.485 | 0.698
4200 | 0 | 0 | -15.195 | 0 | 0 | 1.182 | 0.849
4300 | 0 | 0 | -15.212 | 0 | 0 | 1.258 | 0.698
4400 | 0 | 0 | -15.212 | 0 | 0 | 1.334 | 1.001
4500 | 0 | 0 | -15.212 | 0 | 0 | 1.41 | 1.001
4600 | 0 | 0 | -15.212 | 0 | 0 | 1.561 | 1.304
4700 | 0 | 0 | -15.212 | 0 | 0 | 1.334 | 0.698
4800 | 0 | 0 | -15.212 | 0 | 0 | 1.258 | 0.849
4900 | 0 | 0 | -15.212 | 0 | 0 | 1.41 | 0.849
5000 | 0 | 0 | -15.229 | 0 | 0 | 1.334 | 0.849
5100 | 0 | 0 | -15.212 | 0 | 0 | 1.334 | 0.849
5200 | 0 | 0 | -15.212 | 0 | 0 | 1.485 | 1.001
5300 | 0 | 0 | -15.212 | 0 | 0 | 1.713 | 0.849
5400 | 0 | 0 | -15.212 | 0 | 0 | 1.561 | 1.001
5500 | 0 | 0 | -15.229 | 0 | 0 | 1.485 | 0.698
5600 | 0 | 0 | -15.212 | 0 | 0 | 1.258 | 0.849
5700 | 0 | 0 | -15.212 | 0 | 0 | 1.41 | 1.001
5800 | 0 | 0 | -15.229 | 0 | 0 | 1.41 | 1.001
5900 | 0 | 0 | -15.212 | 0 | 0 | 1.485 | 0.698
6000 | 0 | 0 | -15.212 | 0 | 0 | 1.485 | 1.304
6100 | 0 | 0 | -15.229 | 0 | 0 | 1.258 | 0.849
6200 | 0 | 0 | -15.229 | 0 | 0 | 1.334 | 0.698
6300 | 0 | 0 | -15.212 | 0 | 0 | 1.334 | 0.546
6400 | 0 | 0 | -15.212 | 0 | 0 | 1.41 | 0.849
6500 | 0 | 0 | -15.229 | 0 | 0 | 1.41 | 0.849
6600 | 0 | 0 | -15.229 | 0 | 0 | 1.637 | 1.001
6700 | 0 | 0 | -15.229 | 0 | 0 | 1.485 | 0.849
6800 | 0 | 0 | -15.229 | 0 | 0 | 1.41 | 1.001
6900 | 0 | 0 | -15.229 | 0 | 0 | 1.713 | 1.001
7000 | 0 | 0 | -15.229 | 0 | 0 | 1.334 | 0.849
7100 | 0 | 0 | -15.229 | 0 | 0 | 1.561 | 1.152
7200 | 0 | 0 | -15.229 | 0 | 0 | 1.485 | 0.698
7300 | 0 | 0 | -15.229 | 0 | 0 | 1.485 | 1.001
7400 | 0 | 0 | -15.229 | 0 | 0 | 1.258 | 0.849
7500 | 0 | 0 | -15.229 | 0 | 0 | 1.561 | 0.849
7600 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | 0.698
7700 | 0 | 0 | -15.229 | 0 | 0 | 1.485 | 0.849
7800 | 0 | 0 | -15.229 | 0 | 0 | 1.713 | 0.849
7900 | 0 | 0 | -15.245 | 0 | 0 | 1.258 | 1.152
8000 | 0 | 0 | -15.245 | 0 | 0 | 1.41 | 0.698
8100 | 0 | 0 | -15.229 | 0 | 0 | 1.41 | 0.849
8200 | 0 | 0 | -15.229 | 0 | 0 | 1.561 | 0.849
8300 | 0 | 0 | -15.229 | 0 | 0 | 1.561 | 0.849
8400 | 0 | 0 | -15.245 | 0 | 0 | 1.561 | 1.304
8500 | 0 | 0 | -15.245 | 0 | 0 | 1.485 | 0.849
8600 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | 0.849
8700 | 0 | 0 | -15.245 | 0 | 0 | 1.258 | 0.849
8800 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | 0.395
8900 | 0 | 0 | -15.245 | 0 | 0 | 1.713 | 0.698
9000 | 0 | 0 | -15.245 | 0 | 0 | 1.713 | 0.698
9100 | 0 | 0 | -15.245 | 0 | 0 | 1.637 | 0.698
9200 | 0 | 0 | -15.245 | 0 | 0 | 1.713 | 0.849
9300 | 0 | 0 | -15.245 | 0 | 0 | 1.561 | 1.152
9400 | 0 | 0 | -15.245 | 0 | 0 | 1.334 | 1.001
9500 | 0 | 0 | -15.245 | 0 | 0 | 1.485 | 1.152
9600 | 0 | 0 | -15.245 | 0 | 0 | 1.561 | 0.849
9700 | 0 | 0 | -15.245 | 0 | 0 | 1.41 | 0.698
9800 | 0 | 0 | -15.245 | 0 | 0 | 1.561 | 0.849
9900 | 0 | 0 | -15.245 | 0 | 0 | 1.561 | 0.849
10000 | 0 | 0 | -15.245 | 0 | 0 | 1.485 | 1.152
10100 | 0 | 0 | -15.245 | 0 | 0 | 1.485 | 0.849
10200 | 0 | 0 | -15.262 | 0 | 0 | 1.485 | 0.546
10300 | 0 | 0 | -15.262 | 0 | 0 | 1.713 | 0.849
10400 | 0 | 0 | -15.262 | 0 | 0 | 1.41 | 0.849
10500 | 0.04 | 0.04 | -15.262 | 0 | 181.955 | 1.258 | 0.698
10600 | 0.081 | 0.081 | -15.262 | 0 | 181.88 | 1.41 | 0.698
10700 | 0.121 | 0.133 | -15.262 | 0 | 182.031 | 1.41 | 0.849
10800 | 0.161 | 0.189 | -15.262 | 0 | 182.183 | 1.485 | 0.849
10900 | 0.202 | 0.25 | -15.262 | 0 | 181.728 | 1.334 | 1.152
11000 | 0.242 | 0.314 | -15.262 | 0 | 182.334 | 1.182 | 1.152
11100 | 0.282 | 0.383 | -15.262 | 0 | 181.955 | 1.182 | 1.455
11200 | 0.323 | 0.456 | -15.262 | 0 | 182.183 | 1.182 | 1.455
11300 | 0.363 | 0.532 | -15.262 | 0 | 182.107 | 1.107 | 1.607
11400 | 0.403 | 0.613 | -15.262 | 0 | 181.425 | 1.107 | 1.759
11500 | 0.443 | 0.697 | -15.262 | 0 | 182.107 | 1.031 | 2.516
11600 | 0.484 | 0.769 | -15.245 | 0 | 182.107 | 1.485 | 4.638
11700 | 0.524 | 0.845 | -15.229 | 103.988 | 181.728 | 2.925 | 7.365
11800 | 0.564 | 0.908 | -15.195 | 103.988 | 182.031 | 5.349 | 11.153
11900 | 0.605 | 0.96 | -15.145 | 207.989 | 181.577 | 9.062 | 15.85
12000 | 0.645 | 0.98 | -15.061 | 311.971 | 181.955 | 14.744 | 24.033
12100 | 0.685 | 0.988 | -14.96 | 519.954 | 181.198 | 23.305 | 33.73
12200 | 0.726 | 1.034 | -14.893 | 623.948 | 181.728 | 29.518 | 41.155
12300 | 0.766 | 1.033 | -14.776 | 415.959 | 181.728 | 37.548 | 51.61
12400 | 0.806 | 1.038 | -14.658 | 727.931 | 182.258 | 45.731 | 61.763
12500 | 0.847 | 1.061 | -14.558 | 727.936 | 181.425 | 52.171 | 69.187
12600 | 0.887 | 1.073 | -14.44 | 623.948 | 184.682 | 57.777 | 76.157
12700 | 0.927 | 1.089 | -14.323 | 727.936 | 181.652 | 63.08 | 83.431
12800 | 0.968 | 1.108 | -14.206 | 727.931 | 181.122 | 67.323 | 89.189
12900 | 1.008 | 1.116 | -14.071 | 727.936 | 181.88 | 71.035 | 95.401
13000 | 1.048 | 1.143 | -13.954 | 831.925 | 181.501 | 71.869 | 102.068
13100 | 1.089 | 1.175 | -13.837 | 727.936 | 181.274 | 73.763 | 107.069
13200 | 1.129 | 1.194 | -13.703 | 727.936 | 182.031 | 77.475 | 111.16
13300 | 1.169 | 1.2 | -13.552 | 831.925 | 181.955 | 80.051 | 114.948
13400 | 1.209 | 1.212 | -13.401 | 935.913 | 182.258 | 81.945 | 117.675
13500 | 1.25 | 1.191 | -13.216 | 935.925 | 181.577 | 83.764 | 120.251
13600 | 1.29 | 1.21 | -13.065 | 1143.89 | 181.804 | 85.43 | 122.07
13700 | 1.33 | 1.249 | -12.931 | 935.925 | 181.349 | 86.491 | 123.282
13800 | 1.371 | 1.242 | -12.747 | 831.925 | 181.88 | 86.264 | 125.858
13900 | 1.411 | 1.274 | -12.596 | 1143.89 | 182.334 | 87.097 | 127.07
14000 | 1.451 | 1.307 | -12.445 | 935.913 | 181.955 | 88.006 | 128.282
14100 | 1.492 | 1.295 | -12.244 | 935.925 | 181.88 | 88.082 | 129.949
14200 | 1.532 | 1.32 | -12.075 | 1247.884 | 181.577 | 88.082 | 131.616
14300 | 1.572 | 1.316 | -11.874 | 1046.413 | 181.652 | 88.688 | 132.979
14400 | 1.613 | 1.335 | -11.689 | 1247.89 | 182.031 | 88.991 | 133.434
14500 | 1.653 | 1.337 | -11.488 | 1143.896 | 182.031 | 89.522 | 134.798
14600 | 1.693 | 1.379 | -11.32 | 1247.89 | 181.728 | 89.522 | 135.252
14700 | 1.734 | 1.375 | -11.102 | 1039.902 | 182.031 | 88.688 | 136.919
14800 | 1.774 | 1.392 | -10.901 | 1351.885 | 181.728 | 89.143 | 137.374
14900 | 1.814 | 1.431 | -10.716 | 1247.89 | 181.88 | 89.673 | 137.98
15000 | 1.855 | 1.42 | -10.482 | 1143.89 | 181.349 | 88.991 | 139.343
15100 | 1.895 | 1.465 | -10.297 | 1455.873 | 181.88 | 89.219 | 139.798
15200 | 1.935 | 1.481 | -10.079 | 1143.902 | 181.88 | 88.764 | 141.465
15300 | 1.975 | 1.467 | -9.828 | 1351.879 | 181.425 | 88.234 | 142.526
15400 | 2.016 | 1.493 | -9.61 | 1559.855 | 181.577 | 88.461 | 143.283
15500 | 2.056 | 1.485 | -9.358 | 1351.885 | 181.349 | 88.158 | 144.192
15600 | 2.096 | 1.534 | -9.157 | 1559.861 | 181.046 | 88.385 | 144.647
15700 | 2.137 | 1.537 | -8.905 | 1247.89 | 181.652 | 87.4 | 144.95
15800 | 2.177 | 1.56 | -8.671 | 1559.861 | 182.183 | 86.87 | 146.768
15900 | 2.217 | 1.589 | -8.436 | 1455.867 | 181.804 | 86.794 | 146.92
16000 | 2.258 | 1.568 | -8.151 | 1455.873 | 181.349 | 86.112 | 147.829
16100 | 2.298 | 1.603 | -7.916 | 1767.838 | 181.955 | 86.036 | 148.587
16200 | 2.338 | 1.642 | -7.68 | 1455.87 | 181.728 | 85.809 | 148.738
16300 | 2.379 | 1.618 | -7.378 | 1462.369 | 182.334 | 84.824 | 150.556
16400 | 2.419 | 1.668 | -7.143 | 1871.832 | 181.349 | 84.673 | 151.011
16500 | 2.419 | 1.606 | -6.842 | 1455.87 | 181.955 | 83.991 | 151.465
16600 | 2.419 | 1.562 | -6.556 | 1871.835 | 181.122 | 85.203 | 152.072
16700 | 2.419 | 1.553 | -6.305 | 1767.844 | 182.183 | 87.476 | 150.708
16800 | 2.419 | 1.543 | -6.053 | 1559.858 | 181.349 | 88.006 | 148.587
16900 | 2.419 | 1.502 | -5.768 | 1559.864 | 181.425 | 88.006 | 148.587
17000 | 2.419 | 1.557 | -5.584 | 1767.838 | 181.955 | 88.84 | 147.98
17100 | 2.419 | 1.531 | -5.316 | 1143.899 | 181.955 | 87.476 | 147.374
17200 | 2.419 | 1.521 | -5.064 | 1663.856 | 181.501 | 87.931 | 147.374
17300 | 2.419 | 1.512 | -4.812 | 1559.858 | 183.622 | 88.082 | 146.768
17400 | 2.419 | 1.504 | -4.561 | 1559.858 | 182.031 | 88.688 | 147.071
17500 | 2.419 | 1.526 | -4.343 | 1559.867 | 182.258 | 88.688 | 146.465
17600 | 2.419 | 1.499 | -4.075 | 1351.876 | 183.849 | 88.082 | 146.465
17700 | 2.419 | 1.523 | -3.857 | 1663.856 | 205.668 | 88.537 | 146.92
17800 | 2.419 | 1.53 | -3.622 | 1351.874 | 205.971 | 88.309 | 146.314
17900 | 2.419 | 1.539 | -3.386 | 1455.871 | 192.484 | 87.249 | 146.465
18000 | 2.419 | 1.527 | -3.134 | 1462.369 | 196.65 | 87.4 | 147.223
18100 | 2.298 | 1.413 | -2.9 | 1559.866 | 188.848 | 87.552 | 147.223
18200 | 2.177 | 1.287 | -2.665 | 1455.87 | 202.108 | 91.34 | 145.556
18300 | 2.056 | 1.149 | -2.43 | 1455.866 | 197.862 | 95.355 | 142.222
18400 | 1.935 | 1.085 | -2.279 | 1455.873 | 215.439 | 96.871 | 137.525
18500 | 1.814 | 1.004 | -2.128 | 935.916 | 204.153 | 97.098 | 133.282
18600 | 1.693 | 0.914 | -1.977 | 935.916 | 195.665 | 95.81 | 129.04
18700 | 1.572 | 0.845 | -1.86 | 935.917 | 200.593 | 94.067 | 124.646
18800 | 1.451 | 0.797 | -1.776 | 727.936 | 201.124 | 92.022 | 119.797
18900 | 1.33 | 0.756 | -1.709 | 519.954 | 203.244 | 89.143 | 115.554
19000 | 1.209 | 0.683 | -1.625 | 415.962 | 202.108 | 85.809 | 110.251
19100 | 1.089 | 0.616 | -1.558 | 519.955 | 192.635 | 82.476 | 105.705
19200 | 0.968 | 0.57 | -1.524 | 415.962 | 189.303 | 78.915 | 100.401
19300 | 0.847 | 0.496 | -1.474 | 207.981 | 195.892 | 74.672 | 94.492
19400 | 0.726 | 0.427 | -1.441 | 311.973 | 197.559 | 70.657 | 89.34
19500 | 0.605 | 0.344 | -1.407 | 207.981 | 193.696 | 67.02 | 84.946
19600 | 0.484 | 0.267 | -1.39 | 207.981 | 188.621 | 63.611 | 80.097
19700 | 0.363 | 0.177 | -1.374 | 103.991 | 193.317 | 60.429 | 76.006
19800 | 0.242 | 0.093 | -1.374 | 103.989 | 191.423 | 57.777 | 72.672
19900 | 0.121 | 0 | -1.357 | 0 | 194.529 | 55.05 | 69.036
20000 | 0.121 | 0 | -0.602 | 103.989 | 181.955 | 54.292 | 69.036