## Data
Log File Data
************************
2007-11-10 12:39 | MERIT Configuration Data
Test Description: 16011 6+6TP 4+4Bunches 5T
Mode = Triggered
LogFile = C:\MERIT Data\071110 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | 0.698
100 | 0 | 0 | -14.725 | 0 | 0 | 1.637 | 0.698
200 | 0 | 0 | -14.725 | 0 | 0 | 1.713 | 0.849
300 | 0 | 0 | -14.742 | 0 | 0 | 1.713 | 1.152
400 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 1.152
500 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 1.152
600 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | 0.849
700 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | 1.152
800 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.849
900 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 1.001
1000 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 1.304
1100 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 1.152
1200 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.849
1300 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 1.001
1400 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 1.455
1500 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 1.304
1600 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | 1.001
1700 | 0 | 0 | -14.742 | 0 | 0 | 1.41 | 0.849
1800 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | 1.001
1900 | 0 | 0 | -14.742 | 0 | 0 | 1.258 | 1.152
2000 | 0 | 0 | -14.742 | 0 | 0 | 1.182 | 1.304
2100 | 0 | 0 | -14.742 | 0 | 0 | 1.637 | 0.849
2200 | 0 | 0 | -14.742 | 0 | 0 | 1.561 | 0.698
2300 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.849
2400 | 0 | 0 | -14.742 | 0 | 0 | 1.334 | 0.849
2500 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.849
2600 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 1.152
2700 | 0 | 0 | -14.759 | 0 | 0 | 1.258 | 1.001
2800 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 1.152
2900 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.698
3000 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 0.849
3100 | 0 | 0 | -14.759 | 0 | 0 | 1.334 | 1.001
3200 | 0 | 0 | -14.759 | 0 | 0 | 1.561 | 0.698
3300 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | 0.849
3400 | 0 | 0 | -14.759 | 0 | 0 | 1.182 | 1.001
3500 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 1.152
3600 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.849
3700 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.849
3800 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.698
3900 | 0 | 0 | -14.759 | 0 | 0 | 1.485 | 0.849
4000 | 0 | 0 | -14.759 | 0 | 0 | 1.41 | 1.001
4100 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.849
4200 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 1.001
4300 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 1.001
4400 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 1.304
4500 | 0 | 0 | -14.776 | 0 | 0 | 1.561 | 1.304
4600 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 0.849
4700 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.849
4800 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.849
4900 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 0.849
5000 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 1.152
5100 | 0 | 0 | -14.776 | 0 | 0 | 1.485 | 1.304
5200 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | 1.001
5300 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 0.849
5400 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 1.001
5500 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 1.304
5600 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 1.001
5700 | 0 | 0 | -14.776 | 0 | 0 | 1.258 | 1.001
5800 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 1.001
5900 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | 0.849
6000 | 0 | 0 | -14.776 | 0 | 0 | 1.41 | 0.849
6100 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | 0.849
6200 | 0 | 0 | -14.809 | 0 | 0 | 1.182 | 0.698
6300 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | 0.849
6400 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | 1.001
6500 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 1.152
6600 | 0 | 0 | -14.809 | 0 | 0 | 1.334 | 1.001
6700 | 0 | 0 | -14.809 | 0 | 0 | 1.485 | 1.001
6800 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.849
6900 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | 0.849
7000 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | 0.849
7100 | 0 | 0 | -14.809 | 0 | 0 | 1.561 | 1.152
7200 | 0 | 0 | -14.809 | 0 | 0 | 1.713 | 1.152
7300 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 1.152
7400 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | 1.001
7500 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.849
7600 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 1.001
7700 | 0 | 0 | -14.809 | 0 | 0 | 1.41 | 0.849
7800 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 1.152
7900 | 0 | 0 | -14.809 | 0 | 0 | 1.258 | 1.001
8000 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.698
8100 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.849
8200 | 0 | 0 | -14.826 | 0 | 0 | 1.485 | 1.001
8300 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 1.304
8400 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 1.001
8500 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.849
8600 | 0 | 0 | -14.826 | 0 | 0 | 1.182 | 0.849
8700 | 0 | 0 | -14.826 | 0 | 0 | 1.561 | 1.152
8800 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.849
8900 | 0 | 0 | -14.826 | 0 | 0 | 1.334 | 1.001
9000 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 1.152
9100 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 1.304
9200 | 0 | 0 | -14.826 | 0 | 0 | 1.41 | 0.849
9300 | 0 | 0 | -14.826 | 0 | 0 | 1.258 | 0.849
9400 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.849
9500 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.849
9600 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 1.001
9700 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 1.152
9800 | 0 | 0 | -14.843 | 0 | 0 | 1.258 | 1.152
9900 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 1.152
10000 | 0 | 0 | -14.843 | 0 | 0 | 1.334 | 0.698
10100 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.849
10200 | 0 | 0 | -14.843 | 0 | 0 | 1.41 | 0.849
10300 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 1.152
10400 | 0 | 0 | -14.843 | 0 | 0 | 1.182 | 1.152
10500 | 0.04 | 0.04 | -14.843 | 0 | 203.85 | 1.41 | 0.849
10600 | 0.081 | 0.081 | -14.843 | 0 | 199.604 | 1.258 | 1.001
10700 | 0.121 | 0.133 | -14.843 | 0 | 203.093 | 1.182 | 0.849
10800 | 0.161 | 0.189 | -14.843 | 0 | 203.169 | 1.41 | 0.849
10900 | 0.202 | 0.25 | -14.843 | 0 | 206.805 | 1.258 | 0.849
11000 | 0.242 | 0.315 | -14.843 | 0 | 202.941 | 1.334 | 0.849
11100 | 0.282 | 0.383 | -14.843 | 0 | 203.093 | 1.182 | 1.455
11200 | 0.323 | 0.456 | -14.843 | 0 | 203.396 | 0.955 | 1.759
11300 | 0.363 | 0.532 | -14.843 | 0 | 201.73 | 1.031 | 1.91
11400 | 0.403 | 0.613 | -14.843 | 0 | 185.818 | 0.955 | 2.516
11500 | 0.443 | 0.698 | -14.843 | 0 | 186.197 | 1.107 | 2.668
11600 | 0.484 | 0.786 | -14.843 | 0 | 202.563 | 1.637 | 4.031
11700 | 0.524 | 0.845 | -14.809 | 0 | 186.576 | 2.622 | 7.365
11800 | 0.564 | 0.892 | -14.759 | 207.977 | 188.848 | 5.122 | 11.153
11900 | 0.605 | 0.925 | -14.692 | 311.971 | 202.79 | 8.986 | 16.305
12000 | 0.645 | 0.964 | -14.625 | 415.965 | 212.561 | 13.91 | 22.669
12100 | 0.685 | 0.988 | -14.541 | 415.954 | 202.411 | 22.093 | 31.761
12200 | 0.726 | 1 | -14.44 | 519.96 | 199.831 | 29.366 | 40.701
12300 | 0.766 | 1.017 | -14.34 | 623.948 | 202.033 | 37.245 | 50.247
12400 | 0.806 | 1.054 | -14.256 | 623.942 | 204.002 | 43.761 | 58.581
12500 | 0.847 | 1.062 | -14.139 | 519.96 | 204.229 | 50.428 | 68.884
12600 | 0.887 | 1.106 | -14.055 | 727.936 | 206.956 | 54.216 | 76.764
12700 | 0.927 | 1.105 | -13.921 | 519.942 | 208.774 | 59.217 | 87.067
12800 | 0.968 | 1.125 | -13.803 | 831.925 | 202.184 | 64.293 | 93.128
12900 | 1.008 | 1.149 | -13.686 | 727.936 | 194.378 | 69.293 | 97.826
13000 | 1.048 | 1.127 | -13.518 | 727.936 | 201.427 | 72.854 | 104.493
13100 | 1.089 | 1.158 | -13.401 | 1039.913 | 204.381 | 76.112 | 108.432
13200 | 1.129 | 1.16 | -13.25 | 727.936 | 203.093 | 78.612 | 111.614
13300 | 1.169 | 1.183 | -13.116 | 935.913 | 201.957 | 80.506 | 115.099
13400 | 1.209 | 1.194 | -12.965 | 831.925 | 201.124 | 82.476 | 117.372
13500 | 1.25 | 1.226 | -12.83 | 935.913 | 202.941 | 83.309 | 119.948
13600 | 1.29 | 1.226 | -12.663 | 831.925 | 202.79 | 84.521 | 121.918
13700 | 1.33 | 1.232 | -12.495 | 1039.913 | 204.229 | 85.658 | 124.494
13800 | 1.371 | 1.275 | -12.361 | 1039.902 | 206.653 | 86.34 | 125.555
13900 | 1.411 | 1.254 | -12.159 | 831.925 | 203.547 | 86.34 | 127.828
14000 | 1.451 | 1.274 | -11.991 | 1254.39 | 214.531 | 87.931 | 129.04
14100 | 1.492 | 1.294 | -11.823 | 1039.913 | 203.926 | 88.461 | 129.646
14200 | 1.532 | 1.336 | -11.672 | 1039.908 | 206.047 | 88.006 | 131.161
14300 | 1.572 | 1.316 | -11.454 | 935.913 | 203.472 | 88.158 | 132.676
14400 | 1.613 | 1.367 | -11.303 | 1351.879 | 203.017 | 88.537 | 134.04
14500 | 1.653 | 1.339 | -11.069 | 935.913 | 204.153 | 88.537 | 135.101
14600 | 1.693 | 1.379 | -10.901 | 1455.873 | 211.576 | 89.294 | 136.616
14700 | 1.734 | 1.375 | -10.683 | 1039.913 | 201.351 | 89.673 | 136.768
14800 | 1.774 | 1.392 | -10.482 | 1351.873 | 202.714 | 88.991 | 138.283
14900 | 1.814 | 1.412 | -10.28 | 1247.89 | 204.305 | 88.991 | 138.737
15000 | 1.855 | 1.438 | -10.079 | 1247.89 | 202.108 | 88.84 | 139.495
15100 | 1.895 | 1.448 | -9.861 | 1247.89 | 202.866 | 88.158 | 140.556
15200 | 1.935 | 1.464 | -9.643 | 1351.879 | 205.138 | 88.234 | 141.313
15300 | 1.975 | 1.501 | -9.442 | 1351.879 | 206.729 | 88.158 | 142.98
15400 | 2.016 | 1.508 | -9.207 | 1247.89 | 208.319 | 87.779 | 143.435
15500 | 2.056 | 1.504 | -8.956 | 1455.873 | 210.895 | 87.324 | 144.798
15600 | 2.096 | 1.534 | -8.738 | 1559.855 | 202.033 | 87.627 | 144.798
15700 | 2.137 | 1.52 | -8.469 | 1351.885 | 201.957 | 87.552 | 146.162
15800 | 2.177 | 1.577 | -8.268 | 1663.85 | 202.26 | 86.946 | 146.92
15900 | 2.217 | 1.587 | -8.016 | 1247.884 | 202.79 | 85.809 | 147.526
16000 | 2.258 | 1.569 | -7.73 | 1559.867 | 202.866 | 85.43 | 148.283
16100 | 2.298 | 1.586 | -7.479 | 1774.334 | 205.896 | 86.264 | 148.587
16200 | 2.338 | 1.608 | -7.227 | 1559.867 | 202.033 | 85.885 | 148.738
16300 | 2.379 | 1.635 | -6.976 | 1559.858 | 207.865 | 85.43 | 150.102
16400 | 2.419 | 1.649 | -6.707 | 1559.861 | 201.957 | 84.673 | 151.011
16500 | 2.419 | 1.608 | -6.422 | 1663.853 | 202.108 | 83.839 | 152.223
16600 | 2.419 | 1.613 | -6.188 | 1767.838 | 203.472 | 85.279 | 151.769
16700 | 2.419 | 1.603 | -5.936 | 1455.873 | 201.881 | 85.733 | 151.314
16800 | 2.419 | 1.543 | -5.634 | 1559.864 | 204.759 | 85.582 | 151.314
16900 | 2.419 | 1.5 | -5.349 | 1871.832 | 186.879 | 86.643 | 150.859
17000 | 2.419 | 1.526 | -5.131 | 1767.838 | 201.73 | 89.673 | 148.283
17100 | 2.419 | 1.514 | -4.88 | 1351.882 | 186.121 | 88.688 | 147.374
17200 | 2.419 | 1.488 | -4.611 | 1559.861 | 202.487 | 88.082 | 147.526
17300 | 2.419 | 1.545 | -4.427 | 1663.853 | 208.622 | 88.612 | 146.768
17400 | 2.419 | 1.535 | -4.175 | 1143.899 | 202.26 | 87.855 | 146.768
17500 | 2.419 | 1.545 | -3.94 | 1559.858 | 186.727 | 87.097 | 147.526
17600 | 2.419 | 1.516 | -3.672 | 1455.871 | 205.214 | 87.173 | 147.677
17700 | 2.419 | 1.522 | -3.436 | 1663.854 | 188.394 | 88.006 | 147.374
17800 | 2.419 | 1.513 | -3.185 | 1462.371 | 187.636 | 88.234 | 147.071
17900 | 2.419 | 1.52 | -2.95 | 1559.858 | 187.56 | 88.082 | 147.071
18000 | 2.419 | 1.496 | -2.682 | 1455.871 | 189.681 | 88.082 | 146.314
18100 | 2.298 | 1.396 | -2.464 | 1663.848 | 187.56 | 88.158 | 146.617
18200 | 2.177 | 1.287 | -2.246 | 1351.882 | 188.091 | 91.567 | 145.101
18300 | 2.056 | 1.149 | -2.011 | 1351.879 | 187.257 | 93.688 | 141.616
18400 | 1.935 | 1.083 | -1.86 | 1455.871 | 188.394 | 97.098 | 137.525
18500 | 1.814 | 0.99 | -1.692 | 935.916 | 188.166 | 96.871 | 132.979
18600 | 1.693 | 0.914 | -1.558 | 1039.908 | 188.242 | 95.886 | 128.585
18700 | 1.572 | 0.862 | -1.457 | 831.924 | 188.091 | 94.446 | 124.494
18800 | 1.451 | 0.797 | -1.357 | 623.944 | 188.015 | 91.264 | 119.797
18900 | 1.33 | 0.738 | -1.273 | 623.946 | 187.636 | 89.143 | 114.948
19000 | 1.209 | 0.684 | -1.206 | 519.955 | 187.257 | 85.658 | 110.402
19100 | 1.089 | 0.616 | -1.139 | 415.962 | 188.166 | 82.097 | 105.25
19200 | 0.968 | 0.57 | -1.105 | 415.962 | 188.242 | 78.006 | 100.098
19300 | 0.847 | 0.496 | -1.055 | 207.981 | 188.091 | 74.445 | 93.734
19400 | 0.726 | 0.443 | -1.038 | 311.973 | 187.788 | 70.051 | 88.734
19500 | 0.605 | 0.361 | -1.005 | 103.989 | 188.242 | 66.414 | 84.34
19600 | 0.484 | 0.267 | -0.971 | 207.984 | 187.863 | 62.853 | 79.643
19700 | 0.363 | 0.194 | -0.971 | 207.981 | 188.394 | 59.974 | 76.309
19800 | 0.242 | 0.093 | -0.954 | 0 | 188.469 | 57.171 | 72.521
19900 | 0.121 | 0 | -0.938 | 103.989 | 187.863 | 54.595 | 68.43
20000 | 0.121 | 0.003 | -0.602 | 0 | 199.831 | 53.383 | 68.733