## Data
Log File Data
************************
2007-11-10 14:39 | MERIT Configuration Data
Test Description: 16014 12TP 4Bunches 10T
Mode = Triggered
LogFile = C:\MERIT Data\071110 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.546
100 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.698
200 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.546
300 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.243
400 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.698
500 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 1.001
600 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 1.001
700 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.243
800 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.395
900 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.395
1000 | 0 | 0 | -15.027 | 0 | 0 | 1.561 | 1.152
1100 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.698
1200 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.698
1300 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.849
1400 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.546
1500 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.395
1600 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.395
1700 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.698
1800 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.849
1900 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 1.001
2000 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.698
2100 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.395
2200 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.849
2300 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.698
2400 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.849
2500 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 1.001
2600 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.849
2700 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.546
2800 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.546
2900 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.698
3000 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.546
3100 | 0 | 0 | -15.044 | 0 | 0 | 1.485 | 0.698
3200 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 1.001
3300 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.546
3400 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.698
3500 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 1.304
3600 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.698
3700 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.698
3800 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 0.698
3900 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.395
4000 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.698
4100 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
4200 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 1.304
4300 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.546
4400 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.243
4500 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
4600 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
4700 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.698
4800 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 1.001
4900 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
5000 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
5100 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.395
5200 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.849
5300 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.698
5400 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.395
5500 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.849
5600 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 1.455
5700 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.395
5800 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.849
5900 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.546
6000 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.395
6100 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.546
6200 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.698
6300 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.395
6400 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.546
6500 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.395
6600 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.698
6700 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 0.395
6800 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.546
6900 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 1.152
7000 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | 1.001
7100 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.546
7200 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.243
7300 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 0.243
7400 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.395
7500 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 0.698
7600 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 1.001
7700 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.395
7800 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.849
7900 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.395
8000 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.546
8100 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.698
8200 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.395
8300 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.243
8400 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | 0.243
8500 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.698
8600 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.849
8700 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.849
8800 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.395
8900 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.698
9000 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | 0.849
9100 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.395
9200 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 0.849
9300 | 0 | 0 | -15.111 | 0 | 0 | 1.41 | 0.849
9400 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.546
9500 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.546
9600 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 1.001
9700 | 0 | 0 | -15.111 | 0 | 0 | 1.258 | 0.243
9800 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 0.395
9900 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | 0.395
10000 | 0 | 0 | -15.111 | 0 | 0 | 1.41 | 0.849
10100 | 0 | 0 | -15.111 | 0 | 0 | 1.182 | 0.395
10200 | 0 | 0 | -15.111 | 0 | 0 | 1.107 | 0.395
10300 | 0 | 0 | -15.111 | 0 | 0 | 1.334 | 0.546
10400 | 0 | 0 | -15.111 | 0 | 0 | 1.258 | 0.395
10500 | 0.04 | 0.04 | -15.111 | 0 | 203.093 | 1.41 | 1.001
10600 | 0.081 | 0.064 | -15.094 | 0 | 203.547 | 1.561 | 0.698
10700 | 0.121 | 0.133 | -15.111 | 103.988 | 203.244 | 1.182 | 0.546
10800 | 0.161 | 0.189 | -15.111 | -103.988 | 203.017 | 1.41 | 0.698
10900 | 0.202 | 0.25 | -15.111 | 0 | 203.85 | 1.334 | 1.304
11000 | 0.242 | 0.315 | -15.111 | 0 | 203.699 | 1.107 | 0.849
11100 | 0.282 | 0.383 | -15.111 | 0 | 203.699 | 1.107 | 1.152
11200 | 0.323 | 0.456 | -15.111 | 0 | 203.775 | 0.879 | 0.849
11300 | 0.363 | 0.532 | -15.111 | 0 | 204.078 | 0.728 | 1.455
11400 | 0.403 | 0.613 | -15.111 | 0 | 203.472 | 0.728 | 2.213
11500 | 0.443 | 0.698 | -15.111 | 0 | 203.775 | 0.879 | 2.819
11600 | 0.484 | 0.769 | -15.094 | 0 | 203.32 | 1.258 | 4.334
11700 | 0.524 | 0.845 | -15.078 | 103.988 | 203.017 | 2.546 | 6.607
11800 | 0.564 | 0.908 | -15.044 | 104 | 203.623 | 4.44 | 9.638
11900 | 0.605 | 0.959 | -14.994 | 207.983 | 203.623 | 8.152 | 15.093
12000 | 0.645 | 0.997 | -14.927 | 311.965 | 203.699 | 13.38 | 21.608
12100 | 0.685 | 1.022 | -14.843 | 415.965 | 203.32 | 20.502 | 30.245
12200 | 0.726 | 1.017 | -14.725 | 519.96 | 203.775 | 28.457 | 40.701
12300 | 0.766 | 1.033 | -14.625 | 727.936 | 203.32 | 37.624 | 51.307
12400 | 0.806 | 1.037 | -14.507 | 623.93 | 203.396 | 45.579 | 60.096
12500 | 0.847 | 1.062 | -14.407 | 727.936 | 203.472 | 50.731 | 67.672
12600 | 0.887 | 1.073 | -14.289 | 623.948 | 203.244 | 56.944 | 75.551
12700 | 0.927 | 1.089 | -14.172 | 727.936 | 203.32 | 62.702 | 83.128
12800 | 0.968 | 1.125 | -14.071 | 727.936 | 203.244 | 66.187 | 89.037
12900 | 1.008 | 1.149 | -13.954 | 623.942 | 203.093 | 67.626 | 96.765
13000 | 1.048 | 1.161 | -13.82 | 727.936 | 203.775 | 70.808 | 103.887
13100 | 1.089 | 1.175 | -13.686 | 831.925 | 203.244 | 74.596 | 107.978
13200 | 1.129 | 1.194 | -13.552 | 831.925 | 203.093 | 77.324 | 111.614
13300 | 1.169 | 1.183 | -13.384 | 831.925 | 204.456 | 80.127 | 114.948
13400 | 1.209 | 1.194 | -13.233 | 1039.913 | 203.244 | 81.945 | 118.433
13500 | 1.25 | 1.209 | -13.082 | 935.913 | 203.699 | 83.764 | 119.948
13600 | 1.29 | 1.243 | -12.948 | 935.913 | 203.093 | 84.521 | 121.918
13700 | 1.33 | 1.249 | -12.78 | 831.925 | 203.472 | 85.582 | 124.342
13800 | 1.371 | 1.258 | -12.612 | 1039.913 | 203.396 | 85.961 | 126.009
13900 | 1.411 | 1.272 | -12.445 | 1039.902 | 203.775 | 87.097 | 127.828
14000 | 1.451 | 1.291 | -12.277 | 1039.913 | 202.866 | 87.097 | 128.888
14100 | 1.492 | 1.311 | -12.108 | 1039.908 | 202.941 | 87.552 | 130.252
14200 | 1.532 | 1.32 | -11.924 | 1046.413 | 203.017 | 88.082 | 131.767
14300 | 1.572 | 1.333 | -11.739 | 1143.89 | 203.472 | 88.385 | 133.131
14400 | 1.613 | 1.367 | -11.572 | 1143.902 | 203.396 | 88.385 | 133.737
14500 | 1.653 | 1.356 | -11.354 | 1039.902 | 203.547 | 88.006 | 135.252
14600 | 1.693 | 1.379 | -11.169 | 1351.885 | 203.775 | 88.688 | 136.465
14700 | 1.734 | 1.392 | -10.968 | 1143.89 | 203.547 | 88.84 | 137.071
14800 | 1.774 | 1.408 | -10.767 | 1247.896 | 203.396 | 88.84 | 138.131
14900 | 1.814 | 1.429 | -10.566 | 1247.89 | 203.472 | 88.764 | 138.889
15000 | 1.855 | 1.422 | -10.331 | 1247.878 | 203.32 | 88.537 | 139.343
15100 | 1.895 | 1.465 | -10.146 | 1455.873 | 203.32 | 88.84 | 140.859
15200 | 1.935 | 1.447 | -9.895 | 1143.902 | 203.699 | 88.537 | 141.162
15300 | 1.975 | 1.484 | -9.693 | 1559.861 | 203.699 | 88.537 | 141.919
15400 | 2.016 | 1.474 | -9.442 | 1247.89 | 203.244 | 87.552 | 143.283
15500 | 2.056 | 1.521 | -9.241 | 1559.861 | 203.85 | 88.158 | 143.586
15600 | 2.096 | 1.551 | -9.023 | 1247.884 | 202.866 | 87.097 | 144.495
15700 | 2.137 | 1.553 | -8.771 | 1351.885 | 203.472 | 86.188 | 146.465
15800 | 2.177 | 1.577 | -8.536 | 1559.861 | 203.699 | 86.036 | 147.223
15900 | 2.217 | 1.587 | -8.285 | 1455.867 | 203.623 | 85.961 | 147.829
16000 | 2.258 | 1.57 | -8 | 1559.861 | 203.396 | 85.506 | 148.587
16100 | 2.298 | 1.636 | -7.797 | 1767.844 | 203.623 | 86.112 | 149.041
16200 | 2.338 | 1.608 | -7.496 | 1254.387 | 203.32 | 84.37 | 149.95
16300 | 2.379 | 1.668 | -7.278 | 1871.832 | 203.32 | 84.445 | 150.405
16400 | 2.419 | 1.649 | -6.976 | 1351.882 | 202.941 | 82.4 | 152.829
16500 | 2.419 | 1.641 | -6.724 | 1871.832 | 203.85 | 83.158 | 153.132
16600 | 2.419 | 1.579 | -6.422 | 1559.858 | 203.396 | 84.218 | 152.678
16700 | 2.419 | 1.553 | -6.154 | 1871.832 | 203.926 | 86.34 | 151.617
16800 | 2.419 | 1.543 | -5.902 | 1663.856 | 203.093 | 87.779 | 150.102
16900 | 2.419 | 1.517 | -5.634 | 1559.858 | 204.153 | 88.082 | 148.435
17000 | 2.419 | 1.56 | -5.433 | 1663.856 | 203.396 | 88.158 | 148.132
17100 | 2.419 | 1.531 | -5.165 | 1247.887 | 203.244 | 87.097 | 147.526
17200 | 2.419 | 1.521 | -4.913 | 1663.856 | 203.85 | 87.703 | 147.677
17300 | 2.419 | 1.528 | -4.678 | 1559.858 | 203.623 | 88.158 | 147.526
17400 | 2.419 | 1.502 | -4.41 | 1455.87 | 202.941 | 87.476 | 147.223
17500 | 2.419 | 1.528 | -4.192 | 1663.85 | 203.85 | 88.082 | 146.92
17600 | 2.419 | 1.533 | -3.957 | 1351.882 | 202.714 | 87.4 | 146.92
17700 | 2.419 | 1.54 | -3.722 | 1455.87 | 203.093 | 86.567 | 147.071
17800 | 2.419 | 1.529 | -3.47 | 1455.871 | 202.563 | 86.643 | 147.374
17900 | 2.419 | 1.52 | -3.218 | 1566.359 | 203.093 | 87.097 | 147.677
18000 | 2.419 | 1.546 | -3 | 1559.86 | 203.017 | 87.173 | 147.374
18100 | 2.298 | 1.396 | -2.732 | 1351.882 | 203.32 | 86.491 | 147.071
18200 | 2.177 | 1.27 | -2.497 | 1663.848 | 202.639 | 91.567 | 145.556
18300 | 2.056 | 1.166 | -2.296 | 1455.873 | 202.941 | 96.492 | 139.798
18400 | 1.935 | 1.099 | -2.145 | 1247.887 | 203.699 | 96.189 | 137.525
18500 | 1.814 | 1.006 | -1.977 | 935.916 | 203.169 | 96.264 | 133.586
18600 | 1.693 | 0.931 | -1.843 | 1039.908 | 203.169 | 95.81 | 128.434
18700 | 1.572 | 0.879 | -1.743 | 831.925 | 203.169 | 93.537 | 125.403
18800 | 1.451 | 0.814 | -1.642 | 623.946 | 203.396 | 91.87 | 120.403
18900 | 1.33 | 0.755 | -1.558 | 623.944 | 203.32 | 88.764 | 116.312
19000 | 1.209 | 0.684 | -1.474 | 519.954 | 203.472 | 85.658 | 111.614
19100 | 1.089 | 0.633 | -1.424 | 519.955 | 203.169 | 82.703 | 106.614
19200 | 0.968 | 0.57 | -1.374 | 311.973 | 203.244 | 78.233 | 100.401
19300 | 0.847 | 0.496 | -1.323 | 311.97 | 203.32 | 74.521 | 95.25
19400 | 0.726 | 0.426 | -1.29 | 311.973 | 202.941 | 70.505 | 89.643
19500 | 0.605 | 0.345 | -1.256 | 207.981 | 203.169 | 66.641 | 84.794
19600 | 0.484 | 0.267 | -1.239 | 207.981 | 203.396 | 63.156 | 80.4
19700 | 0.363 | 0.177 | -1.223 | 103.992 | 203.396 | 60.429 | 76.309
19800 | 0.242 | 0.076 | -1.206 | 103.989 | 203.169 | 57.398 | 72.824
19900 | 0.121 | 0 | -1.206 | 103.992 | 203.244 | 54.519 | 68.884
20000 | 0.121 | 0.003 | -0.921 | 103.989 | 202.866 | 53.686 | 68.733