## Data
Log File Data
************************
2007-11-11 18:09 | MERIT Configuration Data
Test Description: 17019 4TP 8Bunches 7T
Mode = Triggered
LogFile = C:\MERIT Data\071111 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.698
100 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 1.152
200 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.243
300 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.546
400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.546
500 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.546
600 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | 0.546
700 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.395
800 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.698
900 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.395
1000 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
1100 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.243
1200 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
1300 | 0 | 0 | -14.927 | 0 | 0 | 1.107 | 0.698
1400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 1.001
1500 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
1600 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.243
1700 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.243
1800 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
1900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.849
2000 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.546
2100 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.546
2200 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.698
2300 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
2400 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.546
2500 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.546
2600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
2700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.395
2800 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.395
2900 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.698
3000 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
3100 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.546
3200 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.546
3300 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.546
3400 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 1.001
3500 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.546
3600 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.395
3700 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.546
3800 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.395
3900 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
4000 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.243
4100 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.395
4200 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.546
4300 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
4400 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.698
4500 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.546
4600 | 0 | 0 | -14.943 | 0 | 0 | 1.182 | 0.698
4700 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.698
4800 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.243
4900 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.546
5000 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.546
5100 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 1.001
5200 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.395
5300 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.395
5400 | 0 | 0 | -14.96 | 0 | 0 | 1.258 | 0.243
5500 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.849
5600 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 0.395
5700 | 0 | 0 | -14.96 | 0 | 0 | 1.334 | 1.152
5800 | 0 | 0 | -14.96 | 0 | 0 | 1.182 | 0.546
5900 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.243
6000 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.395
6100 | 0 | 0 | -14.96 | 0 | 0 | 1.41 | 0.395
6200 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 0.698
6300 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.849
6400 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.546
6500 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.243
6600 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.546
6700 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.243
6800 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.698
6900 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.698
7000 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.849
7100 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.698
7200 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.698
7300 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
7400 | 0 | 0 | -14.977 | 0 | 0 | 1.485 | 0.546
7500 | 0 | 0 | -14.977 | 0 | 0 | 1.334 | 1.001
7600 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 1.001
7700 | 0 | 0 | -14.977 | 0 | 0 | 1.258 | 0.849
7800 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.698
7900 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.243
8000 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
8100 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.243
8200 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.546
8300 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.243
8400 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.395
8500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
8600 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
8700 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.698
8800 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.243
8900 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.243
9000 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.243
9100 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | -0.06
9200 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
9300 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.546
9400 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.698
9500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
9600 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.849
9700 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.698
9800 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.849
9900 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.395
10000 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.698
10100 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.395
10200 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.243
10300 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.849
10400 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.849
10500 | 0.04 | 0.04 | -15.011 | 0 | 246.353 | 1.182 | 0.849
10600 | 0.081 | 0.081 | -15.011 | 0 | 246.732 | 1.334 | 0.546
10700 | 0.121 | 0.133 | -15.011 | 0 | 251.882 | 1.182 | 1.001
10800 | 0.161 | 0.19 | -15.011 | 0 | 248.095 | 1.182 | 0.395
10900 | 0.202 | 0.25 | -15.011 | 0 | 247.186 | 1.182 | 1.152
11000 | 0.242 | 0.314 | -15.011 | 0 | 244.459 | 1.182 | 0.849
11100 | 0.282 | 0.383 | -15.011 | 0 | 242.414 | 1.107 | 0.698
11200 | 0.323 | 0.456 | -15.011 | 0 | 252.716 | 0.804 | 1.304
11300 | 0.363 | 0.532 | -15.011 | 0 | 253.17 | 0.728 | 1.304
11400 | 0.403 | 0.613 | -15.011 | 0 | 250.216 | 0.728 | 1.759
11500 | 0.443 | 0.697 | -15.011 | 0 | 248.095 | 0.955 | 2.516
11600 | 0.484 | 0.769 | -14.994 | 0 | 254.685 | 1.561 | 4.334
11700 | 0.524 | 0.862 | -14.994 | 103.988 | 250.14 | 2.319 | 6.153
11800 | 0.564 | 0.909 | -14.943 | 0 | 242.869 | 3.682 | 9.941
11900 | 0.605 | 0.942 | -14.876 | 311.977 | 247.186 | 7.395 | 14.79
12000 | 0.645 | 0.98 | -14.809 | 415.959 | 248.55 | 12.547 | 20.699
12100 | 0.685 | 1.005 | -14.725 | 415.965 | 246.732 | 19.517 | 28.579
12200 | 0.726 | 1 | -14.608 | 519.96 | 252.716 | 28.002 | 39.034
12300 | 0.766 | 1.051 | -14.541 | 727.936 | 244.459 | 35.124 | 48.125
12400 | 0.806 | 1.037 | -14.407 | 415.954 | 247.262 | 41.337 | 57.065
12500 | 0.847 | 1.078 | -14.323 | 831.925 | 244.081 | 49.292 | 67.066
12600 | 0.887 | 1.09 | -14.206 | 519.954 | 247.413 | 55.656 | 74.491
12700 | 0.927 | 1.105 | -14.088 | 727.936 | 239.46 | 60.656 | 83.279
12800 | 0.968 | 1.109 | -13.954 | 727.936 | 246.05 | 64.217 | 90.401
12900 | 1.008 | 1.132 | -13.837 | 831.925 | 249.459 | 67.626 | 97.977
13000 | 1.048 | 1.16 | -13.719 | 727.936 | 247.262 | 71.263 | 102.674
13100 | 1.089 | 1.175 | -13.585 | 727.936 | 244.459 | 74.521 | 107.069
13200 | 1.129 | 1.194 | -13.451 | 831.925 | 248.095 | 77.324 | 111.917
13300 | 1.169 | 1.201 | -13.3 | 831.925 | 246.429 | 79.9 | 115.251
13400 | 1.209 | 1.194 | -13.132 | 935.919 | 250.292 | 81.491 | 118.281
13500 | 1.25 | 1.225 | -12.998 | 1039.908 | 246.277 | 83.612 | 119.797
13600 | 1.29 | 1.226 | -12.83 | 831.925 | 236.653 | 84.445 | 122.373
13700 | 1.33 | 1.249 | -12.68 | 1039.902 | 248.55 | 85.43 | 124.646
13800 | 1.371 | 1.277 | -12.529 | 935.925 | 244.914 | 86.491 | 125.403
13900 | 1.411 | 1.306 | -12.378 | 935.913 | 252.413 | 86.718 | 127.676
14000 | 1.451 | 1.307 | -12.193 | 935.913 | 251.049 | 87.173 | 129.494
14100 | 1.492 | 1.294 | -11.991 | 1143.902 | 250.67 | 87.855 | 131.313
14200 | 1.532 | 1.303 | -11.806 | 1254.39 | 250.216 | 88.84 | 131.767
14300 | 1.572 | 1.334 | -11.639 | 1143.896 | 242.414 | 89.37 | 132.07
14400 | 1.613 | 1.35 | -11.454 | 1039.902 | 251.958 | 88.84 | 133.586
14500 | 1.653 | 1.354 | -11.253 | 1143.902 | 246.58 | 88.764 | 134.949
14600 | 1.693 | 1.379 | -11.069 | 1247.896 | 249.837 | 88.84 | 135.707
14700 | 1.734 | 1.392 | -10.867 | 1143.89 | 247.868 | 88.537 | 137.071
14800 | 1.774 | 1.41 | -10.666 | 1247.89 | 251.579 | 88.84 | 137.98
14900 | 1.814 | 1.446 | -10.482 | 1247.896 | 247.565 | 88.688 | 138.737
15000 | 1.855 | 1.453 | -10.264 | 1143.89 | 248.777 | 88.461 | 139.798
15100 | 1.895 | 1.465 | -10.046 | 1351.879 | 250.292 | 88.082 | 141.465
15200 | 1.935 | 1.464 | -9.811 | 1351.885 | 243.853 | 88.158 | 142.677
15300 | 1.975 | 1.486 | -9.593 | 1455.867 | 246.429 | 88.158 | 143.132
15400 | 2.016 | 1.508 | -9.375 | 1351.879 | 246.656 | 87.703 | 143.738
15500 | 2.056 | 1.519 | -9.14 | 1351.879 | 247.11 | 87.249 | 144.647
15600 | 2.096 | 1.517 | -8.889 | 1455.873 | 237.486 | 86.946 | 145.556
15700 | 2.137 | 1.537 | -8.654 | 1559.861 | 248.171 | 87.173 | 145.708
15800 | 2.177 | 1.579 | -8.436 | 1455.867 | 246.732 | 86.794 | 146.465
15900 | 2.217 | 1.57 | -8.167 | 1351.885 | 249.61 | 85.506 | 148.132
16000 | 2.258 | 1.585 | -7.916 | 1663.85 | 249.383 | 85.506 | 148.435
16100 | 2.298 | 1.586 | -7.647 | 1559.858 | 245.823 | 85.582 | 149.041
16200 | 2.338 | 1.608 | -7.395 | 1670.355 | 251.276 | 85.506 | 149.95
16300 | 2.379 | 1.654 | -7.16 | 1559.858 | 248.247 | 85.203 | 150.102
16400 | 2.419 | 1.649 | -6.875 | 1455.87 | 245.217 | 82.779 | 151.617
16500 | 2.419 | 1.639 | -6.624 | 1767.844 | 251.428 | 83.461 | 152.526
16600 | 2.419 | 1.596 | -6.338 | 1559.861 | 249.534 | 83.764 | 153.132
16700 | 2.419 | 1.569 | -6.07 | 1767.841 | 244.687 | 85.658 | 151.769
16800 | 2.419 | 1.579 | -5.835 | 1663.85 | 251.579 | 86.34 | 150.708
16900 | 2.419 | 1.584 | -5.601 | 1455.87 | 242.944 | 86.794 | 150.253
17000 | 2.419 | 1.574 | -5.349 | 1455.873 | 245.671 | 86.188 | 149.95
17100 | 2.419 | 1.531 | -5.064 | 1559.858 | 244.384 | 86.188 | 149.496
17200 | 2.419 | 1.504 | -4.796 | 1767.844 | 245.974 | 88.688 | 148.435
17300 | 2.419 | 1.514 | -4.561 | 1663.856 | 244.99 | 88.915 | 147.829
17400 | 2.419 | 1.535 | -4.343 | 1455.87 | 249.307 | 88.612 | 147.071
17500 | 2.419 | 1.526 | -4.091 | 1351.876 | 252.185 | 88.006 | 146.768
17600 | 2.419 | 1.55 | -3.873 | 1559.864 | 253.7 | 87.476 | 147.071
17700 | 2.419 | 1.523 | -3.605 | 1351.877 | 244.535 | 86.87 | 146.92
17800 | 2.419 | 1.548 | -3.386 | 1663.854 | 245.141 | 87.097 | 147.829
17900 | 2.419 | 1.553 | -3.151 | 1358.375 | 244.156 | 86.87 | 146.92
18000 | 2.419 | 1.577 | -2.933 | 1455.87 | 250.443 | 86.188 | 148.435
18100 | 2.419 | 1.534 | -2.648 | 1351.882 | 244.156 | 86.188 | 148.283
18200 | 2.298 | 1.386 | -2.38 | 1767.844 | 249.383 | 86.946 | 148.738
18300 | 2.177 | 1.28 | -2.162 | 1663.85 | 246.505 | 92.855 | 145.253
18400 | 2.056 | 1.173 | -1.961 | 1351.882 | 248.398 | 95.81 | 141.616
18500 | 1.935 | 1.073 | -1.776 | 1247.889 | 251.049 | 96.037 | 137.828
18600 | 1.814 | 1.012 | -1.642 | 1143.897 | 253.776 | 96.946 | 133.434
18700 | 1.693 | 0.921 | -1.491 | 831.925 | 244.081 | 95.583 | 128.737
18800 | 1.572 | 0.854 | -1.374 | 935.916 | 245.974 | 93.613 | 124.191
18900 | 1.451 | 0.788 | -1.273 | 727.935 | 252.943 | 92.552 | 118.888
19000 | 1.33 | 0.745 | -1.206 | 623.947 | 239.536 | 89.294 | 115.099
19100 | 1.209 | 0.69 | -1.139 | 415.962 | 249.61 | 85.733 | 110.251
19200 | 1.089 | 0.623 | -1.072 | 415.962 | 241.96 | 82.324 | 104.796
19300 | 0.968 | 0.578 | -1.038 | 415.962 | 247.641 | 78.384 | 99.947
19400 | 0.847 | 0.503 | -0.988 | 207.981 | 249.534 | 74.596 | 94.795
19500 | 0.726 | 0.45 | -0.971 | 311.973 | 245.141 | 69.444 | 88.886
19600 | 0.605 | 0.368 | -0.938 | 103.992 | 243.702 | 65.959 | 83.734
19700 | 0.484 | 0.291 | -0.921 | 207.981 | 252.943 | 62.474 | 78.43
19800 | 0.363 | 0.202 | -0.904 | 103.989 | 249.61 | 59.292 | 75.097
19900 | 0.242 | 0.1 | -0.887 | 103.992 | 246.883 | 56.868 | 71.763
20000 | 0.121 | 0 | -0.87 | 103.992 | 244.156 | 53.913 | 68.581