## Data
Log File Data
************************
2007-11-11 18:22 | MERIT Configuration Data
Test Description: 17020 6TP 8Bunches 7T
Mode = Triggered
LogFile = C:\MERIT Data\071111 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.977 | 0 | 0 | 1.182 | 0.546
100 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.243
200 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.395
300 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.243
400 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.849
500 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.395
600 | 0 | 0 | -14.977 | 0 | 0 | 1.41 | 0.546
700 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 1.152
800 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.849
900 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.849
1000 | 0 | 0 | -14.994 | 0 | 0 | 1.182 | 0.698
1100 | 0 | 0 | -14.994 | 0 | 0 | 1.485 | 0.546
1200 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
1300 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.849
1400 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
1500 | 0 | 0 | -14.994 | 0 | 0 | 1.107 | 0.698
1600 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
1700 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.698
1800 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.546
1900 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.849
2000 | 0 | 0 | -14.994 | 0 | 0 | 1.334 | 0.546
2100 | 0 | 0 | -15.011 | 0 | 0 | 1.41 | 0.546
2200 | 0 | 0 | -14.994 | 0 | 0 | 1.258 | 0.698
2300 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.698
2400 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 1.001
2500 | 0 | 0 | -14.994 | 0 | 0 | 1.41 | 0.395
2600 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.243
2700 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.849
2800 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.243
2900 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 1.001
3000 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.546
3100 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.698
3200 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 1.001
3300 | 0 | 0 | -15.011 | 0 | 0 | 1.258 | 0.849
3400 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 0.698
3500 | 0 | 0 | -15.011 | 0 | 0 | 1.485 | 0.849
3600 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.395
3700 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.546
3800 | 0 | 0 | -15.011 | 0 | 0 | 1.182 | 0.546
3900 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 1.001
4000 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.546
4100 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.849
4200 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 1.001
4300 | 0 | 0 | -15.011 | 0 | 0 | 1.334 | 0.546
4400 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.395
4500 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.546
4600 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.546
4700 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.546
4800 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
4900 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.243
5000 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.698
5100 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 1.001
5200 | 0 | 0 | -15.027 | 0 | 0 | 1.107 | 0.698
5300 | 0 | 0 | -15.027 | 0 | 0 | 1.41 | 1.001
5400 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.243
5500 | 0 | 0 | -15.027 | 0 | 0 | 1.182 | 0.395
5600 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.243
5700 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.546
5800 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.395
5900 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.698
6000 | 0 | 0 | -15.027 | 0 | 0 | 1.334 | 0.849
6100 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.395
6200 | 0 | 0 | -15.027 | 0 | 0 | 1.258 | 0.849
6300 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.698
6400 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.395
6500 | 0 | 0 | -15.027 | 0 | 0 | 1.485 | 0.698
6600 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.849
6700 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.698
6800 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.698
6900 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.243
7000 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.395
7100 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.546
7200 | 0 | 0 | -15.044 | 0 | 0 | 1.41 | 0.698
7300 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.698
7400 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.395
7500 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 1.304
7600 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.849
7700 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.546
7800 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.849
7900 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 0.243
8000 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.395
8100 | 0 | 0 | -15.044 | 0 | 0 | 1.334 | 0.546
8200 | 0 | 0 | -15.044 | 0 | 0 | 1.182 | 0.698
8300 | 0 | 0 | -15.044 | 0 | 0 | 1.258 | 1.001
8400 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.849
8500 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.698
8600 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.395
8700 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.395
8800 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.698
8900 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.698
9000 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.395
9100 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.546
9200 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.698
9300 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.546
9400 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.243
9500 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.698
9600 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.546
9700 | 0 | 0 | -15.078 | 0 | 0 | 1.561 | 0.698
9800 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.395
9900 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.546
10000 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 1.152
10100 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.243
10200 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.546
10300 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.546
10400 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.698
10500 | 0.04 | 0.04 | -15.078 | 0 | 242.869 | 1.334 | 0.395
10600 | 0.081 | 0.081 | -15.078 | 0 | 244.459 | 1.41 | 0.395
10700 | 0.121 | 0.133 | -15.078 | 0 | 240.218 | 1.334 | 0.395
10800 | 0.161 | 0.19 | -15.078 | 0 | 252.034 | 1.334 | 0.546
10900 | 0.202 | 0.233 | -15.061 | 0 | 250.519 | 0.955 | 1.304
11000 | 0.242 | 0.314 | -15.078 | 103.988 | 246.126 | 0.879 | 1.152
11100 | 0.282 | 0.383 | -15.078 | -103.988 | 245.747 | 1.031 | 0.849
11200 | 0.323 | 0.439 | -15.061 | 0 | 247.716 | 1.031 | 0.849
11300 | 0.363 | 0.532 | -15.078 | 103.988 | 246.353 | 0.879 | 1.304
11400 | 0.403 | 0.613 | -15.078 | -103.988 | 248.019 | 0.804 | 1.91
11500 | 0.443 | 0.681 | -15.061 | 0 | 251.958 | 0.5 | 2.668
11600 | 0.484 | 0.769 | -15.061 | 103.988 | 241.505 | 1.334 | 3.425
11700 | 0.524 | 0.845 | -15.044 | 0 | 256.048 | 2.243 | 6.153
11800 | 0.564 | 0.926 | -15.027 | 103.994 | 247.338 | 4.364 | 9.335
11900 | 0.605 | 0.959 | -14.96 | 103.988 | 247.641 | 7.774 | 15.244
12000 | 0.645 | 0.997 | -14.893 | 415.965 | 246.58 | 13.38 | 21.911
12100 | 0.685 | 0.988 | -14.776 | 415.959 | 241.808 | 22.017 | 31.609
12200 | 0.726 | 1.017 | -14.692 | 727.931 | 246.202 | 29.214 | 41.155
12300 | 0.766 | 1.034 | -14.591 | 519.96 | 239.077 | 36.867 | 50.095
12400 | 0.806 | 1.054 | -14.491 | 623.948 | 249.156 | 44.443 | 60.096
12500 | 0.847 | 1.061 | -14.373 | 623.942 | 249.534 | 50.958 | 68.581
12600 | 0.887 | 1.073 | -14.256 | 727.936 | 253.397 | 57.701 | 76.612
12700 | 0.927 | 1.089 | -14.139 | 727.936 | 246.732 | 62.55 | 82.825
12800 | 0.968 | 1.109 | -14.021 | 727.936 | 249.762 | 65.581 | 89.795
12900 | 1.008 | 1.132 | -13.904 | 727.925 | 247.035 | 67.702 | 97.371
13000 | 1.048 | 1.16 | -13.786 | 727.931 | 250.519 | 71.339 | 102.068
13100 | 1.089 | 1.191 | -13.669 | 727.936 | 251.579 | 74.217 | 106.766
13200 | 1.129 | 1.16 | -13.484 | 727.936 | 247.413 | 77.475 | 112.069
13300 | 1.169 | 1.184 | -13.35 | 1143.902 | 246.732 | 80.657 | 114.796
13400 | 1.209 | 1.194 | -13.199 | 831.925 | 247.035 | 82.4 | 116.463
13500 | 1.25 | 1.225 | -13.065 | 935.913 | 251.807 | 83.612 | 119.797
13600 | 1.29 | 1.226 | -12.898 | 831.937 | 244.762 | 84.673 | 121.615
13700 | 1.33 | 1.232 | -12.73 | 1039.902 | 249.307 | 85.506 | 124.342
13800 | 1.371 | 1.26 | -12.579 | 1039.902 | 251.579 | 86.491 | 125.252
13900 | 1.411 | 1.289 | -12.428 | 935.925 | 250.292 | 87.249 | 127.07
14000 | 1.451 | 1.273 | -12.227 | 935.913 | 248.928 | 87.552 | 129.04
14100 | 1.492 | 1.327 | -12.092 | 1247.896 | 252.564 | 88.006 | 129.949
14200 | 1.532 | 1.303 | -11.874 | 838.424 | 239.536 | 88.234 | 131.616
14300 | 1.572 | 1.334 | -11.706 | 1351.879 | 246.05 | 88.385 | 133.434
14400 | 1.613 | 1.383 | -11.555 | 1039.902 | 249.913 | 88.991 | 133.586
14500 | 1.653 | 1.371 | -11.337 | 935.913 | 249.156 | 88.537 | 134.798
14600 | 1.693 | 1.379 | -11.136 | 1351.885 | 253.7 | 88.537 | 136.465
14700 | 1.734 | 1.409 | -10.951 | 1247.89 | 251.655 | 89.143 | 138.131
14800 | 1.774 | 1.393 | -10.716 | 1143.896 | 249.61 | 88.991 | 138.434
14900 | 1.814 | 1.429 | -10.532 | 1455.867 | 249.459 | 89.294 | 139.798
15000 | 1.855 | 1.436 | -10.314 | 1143.902 | 253.473 | 88.915 | 139.495
15100 | 1.895 | 1.448 | -10.096 | 1351.885 | 248.474 | 88.688 | 141.01
15200 | 1.935 | 1.481 | -9.895 | 1351.873 | 244.611 | 88.764 | 141.162
15300 | 1.975 | 1.519 | -9.693 | 1247.89 | 246.732 | 87.703 | 142.98
15400 | 2.016 | 1.491 | -9.425 | 1247.89 | 246.05 | 87.476 | 144.041
15500 | 2.056 | 1.485 | -9.174 | 1663.85 | 251.655 | 88.006 | 144.495
15600 | 2.096 | 1.501 | -8.939 | 1559.861 | 250.216 | 88.158 | 144.495
15700 | 2.137 | 1.503 | -8.687 | 1455.867 | 241.657 | 88.082 | 145.405
15800 | 2.177 | 1.545 | -8.469 | 1559.861 | 246.202 | 88.006 | 145.101
15900 | 2.217 | 1.621 | -8.285 | 1351.885 | 251.276 | 86.794 | 146.314
16000 | 2.258 | 1.585 | -7.983 | 1143.896 | 249.686 | 83.158 | 148.738
16100 | 2.298 | 1.602 | -7.73 | 1871.832 | 248.398 | 84.9 | 150.102
16200 | 2.338 | 1.608 | -7.462 | 1566.358 | 250.595 | 85.279 | 149.193
16300 | 2.379 | 1.671 | -7.244 | 1663.856 | 241.581 | 85.43 | 150.405
16400 | 2.419 | 1.716 | -7.009 | 1351.882 | 249.61 | 84.294 | 151.314
16500 | 2.419 | 1.639 | -6.691 | 1455.87 | 250.595 | 82.097 | 153.132
16600 | 2.419 | 1.579 | -6.389 | 1975.824 | 247.035 | 83.991 | 154.496
16700 | 2.419 | 1.502 | -6.07 | 1871.832 | 252.185 | 87.097 | 152.072
16800 | 2.419 | 1.545 | -5.869 | 1975.821 | 245.141 | 89.37 | 149.496
16900 | 2.419 | 1.55 | -5.634 | 1247.893 | 244.762 | 89.143 | 147.526
17000 | 2.419 | 1.54 | -5.383 | 1455.87 | 242.263 | 87.097 | 148.283
17100 | 2.419 | 1.531 | -5.131 | 1559.861 | 253.322 | 87.552 | 147.98
17200 | 2.419 | 1.521 | -4.88 | 1559.858 | 243.475 | 88.082 | 147.526
17300 | 2.419 | 1.531 | -4.645 | 1559.861 | 241.808 | 88.082 | 147.526
17400 | 2.419 | 1.519 | -4.393 | 1455.87 | 243.172 | 87.931 | 146.768
17500 | 2.419 | 1.509 | -4.142 | 1559.858 | 235.744 | 88.082 | 147.223
17600 | 2.419 | 1.516 | -3.907 | 1559.867 | 250.519 | 88.158 | 145.859
17700 | 2.419 | 1.557 | -3.706 | 1455.87 | 258.548 | 88.006 | 146.617
17800 | 2.419 | 1.532 | -3.436 | 1247.886 | 248.171 | 86.718 | 147.223
17900 | 2.419 | 1.52 | -3.185 | 1670.355 | 248.928 | 87.173 | 147.374
18000 | 2.419 | 1.527 | -2.95 | 1559.858 | 258.548 | 88.006 | 146.768
18100 | 2.298 | 1.413 | -2.715 | 1455.871 | 258.548 | 87.779 | 146.92
18200 | 2.177 | 1.253 | -2.447 | 1455.87 | 258.548 | 91.113 | 145.253
18300 | 2.056 | 1.168 | -2.262 | 1663.85 | 258.548 | 95.961 | 141.465
18400 | 1.935 | 1.066 | -2.078 | 1143.897 | 258.548 | 97.325 | 136.616
18500 | 1.814 | 0.988 | -1.927 | 1143.9 | 258.548 | 97.022 | 132.222
18600 | 1.693 | 0.964 | -1.843 | 935.916 | 258.548 | 96.34 | 128.434
18700 | 1.572 | 0.878 | -1.709 | 519.952 | 258.548 | 93.613 | 123.736
18800 | 1.451 | 0.816 | -1.608 | 831.927 | 258.548 | 92.704 | 119.494
18900 | 1.33 | 0.755 | -1.524 | 623.944 | 258.548 | 90.279 | 116.615
19000 | 1.209 | 0.7 | -1.457 | 519.954 | 258.548 | 86.264 | 111.614
19100 | 1.089 | 0.632 | -1.39 | 415.962 | 258.548 | 83.385 | 106.463
19200 | 0.968 | 0.553 | -1.323 | 415.965 | 258.548 | 80.657 | 100.401
19300 | 0.847 | 0.497 | -1.29 | 415.962 | 258.548 | 75.354 | 95.401
19400 | 0.726 | 0.426 | -1.256 | 207.981 | 258.548 | 71.414 | 90.249
19500 | 0.605 | 0.344 | -1.223 | 207.981 | 258.548 | 67.02 | 84.643
19600 | 0.484 | 0.267 | -1.206 | 207.981 | 258.548 | 63.535 | 80.855
19700 | 0.363 | 0.177 | -1.189 | 103.992 | 258.548 | 60.883 | 76.764
19800 | 0.242 | 0.076 | -1.172 | 103.989 | 258.548 | 58.61 | 72.672
19900 | 0.121 | 0 | -1.172 | 103.991 | 258.548 | 55.277 | 69.642
20000 | 0.121 | 0 | -0.87 | 103.992 | 244.156 | 53.913 | 68.581