## Data
Log File Data
************************
2007-11-11 20:45 | MERIT Configuration Data
Test Description: 17024 28TP 16Bunches 10T
Mode = Triggered
LogFile = C:\MERIT Data\071111 logfile.txt
Trigger-Pulse Delay (s) = 17.570000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 2000.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -19.757 | 0 | 0 | 1.41 | 0.092
100 | 0 | 0 | -19.774 | 0 | 0 | 1.258 | -0.363
200 | 0 | 0 | -19.774 | 0 | 0 | 1.41 | -0.06
300 | 0 | 0 | -19.774 | 0 | 0 | 1.334 | 0.092
400 | 0 | 0 | -19.774 | 0 | 0 | 1.258 | -0.363
500 | 0 | 0 | -19.757 | 0 | 0 | 1.258 | -0.363
600 | 0 | 0 | -19.774 | 0 | 0 | 1.41 | 0.092
700 | 0 | 0 | -19.757 | 0 | 0 | 1.485 | 0.092
800 | 0 | 0 | -19.774 | 0 | 0 | 1.485 | 0.092
900 | 0 | 0 | -19.774 | 0 | 0 | 1.41 | 0.092
1000 | 0 | 0 | -19.757 | 0 | 0 | 1.258 | -0.363
1100 | 0 | 0 | -19.774 | 0 | 0 | 1.258 | 0.092
1200 | 0 | 0 | -19.774 | 0 | 0 | 1.258 | -0.06
1300 | 0 | 0 | -19.774 | 0 | 0 | 1.258 | -0.363
1400 | 0 | 0 | -19.774 | 0 | 0 | 1.334 | -0.06
1500 | 0 | 0 | -19.774 | 0 | 0 | 1.485 | -0.06
1600 | 0 | 0 | -19.774 | 0 | 0 | 1.182 | -0.363
1700 | 0 | 0 | -19.774 | 0 | 0 | 1.334 | 0.092
1800 | 0 | 0 | -19.791 | 0 | 0 | 1.182 | -0.363
1900 | 0 | 0 | -19.774 | 0 | 0 | 1.182 | -0.363
2000 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | 0.243
2100 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | -0.06
2200 | 0 | 0 | -19.791 | 0 | 0 | 1.485 | 0.243
2300 | 0 | 0 | -19.791 | 0 | 0 | 1.334 | 0.092
2400 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | 0.092
2500 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | -0.06
2600 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | -0.06
2700 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | 0.092
2800 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | 0.395
2900 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | 0.698
3000 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | 0.243
3100 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | 0.243
3200 | 0 | 0 | -19.774 | 0 | 0 | 1.258 | -0.363
3300 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | -0.363
3400 | 0 | 0 | -19.791 | 0 | 0 | 1.334 | -0.363
3500 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | -0.06
3600 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | 0.243
3700 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | 0.395
3800 | 0 | 0 | -19.791 | 0 | 0 | 1.334 | 0.395
3900 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | -0.06
4000 | 0 | 0 | -19.791 | 0 | 0 | 1.107 | -0.06
4100 | 0 | 0 | -19.791 | 0 | 0 | 1.334 | -0.363
4200 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | -0.363
4300 | 0 | 0 | -19.808 | 0 | 0 | 1.485 | -0.363
4400 | 0 | 0 | -19.791 | 0 | 0 | 1.334 | 0.092
4500 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | -0.363
4600 | 0 | 0 | -19.791 | 0 | 0 | 1.182 | 0.092
4700 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | -0.06
4800 | 0 | 0 | -19.791 | 0 | 0 | 1.258 | -0.514
4900 | 0 | 0 | -19.791 | 0 | 0 | 1.41 | -0.363
5000 | 0 | 0 | -19.791 | 0 | 0 | 1.485 | -0.06
5100 | 0 | 0 | -19.808 | 0 | 0 | 1.41 | -0.363
5200 | 0 | 0 | -19.808 | 0 | 0 | 1.182 | 0.243
5300 | 0 | 0 | -19.808 | 0 | 0 | 1.182 | 0.243
5400 | 0 | 0 | -19.808 | 0 | 0 | 1.41 | -0.363
5500 | 0 | 0 | -19.808 | 0 | 0 | 1.41 | -0.363
5600 | 0 | 0 | -19.808 | 0 | 0 | 1.41 | -0.06
5700 | 0 | 0 | -19.808 | 0 | 0 | 1.334 | -0.06
5800 | 0 | 0 | -19.808 | 0 | 0 | 1.334 | -0.06
5900 | 0 | 0 | -19.808 | 0 | 0 | 1.182 | 0.243
6000 | 0 | 0 | -19.808 | 0 | 0 | 1.182 | 0.546
6100 | 0 | 0 | -19.808 | 0 | 0 | 1.182 | 0.243
6200 | 0 | 0 | -19.808 | 0 | 0 | 1.334 | 0.698
6300 | 0 | 0 | -19.808 | 0 | 0 | 1.182 | 0.243
6400 | 0 | 0 | -19.808 | 0 | 0 | 1.258 | -0.06
6500 | 0 | 0 | -19.808 | 0 | 0 | 1.485 | 0.092
6600 | 0 | 0 | -19.808 | 0 | 0 | 1.41 | 0.092
6700 | 0 | 0 | -19.825 | 0 | 0 | 1.334 | -0.06
6800 | 0 | 0 | -19.808 | 0 | 0 | 1.182 | -0.06
6900 | 0 | 0 | -19.808 | 0 | 0 | 1.334 | -0.06
7000 | 0 | 0 | -19.825 | 0 | 0 | 1.334 | -0.06
7100 | 0 | 0 | -19.825 | 0 | 0 | 1.334 | -0.363
7200 | 0 | 0 | -19.825 | 0 | 0 | 1.485 | 0.395
7300 | 0 | 0 | -19.825 | 0 | 0 | 1.41 | -0.06
7400 | 0 | 0 | -19.825 | 0 | 0 | 1.41 | -0.06
7500 | 0 | 0 | -19.825 | 0 | 0 | 1.182 | -0.363
7600 | 0 | 0 | -19.825 | 0 | 0 | 1.182 | -0.06
7700 | 0 | 0 | -19.808 | 0 | 0 | 1.334 | 0.092
7800 | 0 | 0 | -19.825 | 0 | 0 | 1.182 | -0.06
7900 | 0 | 0 | -19.825 | 0 | 0 | 1.41 | -0.363
8000 | 0 | 0 | -19.825 | 0 | 0 | 1.637 | 0.395
8100 | 0 | 0 | -19.825 | 0 | 0 | 1.334 | -0.363
8200 | 0 | 0 | -19.825 | 0 | 0 | 1.334 | -0.06
8300 | 0 | 0 | -19.825 | 0 | 0 | 1.485 | 0.243
8400 | 0 | 0 | -19.825 | 0 | 0 | 1.485 | 0.243
8500 | 0 | 0 | -19.825 | 0 | 0 | 1.334 | 0.092
8600 | 0 | 0 | -19.825 | 0 | 0 | 1.485 | 0.698
8700 | 0 | 0 | -19.841 | 0 | 0 | 1.485 | 0.092
8800 | 0 | 0 | -19.841 | 0 | 0 | 1.41 | -0.363
8900 | 0 | 0 | -19.825 | 0 | 0 | 1.182 | -0.363
9000 | 0 | 0 | -19.825 | 0 | 0 | 1.258 | -0.363
9100 | 0 | 0 | -19.841 | 0 | 0 | 1.334 | -0.06
9200 | 0 | 0 | -19.825 | 0 | 0 | 1.182 | 0.092
9300 | 0 | 0 | -19.825 | 0 | 0 | 1.258 | 0.243
9400 | 0 | 0 | -19.841 | 0 | 0 | 1.334 | 0.243
9500 | 0 | 0 | -19.825 | 0 | 0 | 1.41 | -0.06
9600 | 0 | 0 | -19.825 | 0 | 0 | 1.485 | -0.363
9700 | 0 | 0 | -19.825 | 0 | 0 | 1.41 | 0.243
9800 | 0 | 0 | -19.841 | 0 | 0 | 1.41 | -0.363
9900 | 0 | 0 | -19.825 | 0 | 0 | 1.41 | -0.363
10000 | 0 | 0 | -19.841 | 0 | 0 | 1.182 | -0.06
10100 | 0 | 0 | -19.841 | 0 | 0 | 1.258 | 0.395
10200 | 0 | 0 | -19.841 | 0 | 0 | 1.182 | 0.092
10300 | 0 | 0 | -19.841 | 0 | 0 | 1.334 | -0.06
10400 | 0 | 0 | -19.841 | 0 | 0 | 1.485 | 0.243
10500 | 0.054 | 0.054 | -19.841 | 0 | 258.548 | 1.41 | -0.363
10600 | 0.108 | 0.108 | -19.841 | 0 | 247.489 | 1.41 | 0.092
10700 | 0.161 | 0.177 | -19.841 | 0 | 258.548 | 1.41 | 0.546
10800 | 0.215 | 0.253 | -19.841 | 0 | 246.883 | 1.41 | 0.395
10900 | 0.269 | 0.317 | -19.825 | 0 | 234.078 | 1.485 | 0.546
11000 | 0.323 | 0.42 | -19.841 | 103.988 | 258.548 | 1.182 | 0.849
11100 | 0.376 | 0.511 | -19.841 | -103.988 | 258.548 | 1.031 | 0.546
11200 | 0.43 | 0.607 | -19.841 | 0 | 258.548 | 0.955 | 0.698
11300 | 0.484 | 0.71 | -19.841 | 0 | 258.548 | 1.031 | 1.304
11400 | 0.538 | 0.8 | -19.825 | 0 | 243.399 | 1.637 | 2.819
11500 | 0.591 | 0.93 | -19.841 | 103.988 | 258.548 | 3.228 | 4.941
11600 | 0.645 | 1.031 | -19.825 | -103.988 | 258.548 | 5.349 | 8.123
11700 | 0.699 | 1.121 | -19.791 | 103.988 | 258.548 | 9.137 | 15.699
11800 | 0.753 | 1.15 | -19.69 | 207.989 | 240.596 | 16.638 | 26.306
11900 | 0.806 | 1.167 | -19.573 | 623.942 | 249.913 | 28.533 | 40.549
12000 | 0.86 | 1.19 | -19.456 | 727.931 | 258.548 | 39.064 | 53.883
12100 | 0.914 | 1.167 | -19.288 | 727.942 | 246.656 | 50.049 | 67.066
12200 | 0.968 | 1.183 | -19.154 | 1039.896 | 249.004 | 59.595 | 79.794
12300 | 1.021 | 1.205 | -19.02 | 831.931 | 247.035 | 66.338 | 87.976
12400 | 1.075 | 1.198 | -18.852 | 831.931 | 245.52 | 72.248 | 95.704
12500 | 1.129 | 1.232 | -18.718 | 1039.908 | 258.548 | 76.642 | 101.311
12600 | 1.183 | 1.235 | -18.55 | 831.919 | 258.548 | 80.657 | 106.766
12700 | 1.236 | 1.245 | -18.382 | 1039.919 | 248.171 | 84.521 | 111.16
12800 | 1.29 | 1.243 | -18.198 | 1039.896 | 258.548 | 87.249 | 114.493
12900 | 1.344 | 1.263 | -18.03 | 1143.896 | 242.717 | 88.84 | 116.615
13000 | 1.398 | 1.307 | -17.879 | 1039.919 | 249.231 | 90.658 | 118.736
13100 | 1.451 | 1.304 | -17.678 | 935.907 | 245.52 | 91.719 | 121.464
13200 | 1.505 | 1.357 | -17.527 | 1247.896 | 258.548 | 87.249 | 128.131
13300 | 1.559 | 1.399 | -17.359 | 935.907 | 258.548 | 86.112 | 132.07
13400 | 1.613 | 1.429 | -17.175 | 1039.919 | 245.671 | 86.34 | 134.495
13500 | 1.666 | 1.433 | -16.957 | 1143.884 | 247.035 | 86.188 | 137.374
13600 | 1.72 | 1.456 | -16.756 | 1351.885 | 246.883 | 86.794 | 139.192
13700 | 1.774 | 1.436 | -16.504 | 1247.896 | 258.548 | 87.4 | 140.707
13800 | 1.828 | 1.504 | -16.335 | 1559.861 | 248.019 | 87.173 | 141.616
13900 | 1.881 | 1.511 | -16.101 | 1046.401 | 258.548 | 87.097 | 142.98
14000 | 1.935 | 1.508 | -15.849 | 1455.873 | 258.548 | 86.567 | 145.101
14100 | 1.989 | 1.541 | -15.631 | 1559.855 | 243.096 | 87.097 | 145.101
14200 | 2.043 | 1.564 | -15.396 | 1351.885 | 258.548 | 86.718 | 146.314
14300 | 2.096 | 1.593 | -15.161 | 1455.867 | 258.548 | 86.112 | 147.223
14400 | 2.15 | 1.593 | -14.893 | 1455.873 | 258.548 | 85.43 | 148.283
14500 | 2.204 | 1.635 | -14.658 | 1663.85 | 258.548 | 85.203 | 149.647
14600 | 2.258 | 1.61 | -14.357 | 1455.867 | 258.548 | 83.991 | 150.556
14700 | 2.311 | 1.66 | -14.122 | 1871.838 | 258.548 | 84.597 | 151.617
14800 | 2.365 | 1.699 | -13.87 | 1455.873 | 258.548 | 83.688 | 151.465
14900 | 2.419 | 1.693 | -13.568 | 1559.861 | 246.505 | 82.4 | 153.284
15000 | 2.473 | 1.745 | -13.317 | 1871.826 | 258.548 | 82.021 | 154.193
15100 | 2.526 | 1.73 | -12.998 | 1559.855 | 258.548 | 81.263 | 155.254
15200 | 2.58 | 1.74 | -12.696 | 1975.833 | 258.548 | 81.112 | 156.011
15300 | 2.634 | 1.789 | -12.428 | 1871.838 | 247.944 | 80.96 | 156.466
15400 | 2.688 | 1.809 | -12.125 | 1663.844 | 258.548 | 80.051 | 157.981
15500 | 2.741 | 1.871 | -11.857 | 1878.332 | 258.548 | 78.081 | 158.436
15600 | 2.795 | 1.899 | -11.555 | 1663.856 | 247.489 | 77.096 | 160.254
15700 | 2.849 | 1.869 | -11.186 | 1871.826 | 244.687 | 74.521 | 162.83
15800 | 2.903 | 1.861 | -10.834 | 2287.798 | 249.383 | 75.43 | 163.133
15900 | 2.956 | 1.925 | -10.549 | 2183.803 | 249.231 | 76.187 | 162.83
16000 | 3.01 | 1.948 | -10.213 | 1767.85 | 246.883 | 74.142 | 163.436
16100 | 3.064 | 1.969 | -9.878 | 2079.815 | 258.548 | 72.93 | 164.8
16200 | 3.118 | 1.983 | -9.526 | 2079.809 | 256.806 | 71.642 | 165.709
16300 | 3.171 | 2.018 | -9.19 | 2183.803 | 258.548 | 70.354 | 165.557
16400 | 3.225 | 2.059 | -8.855 | 2079.821 | 258.548 | 69.369 | 166.012
16500 | 3.225 | 2.033 | -8.503 | 2079.815 | 258.548 | 66.565 | 165.557
16600 | 3.225 | 1.95 | -8.1 | 2183.803 | 245.671 | 66.111 | 164.042
16700 | 3.225 | 1.919 | -7.747 | 2495.775 | 258.548 | 68.687 | 163.891
16800 | 3.225 | 1.94 | -7.445 | 2190.306 | 258.548 | 71.869 | 164.042
16900 | 3.225 | 1.893 | -7.076 | 1871.832 | 258.548 | 72.93 | 164.648
17000 | 3.225 | 1.884 | -6.741 | 2287.795 | 258.397 | 73.914 | 165.254
17100 | 3.225 | 1.884 | -6.422 | 2079.818 | 236.577 | 75.43 | 163.588
17200 | 3.225 | 1.855 | -6.07 | 1975.821 | 242.414 | 75.43 | 163.436
17300 | 3.225 | 1.875 | -5.768 | 2183.806 | 255.064 | 76.112 | 163.284
17400 | 3.225 | 1.846 | -5.416 | 1871.832 | 239.384 | 75.657 | 162.83
17500 | 3.225 | 1.87 | -5.114 | 2183.806 | 258.548 | 76.112 | 163.284
17600 | 3.225 | 1.87 | -4.796 | 1871.832 | 241.051 | 76.263 | 162.072
17700 | 3.225 | 1.857 | -4.46 | 1975.83 | 253.397 | 75.657 | 162.527
17800 | 3.225 | 1.878 | -4.158 | 2079.809 | 255.518 | 76.036 | 163.133
17900 | 3.225 | 1.848 | -3.806 | 1871.832 | 246.505 | 75.733 | 163.133
18000 | 3.225 | 1.888 | -3.52 | 2183.808 | 254.685 | 76.187 | 162.678
18100 | 3.064 | 1.694 | -3.168 | 1774.342 | 246.353 | 75.354 | 163.133
18200 | 2.903 | 1.504 | -2.833 | 2183.806 | 244.687 | 81.188 | 161.315
18300 | 2.741 | 1.347 | -2.547 | 2079.817 | 247.868 | 90.355 | 154.799
18400 | 2.58 | 1.226 | -2.313 | 1767.841 | 248.019 | 97.022 | 146.768
18500 | 2.419 | 1.157 | -2.145 | 1455.87 | 247.792 | 96.946 | 142.98
18600 | 2.258 | 1.068 | -1.977 | 1039.906 | 242.944 | 97.78 | 138.131
18700 | 2.096 | 0.981 | -1.826 | 1039.908 | 252.867 | 97.022 | 133.889
18800 | 1.935 | 0.912 | -1.709 | 935.917 | 245.671 | 95.658 | 129.343
18900 | 1.774 | 0.81 | -1.575 | 727.935 | 249.686 | 93.84 | 124.797
19000 | 1.613 | 0.761 | -1.508 | 831.924 | 254.609 | 93.158 | 118.585
19100 | 1.451 | 0.676 | -1.424 | 415.965 | 245.293 | 88.082 | 114.493
19200 | 1.29 | 0.609 | -1.374 | 519.955 | 256.503 | 84.9 | 109.19
19300 | 1.129 | 0.51 | -1.306 | 311.97 | 255.594 | 80.885 | 102.977
19400 | 0.968 | 0.428 | -1.273 | 415.962 | 255.442 | 76.187 | 97.371
19500 | 0.806 | 0.331 | -1.239 | 207.984 | 249.307 | 71.945 | 90.855
19600 | 0.645 | 0.233 | -1.223 | 207.981 | 254.003 | 69.217 | 86.916
19700 | 0.484 | 0.119 | -1.206 | 103.989 | 253.019 | 65.126 | 82.673
19800 | 0.323 | 0 | -1.189 | 103.992 | 250.14 | 62.399 | 78.733
19900 | 0.161 | 0 | -1.189 | 103.989 | 252.564 | 59.141 | 74.339
20000 | 0.121 | 0 | -1.374 | 0 | 251.807 | 54.216 | 68.43