## Data
Log File Data
2007-10-22 15:35 | MERIT Configuration Data
Test Description: Commissioning tests
Mode = Triggered
LogFile = C:\MERIT Data\071022 logfile.txt
Trigger-Pulse Delay (s) = 13.970000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | -0.666
100 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.969
200 | 0 | 0 | -14.776 | 0 | 0 | 0.349 | -0.969
300 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.666
400 | 0 | 0 | -14.776 | 0 | 0 | 0.5 | -0.817
500 | 0 | 0 | -14.776 | 0 | 0 | 0.728 | -0.666
600 | 0 | 0 | -14.776 | 0 | 0 | 0.5 | -0.363
700 | 0 | 0 | -14.776 | 0 | 0 | 0.5 | -0.817
800 | 0 | 0 | -14.776 | 0 | 0 | 0.5 | -0.514
900 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | -0.817
1000 | 0 | 0 | -14.776 | 0 | 0 | 0.728 | -0.817
1100 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.514
1200 | 0 | 0 | -14.776 | 0 | 0 | 0.425 | -0.817
1300 | 0 | 0 | -14.776 | 0 | 0 | 0.728 | -0.666
1400 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | -0.514
1500 | 0 | 0 | -14.776 | 0 | 0 | 0.5 | -0.666
1600 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | -0.817
1700 | 0 | 0 | -14.776 | 0 | 0 | 0.576 | -0.514
1800 | 0 | 0 | -14.809 | 0 | 0 | 0.349 | -0.514
1900 | 0 | 0 | -14.809 | 0 | 0 | 0.5 | -0.817
2000 | 0 | 0 | -14.809 | 0 | 0 | 0.804 | -0.666
2100 | 0 | 0 | -14.809 | 0 | 0 | 0.5 | -0.363
2200 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | -0.363
2300 | 0 | 0 | -14.809 | 0 | 0 | 0.425 | -0.514
2400 | 0 | 0 | -14.809 | 0 | 0 | 0.425 | -0.817
2500 | 0 | 0 | -14.809 | 0 | 0 | 0.5 | -0.817
2600 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | -0.514
2700 | 0 | 0 | -14.809 | 0 | 0 | 0.804 | -0.363
2800 | 0 | 0 | -14.809 | 0 | 0 | 0.5 | -0.06
2900 | 0 | 0 | -14.809 | 0 | 0 | 0.425 | -0.969
3000 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | -0.969
3100 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | -0.514
3200 | 0 | 0 | -14.809 | 0 | 0 | 0.425 | -0.514
3300 | 0 | 0 | -14.809 | 0 | 0 | 0.576 | -0.666
3400 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | -0.969
3500 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | -0.817
3600 | 0 | 0 | -14.809 | 0 | 0 | 0.425 | -0.514
3700 | 0 | 0 | -14.809 | 0 | 0 | 0.5 | -0.666
3800 | 0 | 0 | -14.826 | 0 | 0 | 0.804 | -0.666
3900 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.666
4000 | 0 | 0 | -14.826 | 0 | 0 | 0.425 | -0.514
4100 | 0 | 0 | -14.809 | 0 | 0 | 0.804 | -0.969
4200 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.666
4300 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.06
4400 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.817
4500 | 0 | 0 | -14.826 | 0 | 0 | 0.804 | -0.817
4600 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.666
4700 | 0 | 0 | -14.826 | 0 | 0 | 0.425 | -0.514
4800 | 0 | 0 | -14.809 | 0 | 0 | 0.728 | -0.969
4900 | 0 | 0 | -14.826 | 0 | 0 | 0.576 | -0.817
5000 | 0 | 0 | -14.826 | 0 | 0 | 0.349 | -0.666
5100 | 0 | 0 | -14.826 | 0 | 0 | 0.425 | -0.514
5200 | 0 | 0 | -14.826 | 0 | 0 | 0.728 | -0.969
5300 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.666
5400 | 0 | 0 | -14.843 | 0 | 0 | 0.425 | -0.514
5500 | 0 | 0 | -14.826 | 0 | 0 | 0.576 | -0.817
5600 | 0 | 0 | -14.826 | 0 | 0 | 0.728 | -0.817
5700 | 0 | 0 | -14.826 | 0 | 0 | 0.576 | -0.514
5800 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.817
5900 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.363
6000 | 0 | 0 | -14.826 | 0 | 0 | 0.5 | -0.514
6100 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | -0.817
6200 | 0 | 0 | -14.843 | 0 | 0 | 0.425 | -0.666
6300 | 0 | 0 | -14.843 | 0 | 0 | 0.425 | -0.666
6400 | 0 | 0 | -14.843 | 0 | 0 | 0.5 | -0.514
6500 | 0 | 0 | -14.843 | 0 | 0 | 0.804 | -0.817
6600 | 0 | 0 | -14.843 | 0 | 0 | 0.576 | -0.969
6700 | 0 | 0 | -14.843 | 0 | 0 | 0.576 | -0.817
6800 | 0 | 0 | -14.843 | 0 | 0 | 0.728 | -0.817
6900 | 0.04 | 0.04 | -14.843 | 0 | -0.108 | 0.425 | -0.666
7000 | 0.081 | 0.081 | -14.843 | 0 | -0.108 | 0.576 | -0.514
7100 | 0.121 | 0.133 | -14.843 | 0 | -0.108 | 0.576 | -0.817
7200 | 0.161 | 0.189 | -14.843 | 0 | 0.044 | 0.576 | -0.817
7300 | 0.202 | 0.25 | -14.843 | 0 | 0.044 | 0.728 | -0.969
7400 | 0.242 | 0.315 | -14.843 | 0 | -0.108 | 0.425 | -0.666
7500 | 0.282 | 0.383 | -14.843 | 0 | -0.108 | 0.425 | -0.514
7600 | 0.323 | 0.456 | -14.843 | 0 | -0.108 | 0.197 | -0.363
7700 | 0.363 | 0.532 | -14.843 | 0 | -0.032 | 0.122 | 0.092
7800 | 0.403 | 0.613 | -14.843 | 0 | -0.032 | -0.03 | 0.546
7900 | 0.443 | 0.681 | -14.826 | 0 | 0.044 | -0.181 | 1.152
8000 | 0.484 | 0.769 | -14.826 | 103.988 | -0.108 | 0.273 | 2.213
8100 | 0.524 | 0.863 | -14.826 | 0 | -0.108 | 1.258 | 4.183
8200 | 0.564 | 0.908 | -14.776 | 0 | -0.108 | 3.076 | 6.304
8300 | 0.605 | 0.942 | -14.709 | 311.965 | 0.044 | 5.501 | 8.88
8400 | 0.645 | 1.013 | -14.675 | 415.971 | 0.044 | 8.456 | 12.82
8500 | 0.685 | 1.038 | -14.591 | 207.977 | 0.044 | 12.092 | 18.426
8600 | 0.726 | 1.068 | -14.507 | 519.96 | -0.032 | 18.608 | 27.063
8700 | 0.766 | 1.05 | -14.373 | 519.942 | 0.195 | 27.169 | 37.822
8800 | 0.806 | 1.087 | -14.289 | 831.937 | 0.195 | 34.821 | 47.368
8900 | 0.847 | 1.112 | -14.189 | 519.948 | 0.195 | 42.397 | 56.762
9000 | 0.887 | 1.123 | -14.071 | 623.942 | 0.271 | 49.898 | 65.702
9100 | 0.927 | 1.123 | -13.937 | 727.936 | 0.574 | 56.716 | 75.097
9200 | 0.968 | 1.142 | -13.82 | 831.925 | 0.498 | 62.323 | 81.461
9300 | 1.008 | 1.149 | -13.686 | 727.936 | 0.574 | 67.626 | 88.886
9400 | 1.048 | 1.176 | -13.568 | 831.925 | 0.574 | 71.793 | 93.734
9500 | 1.089 | 1.158 | -13.401 | 727.936 | 0.574 | 75.505 | 99.189
9600 | 1.129 | 1.195 | -13.283 | 1039.913 | 0.574 | 78.536 | 102.977
9700 | 1.169 | 1.183 | -13.116 | 727.936 | 0.877 | 81.263 | 106.614
9800 | 1.209 | 1.21 | -12.981 | 1039.902 | 0.649 | 83.158 | 109.341
9900 | 1.25 | 1.258 | -12.864 | 831.925 | 0.801 | 84.142 | 111.917
10000 | 1.29 | 1.243 | -12.68 | 727.936 | 1.634 | 85.961 | 114.342
10100 | 1.33 | 1.3 | -12.562 | 1143.902 | 6.406 | 83.309 | 119.645
10200 | 1.371 | 1.325 | -12.411 | 727.936 | 9.289 | 83.082 | 123.433
10300 | 1.411 | 1.322 | -12.227 | 935.913 | 10.35 | 83.536 | 127.221
10400 | 1.451 | 1.356 | -12.075 | 1143.902 | 9.971 | 85.355 | 129.191
10500 | 1.492 | 1.311 | -11.84 | 942.413 | 10.501 | 85.658 | 131.161
10600 | 1.532 | 1.371 | -11.706 | 1455.873 | 9.516 | 87.476 | 132.07
10700 | 1.572 | 1.349 | -11.488 | 831.919 | 10.728 | 86.718 | 133.282
10800 | 1.613 | 1.383 | -11.32 | 1351.885 | 11.183 | 87.476 | 134.798
10900 | 1.653 | 1.421 | -11.152 | 1039.902 | 12.016 | 87.4 | 135.555
11000 | 1.693 | 1.413 | -10.934 | 1039.913 | 13.228 | 86.946 | 136.768
11100 | 1.734 | 1.41 | -10.716 | 1351.873 | 12.395 | 87.931 | 137.98
11200 | 1.774 | 1.442 | -10.532 | 1351.879 | 12.016 | 88.764 | 137.98
11300 | 1.814 | 1.447 | -10.314 | 1143.902 | 12.849 | 88.385 | 138.434
11400 | 1.855 | 1.47 | -10.113 | 1351.885 | 13.228 | 88.082 | 140.253
11500 | 1.895 | 1.465 | -9.878 | 1247.884 | 13.834 | 88.082 | 140.859
11600 | 1.935 | 1.5 | -9.677 | 1455.867 | 13.758 | 88.158 | 141.313
11700 | 1.975 | 1.501 | -9.442 | 1247.89 | 14.667 | 87.173 | 142.829
11800 | 2.016 | 1.558 | -9.257 | 1455.873 | 15.122 | 87.4 | 143.738
11900 | 2.056 | 1.536 | -8.989 | 1143.896 | 16.333 | 86.415 | 144.192
12000 | 2.096 | 1.568 | -8.771 | 1663.85 | 16.485 | 86.567 | 146.314
12100 | 2.137 | 1.606 | -8.553 | 1351.885 | 16.939 | 86.87 | 145.708
12200 | 2.177 | 1.593 | -8.285 | 1351.879 | 18.682 | 85.506 | 147.829
12300 | 2.217 | 1.621 | -8.05 | 1663.85 | 18.909 | 85.582 | 148.738
12400 | 2.258 | 1.651 | -7.814 | 1455.873 | 18.606 | 85.203 | 149.95
12500 | 2.298 | 1.602 | -7.496 | 1462.366 | 20.424 | 83.839 | 150.253
12600 | 2.338 | 1.644 | -7.261 | 1975.824 | 19.363 | 85.506 | 150.708
12700 | 2.379 | 1.651 | -6.992 | 1455.87 | 19.969 | 85.279 | 150.556
12800 | 2.419 | 1.682 | -6.741 | 1663.856 | 20.878 | 84.218 | 151.769
12900 | 2.419 | 1.672 | -6.489 | 1559.858 | 20.954 | 83.688 | 152.678
13000 | 2.419 | 1.629 | -6.204 | 1559.858 | 21.863 | 83.612 | 152.981
13100 | 2.419 | 1.622 | -5.953 | 1767.844 | 20.727 | 84.824 | 152.981
13200 | 2.419 | 1.61 | -5.701 | 1559.861 | 19.666 | 86.112 | 151.465
13300 | 2.419 | 1.584 | -5.433 | 1559.864 | 19.439 | 86.34 | 151.011
13400 | 2.419 | 1.54 | -5.148 | 1663.85 | 18.151 | 86.567 | 150.405
13500 | 2.419 | 1.564 | -4.93 | 1767.844 | 16.712 | 88.234 | 149.193
13600 | 2.419 | 1.54 | -4.661 | 1351.876 | 17.015 | 87.703 | 148.283
13700 | 2.419 | 1.545 | -4.427 | 1663.853 | 16.788 | 87.855 | 147.677
13800 | 2.419 | 1.552 | -4.192 | 1455.873 | 16.712 | 88.006 | 147.374
13900 | 2.419 | 1.559 | -3.957 | 1455.87 | 16.788 | 87.173 | 147.223
14000 | 2.419 | 1.566 | -3.722 | 1455.87 | 17.091 | 87.097 | 147.223
14100 | 2.419 | 1.558 | -3.47 | 1455.871 | 17.318 | 86.794 | 148.132
14200 | 2.419 | 1.546 | -3.218 | 1566.359 | 17.167 | 87.173 | 147.677
14300 | 2.419 | 1.587 | -3.017 | 1559.86 | 17.015 | 87.627 | 147.223
14400 | 2.419 | 1.56 | -2.749 | 1247.892 | 18 | 85.961 | 147.98
14500 | 2.419 | 1.534 | -2.48 | 1663.848 | 17.394 | 87.173 | 148.132
14600 | 2.298 | 1.439 | -2.262 | 1663.853 | 16.409 | 88.082 | 147.98
14700 | 2.177 | 1.328 | -2.044 | 1351.879 | 13.985 | 89.976 | 146.465
14800 | 2.056 | 1.206 | -1.826 | 1351.882 | 10.274 | 93.385 | 142.677
14900 | 1.935 | 1.107 | -1.642 | 1351.879 | 7.168 | 96.416 | 137.98
15000 | 1.814 | 0.995 | -1.457 | 1143.897 | 4.664 | 96.567 | 133.282
15100 | 1.693 | 0.956 | -1.357 | 1143.897 | 3.149 | 96.113 | 128.585
15200 | 1.572 | 0.869 | -1.223 | 623.946 | 2.695 | 93.992 | 124.191
15300 | 1.451 | 0.821 | -1.139 | 831.925 | 1.861 | 91.416 | 119.039
15400 | 1.33 | 0.762 | -1.055 | 519.954 | 1.331 | 88.158 | 113.584
15500 | 1.209 | 0.723 | -1.005 | 519.955 | 0.877 | 85.582 | 110.251
15600 | 1.089 | 0.658 | -0.938 | 311.973 | 0.649 | 81.566 | 104.493
15700 | 0.968 | 0.577 | -0.87 | 415.962 | 0.649 | 77.324 | 98.28
15800 | 0.847 | 0.503 | -0.82 | 415.962 | 0.044 | 73.384 | 93.583
15900 | 0.726 | 0.433 | -0.787 | 311.973 | 0.119 | 69.672 | 86.764
16000 | 0.605 | 0.368 | -0.77 | 207.981 | 0.044 | 64.293 | 81.006
16100 | 0.484 | 0.291 | -0.753 | 103.989 | -0.108 | 60.732 | 76.915
16200 | 0.363 | 0.201 | -0.736 | 103.992 | -0.184 | 57.474 | 72.521
16300 | 0.242 | 0.1 | -0.72 | 103.992 | -0.032 | 54.747 | 68.733
16400 | 0.121 | 0.003 | -0.72 | 103.989 | -0.108 | 51.186 | 64.945