## Data
Log File Data
2007-10-25 19:54 | MERIT Configuration Data
Test Description: Day 4 Testing - Shot 3021, with beam, 2500A
Mode = Triggered
LogFile = C:\MERIT Data\071025 logfile.txt
Trigger-Pulse Delay (s) = 30.770000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 55.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.43 | 0 | 0 | 1.258 | 0.092
100 | 0 | 0 | -15.43 | 0 | 0 | 1.41 | 0.395
200 | 0 | 0 | -15.43 | 0 | 0 | 1.334 | -0.06
300 | 0 | 0 | -15.43 | 0 | 0 | 1.334 | 0.243
400 | 0 | 0 | -15.43 | 0 | 0 | 1.334 | 0.395
500 | 0 | 0 | -15.43 | 0 | 0 | 1.41 | 0.243
600 | 0 | 0 | -15.43 | 0 | 0 | 1.258 | -0.06
700 | 0 | 0 | -15.43 | 0 | 0 | 1.258 | -0.06
800 | 0 | 0 | -15.43 | 0 | 0 | 1.182 | -0.06
900 | 0 | 0 | -15.43 | 0 | 0 | 1.41 | 0.395
1000 | 0 | 0 | -15.43 | 0 | 0 | 1.334 | -0.06
1100 | 0 | 0 | -15.43 | 0 | 0 | 1.41 | -0.363
1200 | 0 | 0 | -15.43 | 0 | 0 | 1.258 | -0.06
1300 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.243
1400 | 0 | 0 | -15.43 | 0 | 0 | 1.334 | 0.092
1500 | 0 | 0 | -15.43 | 0 | 0 | 1.334 | 0.092
1600 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.243
1700 | 0 | 0 | -15.43 | 0 | 0 | 1.258 | -0.06
1800 | 0 | 0 | -15.447 | 0 | 0 | 1.258 | -0.06
1900 | 0 | 0 | -15.43 | 0 | 0 | 1.334 | 0.243
2000 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.395
2100 | 0 | 0 | -15.447 | 0 | 0 | 1.182 | 0.092
2200 | 0 | 0 | -15.447 | 0 | 0 | 1.258 | 0.092
2300 | 0 | 0 | -15.447 | 0 | 0 | 1.258 | -0.06
2400 | 0 | 0 | -15.447 | 0 | 0 | 1.485 | 0.546
2500 | 0 | 0 | -15.447 | 0 | 0 | 1.41 | 0.243
2600 | 0 | 0 | -15.447 | 0 | 0 | 1.485 | 0.395
2700 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.243
2800 | 0 | 0 | -15.447 | 0 | 0 | 1.182 | 0.092
2900 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.092
3000 | 0 | 0 | -15.447 | 0 | 0 | 1.485 | 0.243
3100 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.395
3200 | 0 | 0 | -15.447 | 0 | 0 | 1.258 | 0.243
3300 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.243
3400 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.243
3500 | 0 | 0 | -15.447 | 0 | 0 | 1.182 | -0.06
3600 | 0 | 0 | -15.447 | 0 | 0 | 1.182 | -0.514
3700 | 0 | 0 | -15.447 | 0 | 0 | 1.41 | 0.092
3800 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.243
3900 | 0 | 0 | -15.447 | 0 | 0 | 1.258 | 0.243
4000 | 0 | 0 | -15.447 | 0 | 0 | 1.258 | 0.092
4100 | 0 | 0 | -15.463 | 0 | 0 | 1.258 | -0.06
4200 | 0 | 0 | -15.447 | 0 | 0 | 1.41 | 0.092
4300 | 0 | 0 | -15.463 | 0 | 0 | 1.41 | 0.092
4400 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.395
4500 | 0 | 0 | -15.447 | 0 | 0 | 1.334 | 0.395
4600 | 0 | 0 | -15.463 | 0 | 0 | 1.182 | 0.092
4700 | 0 | 0 | -15.463 | 0 | 0 | 1.334 | 0.092
4800 | 0 | 0 | -15.447 | 0 | 0 | 1.41 | -0.06
4900 | 0 | 0 | -15.463 | 0 | 0 | 1.41 | 0.092
5000 | 0 | 0 | -15.463 | 0 | 0 | 1.258 | 0.395
5100 | 0 | 0 | -15.447 | 0 | 0 | 1.182 | 0.092
5200 | 0 | 0 | -15.463 | 0 | 0 | 1.334 | -0.06
5300 | 0 | 0 | -15.463 | 0 | 0 | 1.41 | 0.092
5400 | 0 | 0 | -15.447 | 0 | 0 | 1.258 | 0.092
5500 | 0 | 0 | -15.463 | 0 | 0 | 1.258 | 0.092
5600 | 0 | 0 | -15.463 | 0 | 0 | 1.334 | -0.06
5700 | 0 | 0 | -15.463 | 0 | 0 | 1.41 | 0.092
5800 | 0 | 0 | -15.463 | 0 | 0 | 1.334 | 0.092
5900 | 0 | 0 | -15.447 | 0 | 0 | 1.258 | -0.06
6000 | 0 | 0 | -15.463 | 0 | 0 | 1.258 | -0.06
6100 | 0 | 0 | -15.463 | 0 | 0 | 1.41 | -0.363
6200 | 0 | 0 | -15.463 | 0 | 0 | 1.258 | 0.243
6300 | 0 | 0 | -15.463 | 0 | 0 | 1.258 | 0.243
6400 | 0 | 0 | -15.463 | 0 | 0 | 1.258 | 0.243
6500 | 0 | 0 | -15.463 | 0 | 0 | 1.41 | 0.395
6600 | 0 | 0 | -15.48 | 0 | 0 | 1.41 | 0.092
6700 | 0 | 0 | -15.463 | 0 | 0 | 1.334 | -0.06
6800 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.092
6900 | 0 | 0 | -15.463 | 0 | 0 | 1.258 | 0.546
7000 | 0 | 0 | -15.463 | 0 | 0 | 1.334 | -0.06
7100 | 0 | 0 | -15.463 | 0 | 0 | 1.41 | -0.06
7200 | 0 | 0 | -15.48 | 0 | 0 | 1.485 | -0.514
7300 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.092
7400 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.092
7500 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | -0.514
7600 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | -0.514
7700 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | 0.395
7800 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.243
7900 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | 0.546
8000 | 0 | 0 | -15.463 | 0 | 0 | 1.41 | -0.06
8100 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | -0.06
8200 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.243
8300 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.395
8400 | 0 | 0 | -15.48 | 0 | 0 | 1.41 | 0.092
8500 | 0 | 0 | -15.48 | 0 | 0 | 1.41 | 0.092
8600 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.395
8700 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | -0.06
8800 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.395
8900 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | 0.092
9000 | 0 | 0 | -15.48 | 0 | 0 | 1.41 | 0.092
9100 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | 0.243
9200 | 0 | 0 | -15.48 | 0 | 0 | 1.182 | -0.363
9300 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.243
9400 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | -0.06
9500 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | -0.06
9600 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.243
9700 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.243
9800 | 0 | 0 | -15.497 | 0 | 0 | 1.41 | 0.092
9900 | 0 | 0 | -15.48 | 0 | 0 | 1.41 | 0.092
10000 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.243
10100 | 0 | 0 | -15.48 | 0 | 0 | 1.41 | 0.243
10200 | 0 | 0 | -15.48 | 0 | 0 | 1.41 | 0.092
10300 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | -0.06
10400 | 0 | 0 | -15.48 | 0 | 0 | 1.258 | 0.092
10500 | 0 | 0 | -15.497 | 0 | 0 | 1.334 | 0.395
10600 | 0 | 0 | -15.497 | 0 | 0 | 1.41 | -0.06
10700 | 0 | 0 | -15.497 | 0 | 0 | 1.334 | 0.092
10800 | 0 | 0 | -15.497 | 0 | 0 | 1.334 | 0.395
10900 | 0 | 0 | -15.497 | 0 | 0 | 1.334 | 0.546
11000 | 0 | 0 | -15.497 | 0 | 0 | 1.258 | 0.243
11100 | 0 | 0 | -15.48 | 0 | 0 | 1.334 | 0.243
11200 | 0 | 0 | -15.497 | 0 | 0 | 1.41 | 0.243
11300 | 0 | 0 | -15.497 | 0 | 0 | 1.41 | 0.092
11400 | 0 | 0 | -15.497 | 0 | 0 | 1.182 | -0.06
11500 | 0 | 0 | -15.497 | 0 | 0 | 1.182 | 0.092
11600 | 0 | 0 | -15.497 | 0 | 0 | 1.485 | 0.243
11700 | 0 | 0 | -15.497 | 0 | 0 | 1.485 | 0.395
11800 | 0 | 0 | -15.497 | 0 | 0 | 1.258 | 0.243
11900 | 0 | 0 | -15.497 | 0 | 0 | 1.182 | -0.06
12000 | 0 | 0 | -15.497 | 0 | 0 | 1.334 | 0.243
12100 | 0 | 0 | -15.497 | 0 | 0 | 1.258 | -0.06
12200 | 0 | 0 | -15.497 | 0 | 0 | 1.334 | 0.092
12300 | 0 | 0 | -15.497 | 0 | 0 | 1.182 | 0.092
12400 | 0 | 0 | -15.497 | 0 | 0 | 1.334 | 0.092
12500 | 0 | 0 | -15.497 | 0 | 0 | 1.41 | 0.243
12600 | 0 | 0 | -15.497 | 0 | 0 | 1.41 | 0.395
12700 | 0 | 0 | -15.497 | 0 | 0 | 1.258 | -0.06
12800 | 0 | 0 | -15.497 | 0 | 0 | 1.258 | 0.092
12900 | 0 | 0 | -15.497 | 0 | 0 | 1.41 | 0.243
13000 | 0 | 0 | -15.514 | 0 | 0 | 1.182 | -0.06
13100 | 0 | 0 | -15.497 | 0 | 0 | 1.334 | 0.395
13200 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | 0.092
13300 | 0 | 0 | -15.514 | 0 | 0 | 1.334 | 0.395
13400 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | 0.395
13500 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | 0.092
13600 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | -0.06
13700 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | -0.06
13800 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | 0.092
13900 | 0 | 0 | -15.514 | 0 | 0 | 1.485 | 0.092
14000 | 0 | 0 | -15.514 | 0 | 0 | 1.485 | -0.514
14100 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | 0.395
14200 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | 0.092
14300 | 0 | 0 | -15.514 | 0 | 0 | 1.334 | -0.06
14400 | 0 | 0 | -15.514 | 0 | 0 | 1.485 | 0.092
14500 | 0 | 0 | -15.514 | 0 | 0 | 1.485 | 0.546
14600 | 0 | 0 | -15.514 | 0 | 0 | 1.182 | 0.243
14700 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | -0.06
14800 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | 0.395
14900 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | -0.666
15000 | 0 | 0 | -15.514 | 0 | 0 | 1.485 | 0.092
15100 | 0 | 0 | -15.514 | 0 | 0 | 1.334 | -0.06
15200 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | 0.243
15300 | 0 | 0 | -15.514 | 0 | 0 | 1.182 | 0.092
15400 | 0 | 0 | -15.514 | 0 | 0 | 1.485 | 0.092
15500 | 0 | 0 | -15.514 | 0 | 0 | 1.485 | 0.243
15600 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | 0.092
15700 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | 0.243
15800 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | -0.06
15900 | 0 | 0 | -15.53 | 0 | 0 | 1.41 | -0.06
16000 | 0 | 0 | -15.53 | 0 | 0 | 1.41 | 0.092
16100 | 0 | 0 | -15.514 | 0 | 0 | 1.334 | 0.092
16200 | 0 | 0 | -15.514 | 0 | 0 | 1.334 | 0.546
16300 | 0 | 0 | -15.53 | 0 | 0 | 1.182 | 0.092
16400 | 0 | 0 | -15.514 | 0 | 0 | 1.258 | -0.363
16500 | 0 | 0 | -15.514 | 0 | 0 | 1.41 | 0.092
16600 | 0 | 0 | -15.53 | 0 | 0 | 1.41 | -0.06
16700 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | 0.092
16800 | 0 | 0 | -15.53 | 0 | 0 | 1.41 | 0.243
16900 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | 0.092
17000 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | 0.546
17100 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | -0.06
17200 | 0 | 0 | -15.53 | 0 | 0 | 1.41 | -0.06
17300 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | 0.092
17400 | 0 | 0 | -15.53 | 0 | 0 | 1.258 | -0.363
17500 | 0 | 0 | -15.53 | 0 | 0 | 1.258 | -0.06
17600 | 0 | 0 | -15.53 | 0 | 0 | 1.41 | -0.06
17700 | 0 | 0 | -15.53 | 0 | 0 | 1.334 | -0.06
17800 | 0 | 0 | -15.547 | 0 | 0 | 1.182 | 0.395
17900 | 0 | 0 | -15.53 | 0 | 0 | 1.258 | 0.395
18000 | 0 | 0 | -15.547 | 0 | 0 | 1.41 | 0.092
18100 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | -0.06
18200 | 0 | 0 | -15.547 | 0 | 0 | 1.334 | -0.06
18300 | 0 | 0 | -15.547 | 0 | 0 | 1.334 | -0.06
18400 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | 0.395
18500 | 0 | 0 | -15.547 | 0 | 0 | 1.41 | 0.092
18600 | 0 | 0 | -15.53 | 0 | 0 | 1.485 | 0.243
18700 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | 0.092
18800 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | 0.395
18900 | 0 | 0 | -15.53 | 0 | 0 | 1.258 | 0.395
19000 | 0 | 0 | -15.547 | 0 | 0 | 1.41 | 0.092
19100 | 0 | 0 | -15.547 | 0 | 0 | 1.41 | 0.092
19200 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | -0.363
19300 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | 0.395
19400 | 0 | 0 | -15.547 | 0 | 0 | 1.334 | 0.243
19500 | 0 | 0 | -15.547 | 0 | 0 | 1.485 | 0.092
19600 | 0 | 0 | -15.547 | 0 | 0 | 1.41 | -0.06
19700 | 0 | 0 | -15.547 | 0 | 0 | 1.334 | 0.092
19800 | 0 | 0 | -15.547 | 0 | 0 | 1.334 | 0.243
19900 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | 0.395
20000 | 0 | 0 | -15.547 | 0 | 0 | 1.561 | 0.092
20100 | 0 | 0 | -15.547 | 0 | 0 | 1.334 | -0.06
20200 | 0 | 0 | -15.547 | 0 | 0 | 1.182 | 0.092
20300 | 0 | 0 | -15.547 | 0 | 0 | 1.41 | 0.395
20400 | 0 | 0 | -15.547 | 0 | 0 | 1.41 | 0.243
20500 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | -0.06
20600 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | -0.06
20700 | 0 | 0 | -15.547 | 0 | 0 | 1.41 | 0.395
20800 | 0 | 0 | -15.547 | 0 | 0 | 1.485 | 0.243
20900 | 0 | 0 | -15.547 | 0 | 0 | 1.485 | 0.243
21000 | 0 | 0 | -15.581 | 0 | 0 | 1.182 | 0.092
21100 | 0 | 0 | -15.581 | 0 | 0 | 1.334 | 0.243
21200 | 0 | 0 | -15.581 | 0 | 0 | 1.41 | 0.243
21300 | 0 | 0 | -15.547 | 0 | 0 | 1.334 | -0.363
21400 | 0 | 0 | -15.581 | 0 | 0 | 1.258 | -0.06
21500 | 0 | 0 | -15.581 | 0 | 0 | 1.485 | 0.546
21600 | 0 | 0 | -15.581 | 0 | 0 | 1.258 | -0.06
21700 | 0 | 0 | -15.547 | 0 | 0 | 1.258 | -0.514
21800 | 0 | 0 | -15.581 | 0 | 0 | 1.334 | 0.092
21900 | 0 | 0 | -15.581 | 0 | 0 | 1.334 | 0.092
22000 | 0 | 0 | -15.547 | 0 | 0 | 1.334 | 0.092
22100 | 0 | 0 | -15.581 | 0 | 0 | 1.334 | 0.092
22200 | 0 | 0 | -15.581 | 0 | 0 | 1.258 | 0.092
22300 | 0 | 0 | -15.581 | 0 | 0 | 1.41 | 0.092
22400 | 0 | 0 | -15.581 | 0 | 0 | 1.334 | -0.06
22500 | 0 | 0 | -15.581 | 0 | 0 | 1.41 | 0.395
22600 | 0 | 0 | -15.581 | 0 | 0 | 1.41 | 0.092
22700 | 0 | 0 | -15.581 | 0 | 0 | 1.258 | 0.092
22800 | 0 | 0 | -15.581 | 0 | 0 | 1.182 | -0.06
22900 | 0 | 0 | -15.581 | 0 | 0 | 1.334 | 0.092
23000 | 0 | 0 | -15.581 | 0 | 0 | 1.41 | 0.092
23100 | 0 | 0 | -15.581 | 0 | 0 | 1.258 | 0.092
23200 | 0 | 0 | -15.581 | 0 | 0 | 1.258 | 0.243
23300 | 0 | 0 | -15.581 | 0 | 0 | 1.258 | -0.06
23400 | 0 | 0 | -15.581 | 0 | 0 | 1.41 | 0.243
23500 | 0 | 0 | -15.581 | 0 | 0 | 1.485 | 0.092
23600 | 0 | 0 | -15.597 | 0 | 0 | 1.334 | 0.395
23700 | 0.04 | 0.04 | -15.581 | 0 | -0.184 | 1.41 | 0.395
23800 | 0.081 | 0.081 | -15.581 | 0 | -0.108 | 1.41 | 0.395
23900 | 0.121 | 0.133 | -15.581 | 0 | -0.184 | 1.334 | -0.06
24000 | 0.161 | 0.189 | -15.581 | 0 | -0.108 | 1.258 | -0.06
24100 | 0.202 | 0.25 | -15.581 | 0 | -0.108 | 1.031 | 0.092
24200 | 0.242 | 0.314 | -15.581 | 0 | -0.108 | 0.955 | 0.243
24300 | 0.282 | 0.383 | -15.581 | 0 | -0.032 | 0.955 | 0.395
24400 | 0.323 | 0.456 | -15.581 | 0 | -0.032 | 0.879 | 1.001
24500 | 0.363 | 0.532 | -15.581 | 0 | -0.032 | 0.728 | 1.304
24600 | 0.403 | 0.613 | -15.581 | 0 | -0.108 | 0.879 | 1.304
24700 | 0.443 | 0.697 | -15.581 | 0 | -0.184 | 1.107 | 1.759
24800 | 0.484 | 0.786 | -15.581 | 0 | -0.108 | 1.485 | 2.668
24900 | 0.524 | 0.879 | -15.581 | 0 | -0.108 | 2.395 | 5.244
25000 | 0.564 | 0.925 | -15.53 | 0 | -0.108 | 4.213 | 8.426
25100 | 0.605 | 0.976 | -15.48 | 311.977 | -0.108 | 7.622 | 12.365
25200 | 0.645 | 0.997 | -15.396 | 311.971 | -0.108 | 12.85 | 19.184
25300 | 0.685 | 1.022 | -15.312 | 519.954 | -0.108 | 18.911 | 27.215
25400 | 0.726 | 1.034 | -15.212 | 519.96 | 0.044 | 27.623 | 37.67
25500 | 0.766 | 1.05 | -15.111 | 623.942 | 0.119 | 34.745 | 48.277
25600 | 0.806 | 1.071 | -15.011 | 623.936 | 0.195 | 42.776 | 58.126
25700 | 0.847 | 1.095 | -14.91 | 623.948 | -0.108 | 49.216 | 65.551
25800 | 0.887 | 1.073 | -14.759 | 623.942 | 0.271 | 57.247 | 75.248
25900 | 0.927 | 1.089 | -14.642 | 935.919 | 0.422 | 62.55 | 81.764
26000 | 0.968 | 1.108 | -14.524 | 727.931 | 0.422 | 67.172 | 87.825
26100 | 1.008 | 1.115 | -14.39 | 727.936 | 0.422 | 70.657 | 92.825
26200 | 1.048 | 1.143 | -14.273 | 831.925 | 0.498 | 74.066 | 96.916
26300 | 1.089 | 1.158 | -14.139 | 727.936 | 0.649 | 77.627 | 101.917
26400 | 1.129 | 1.16 | -13.988 | 831.937 | 0.725 | 80.354 | 105.402
26500 | 1.169 | 1.167 | -13.837 | 935.913 | 0.801 | 82.703 | 108.887
26600 | 1.209 | 1.194 | -13.703 | 935.913 | 0.649 | 84.597 | 110.554
26700 | 1.25 | 1.208 | -13.552 | 831.925 | 0.725 | 86.643 | 113.13
26800 | 1.29 | 1.243 | -13.417 | 935.913 | 2.164 | 87.4 | 115.251
26900 | 1.33 | 1.283 | -13.283 | 831.937 | 8.38 | 83.612 | 121.767
27000 | 1.371 | 1.292 | -13.116 | 831.925 | 9.516 | 83.612 | 125.403
27100 | 1.411 | 1.323 | -12.965 | 1039.902 | 9.819 | 84.824 | 127.525
27200 | 1.451 | 1.324 | -12.78 | 935.913 | 10.425 | 85.658 | 130.252
27300 | 1.492 | 1.346 | -12.612 | 1143.902 | 10.728 | 86.415 | 131.767
27400 | 1.532 | 1.338 | -12.411 | 1039.902 | 11.183 | 87.324 | 133.282
27500 | 1.572 | 1.334 | -12.21 | 1247.896 | 11.41 | 88.082 | 134.646
27600 | 1.613 | 1.367 | -12.041 | 1247.89 | 10.956 | 88.84 | 135.101
27700 | 1.653 | 1.388 | -11.857 | 1046.401 | 11.713 | 87.931 | 136.01
27800 | 1.693 | 1.396 | -11.656 | 1143.902 | 12.546 | 88.006 | 137.374
27900 | 1.734 | 1.375 | -11.421 | 1247.884 | 12.47 | 88.537 | 138.434
28000 | 1.774 | 1.409 | -11.236 | 1455.867 | 12.47 | 89.597 | 138.131
28100 | 1.814 | 1.429 | -11.035 | 1143.908 | 12.546 | 89.522 | 138.737
28200 | 1.855 | 1.437 | -10.817 | 1247.89 | 13.304 | 88.84 | 139.798
28300 | 1.895 | 1.465 | -10.616 | 1351.873 | 13.531 | 88.537 | 140.556
28400 | 1.935 | 1.498 | -10.415 | 1247.89 | 14.288 | 88.309 | 141.313
28500 | 1.975 | 1.501 | -10.18 | 1247.89 | 15.349 | 87.627 | 143.283
28600 | 2.016 | 1.475 | -9.911 | 1455.867 | 15.652 | 87.476 | 144.495
28700 | 2.056 | 1.519 | -9.71 | 1663.856 | 15.122 | 88.158 | 143.889
28800 | 2.096 | 1.535 | -9.475 | 1247.884 | 15.955 | 88.234 | 144.647
28900 | 2.137 | 1.571 | -9.257 | 1455.873 | 17.015 | 87.173 | 145.253
29000 | 2.177 | 1.56 | -8.989 | 1351.879 | 18.151 | 86.34 | 146.92
29100 | 2.217 | 1.604 | -8.771 | 1663.85 | 18.151 | 86.264 | 148.132
29200 | 2.258 | 1.619 | -8.52 | 1351.885 | 18.606 | 85.506 | 149.193
29300 | 2.298 | 1.621 | -8.251 | 1559.855 | 20.499 | 84.673 | 149.95
29400 | 2.338 | 1.61 | -7.966 | 1663.856 | 20.499 | 84.9 | 150.556
29500 | 2.379 | 1.618 | -7.697 | 1767.844 | 20.121 | 85.506 | 150.708
29600 | 2.419 | 1.666 | -7.462 | 1670.349 | 20.499 | 85.582 | 150.859
29700 | 2.419 | 1.639 | -7.194 | 1455.87 | 21.711 | 84.673 | 151.617
29800 | 2.419 | 1.596 | -6.909 | 1663.85 | 21.636 | 84.294 | 152.526
29900 | 2.419 | 1.587 | -6.657 | 1767.844 | 19.969 | 86.036 | 152.072
30000 | 2.419 | 1.56 | -6.389 | 1559.858 | 19.212 | 87.097 | 150.556
30100 | 2.419 | 1.551 | -6.137 | 1663.856 | 18.303 | 87.324 | 150.102
30200 | 2.419 | 1.558 | -5.902 | 1559.858 | 17.924 | 87.779 | 148.89
30300 | 2.419 | 1.514 | -5.617 | 1455.87 | 18.151 | 87.552 | 148.89
30400 | 2.419 | 1.505 | -5.366 | 1767.844 | 17.545 | 88.158 | 147.677
30500 | 2.419 | 1.545 | -5.165 | 1559.861 | 16.106 | 89.219 | 146.92
30600 | 2.419 | 1.536 | -4.913 | 1247.893 | 17.394 | 87.097 | 147.223
30700 | 2.419 | 1.543 | -4.678 | 1559.858 | 17.318 | 87.627 | 147.526
30800 | 2.419 | 1.55 | -4.443 | 1455.87 | 17.242 | 87.552 | 147.071
30900 | 2.419 | 1.574 | -4.225 | 1455.87 | 17.697 | 87.097 | 147.98
31000 | 2.419 | 1.531 | -3.94 | 1351.879 | 18.454 | 86.188 | 148.283
31100 | 2.419 | 1.555 | -3.722 | 1767.843 | 17.394 | 86.946 | 148.587
31200 | 2.419 | 1.561 | -3.487 | 1351.882 | 17.621 | 88.006 | 147.829
31300 | 2.419 | 1.534 | -3.218 | 1462.369 | 18.227 | 86.643 | 148.435
31400 | 2.298 | 1.404 | -2.967 | 1663.85 | 17.394 | 88.006 | 148.435
31500 | 2.177 | 1.311 | -2.765 | 1559.86 | 13.834 | 90.885 | 146.92
31600 | 2.056 | 1.14 | -2.497 | 1247.892 | 9.971 | 95.81 | 140.404
31700 | 1.935 | 1.073 | -2.346 | 1663.851 | 6.406 | 96.34 | 138.131
31800 | 1.814 | 0.978 | -2.179 | 935.916 | 4.058 | 97.931 | 131.767
31900 | 1.693 | 0.921 | -2.061 | 1039.906 | 3.376 | 95.734 | 128.282
32000 | 1.572 | 0.869 | -1.961 | 727.935 | 2.467 | 93.158 | 123.888
32100 | 1.451 | 0.822 | -1.877 | 623.947 | 1.71 | 91.34 | 119.645
32200 | 1.33 | 0.762 | -1.793 | 519.952 | 1.558 | 88.006 | 114.796
32300 | 1.209 | 0.69 | -1.709 | 519.954 | 0.877 | 84.597 | 110.099
32400 | 1.089 | 0.64 | -1.659 | 519.955 | 0.422 | 81.415 | 105.25
32500 | 0.968 | 0.544 | -1.575 | 311.973 | 0.498 | 77.778 | 99.038
32600 | 0.847 | 0.486 | -1.541 | 519.951 | -0.108 | 73.687 | 93.886
32700 | 0.726 | 0.433 | -1.524 | 207.984 | -0.259 | 69.444 | 87.673
32800 | 0.605 | 0.351 | -1.491 | 103.989 | 0.044 | 65.581 | 83.431
32900 | 0.484 | 0.257 | -1.457 | 207.981 | -0.108 | 61.565 | 78.885
33000 | 0.363 | 0.185 | -1.457 | 207.981 | -0.032 | 58.686 | 75.4
33100 | 0.242 | 0.083 | -1.441 | 0 | -0.032 | 55.353 | 71.006
33200 | 0.121 | 0 | -1.441 | 103.992 | -0.032 | 53.155 | 68.127