## Data
Log File Data
2007-10-31 09:19 | MERIT Configuration Data
Test Description: Shot 8003, 0T field, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071031 logfile.txt
Trigger-Pulse Delay (s) = 13.970000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.849 | 0 | 0 | 1.107 | -0.363
100 | 0 | 0 | -15.849 | 0 | 0 | 1.182 | -0.514
200 | 0 | 0 | -15.849 | 0 | 0 | 1.182 | -0.817
300 | 0 | 0 | -15.849 | 0 | 0 | 0.879 | -0.06
400 | 0 | 0 | -15.849 | 0 | 0 | 0.955 | -0.06
500 | 0 | 0 | -15.849 | 0 | 0 | 0.955 | -0.363
600 | 0 | 0 | -15.849 | 0 | 0 | 1.258 | -0.817
700 | 0 | 0 | -15.849 | 0 | 0 | 1.031 | -0.666
800 | 0 | 0 | -15.849 | 0 | 0 | 1.182 | -0.817
900 | 0 | 0 | -15.849 | 0 | 0 | 1.031 | -0.817
1000 | 0 | 0 | -15.849 | 0 | 0 | 1.107 | -0.514
1100 | 0 | 0 | -15.849 | 0 | 0 | 1.258 | -0.969
1200 | 0 | 0 | -15.849 | 0 | 0 | 1.258 | -0.817
1300 | 0 | 0 | -15.849 | 0 | 0 | 1.107 | -0.363
1400 | 0 | 0 | -15.849 | 0 | 0 | 0.955 | -0.817
1500 | 0 | 0 | -15.849 | 0 | 0 | 0.879 | -0.363
1600 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.666
1700 | 0 | 0 | -15.849 | 0 | 0 | 1.334 | -0.817
1800 | 0 | 0 | -15.866 | 0 | 0 | 1.107 | -0.666
1900 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.817
2000 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.666
2100 | 0 | 0 | -15.866 | 0 | 0 | 1.258 | -0.514
2200 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.969
2300 | 0 | 0 | -15.866 | 0 | 0 | 0.955 | -0.969
2400 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.514
2500 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.666
2600 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.969
2700 | 0 | 0 | -15.866 | 0 | 0 | 1.258 | -0.514
2800 | 0 | 0 | -15.866 | 0 | 0 | 1.258 | -0.514
2900 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.969
3000 | 0 | 0 | -15.866 | 0 | 0 | 0.955 | -0.817
3100 | 0 | 0 | -15.866 | 0 | 0 | 0.955 | -0.514
3200 | 0 | 0 | -15.866 | 0 | 0 | 0.955 | -0.514
3300 | 0 | 0 | -15.866 | 0 | 0 | 1.107 | -0.363
3400 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | 0.092
3500 | 0 | 0 | -15.866 | 0 | 0 | 1.107 | -0.514
3600 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.363
3700 | 0 | 0 | -15.866 | 0 | 0 | 1.258 | -0.514
3800 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.666
3900 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.817
4000 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.666
4100 | 0 | 0 | -15.866 | 0 | 0 | 0.955 | -0.363
4200 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.666
4300 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.514
4400 | 0 | 0 | -15.866 | 0 | 0 | 1.107 | -0.817
4500 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.514
4600 | 0 | 0 | -15.883 | 0 | 0 | 1.107 | -0.817
4700 | 0 | 0 | -15.866 | 0 | 0 | 0.955 | -0.969
4800 | 0 | 0 | -15.883 | 0 | 0 | 1.031 | -0.363
4900 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.514
5000 | 0 | 0 | -15.883 | 0 | 0 | 1.182 | -0.666
5100 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.06
5200 | 0 | 0 | -15.883 | 0 | 0 | 0.879 | -0.969
5300 | 0 | 0 | -15.883 | 0 | 0 | 1.031 | -0.969
5400 | 0 | 0 | -15.883 | 0 | 0 | 1.031 | -0.363
5500 | 0 | 0 | -15.866 | 0 | 0 | 1.258 | -0.06
5600 | 0 | 0 | -15.883 | 0 | 0 | 1.182 | -0.363
5700 | 0 | 0 | -15.866 | 0 | 0 | 0.955 | -0.817
5800 | 0 | 0 | -15.866 | 0 | 0 | 1.031 | -0.969
5900 | 0 | 0 | -15.883 | 0 | 0 | 1.182 | -0.514
6000 | 0 | 0 | -15.866 | 0 | 0 | 1.182 | -0.817
6100 | 0 | 0 | -15.883 | 0 | 0 | 1.182 | -0.514
6200 | 0 | 0 | -15.883 | 0 | 0 | 1.031 | -0.363
6300 | 0 | 0 | -15.883 | 0 | 0 | 0.955 | -0.514
6400 | 0 | 0 | -15.883 | 0 | 0 | 1.182 | -0.817
6500 | 0 | 0 | -15.883 | 0 | 0 | 1.031 | -0.514
6600 | 0 | 0 | -15.883 | 0 | 0 | 1.107 | -0.514
6700 | 0 | 0 | -15.883 | 0 | 0 | 0.955 | -0.817
6800 | 0 | 0 | -15.883 | 0 | 0 | 1.107 | -0.514
6900 | 0.04 | 0.04 | -15.883 | 0 | 7.32 | 0.955 | -0.514
7000 | 0.081 | 0.081 | -15.883 | 0 | 7.32 | 1.182 | -0.514
7100 | 0.121 | 0.133 | -15.883 | 0 | 7.32 | 1.107 | -0.817
7200 | 0.161 | 0.189 | -15.883 | 0 | 7.32 | 1.031 | -0.969
7300 | 0.202 | 0.25 | -15.883 | 0 | 7.32 | 0.955 | -0.06
7400 | 0.242 | 0.314 | -15.883 | 0 | 7.396 | 0.728 | -0.363
7500 | 0.282 | 0.383 | -15.883 | 0 | 7.32 | 0.576 | 0.243
7600 | 0.323 | 0.456 | -15.883 | 0 | 7.32 | 0.425 | 0.395
7700 | 0.363 | 0.532 | -15.883 | 0 | 7.32 | 0.576 | 0.243
7800 | 0.403 | 0.613 | -15.883 | 0 | 7.32 | 0.804 | 0.546
7900 | 0.443 | 0.697 | -15.883 | 0 | 7.32 | 0.576 | 0.698
8000 | 0.484 | 0.786 | -15.883 | 0 | 7.32 | 1.258 | 1.759
8100 | 0.524 | 0.879 | -15.883 | 0 | 7.32 | 2.319 | 4.031
8200 | 0.564 | 0.959 | -15.866 | 0 | 7.32 | 3.682 | 7.213
8300 | 0.605 | 1.026 | -15.832 | 103.988 | 7.32 | 6.258 | 11.911
8400 | 0.645 | 1.047 | -15.748 | 207.977 | 7.244 | 11.335 | 18.578
8500 | 0.685 | 1.072 | -15.665 | 519.96 | 7.32 | 17.85 | 26.457
8600 | 0.726 | 1.051 | -15.53 | 519.954 | 7.32 | 28.154 | 38.125
8700 | 0.766 | 1.084 | -15.447 | 831.925 | 7.32 | 35.882 | 48.731
8800 | 0.806 | 1.087 | -15.329 | 519.96 | 7.32 | 43.231 | 58.732
8900 | 0.847 | 1.095 | -15.212 | 727.936 | 7.32 | 50.428 | 67.369
9000 | 0.887 | 1.107 | -15.094 | 727.931 | 7.32 | 57.701 | 75.551
9100 | 0.927 | 1.122 | -14.977 | 727.925 | 7.32 | 62.929 | 82.976
9200 | 0.968 | 1.142 | -14.86 | 727.936 | 7.32 | 67.02 | 89.189
9300 | 1.008 | 1.132 | -14.709 | 727.936 | 7.32 | 71.035 | 95.098
9400 | 1.048 | 1.16 | -14.591 | 935.925 | 7.32 | 75.354 | 98.432
9500 | 1.089 | 1.158 | -14.44 | 727.936 | 7.32 | 77.475 | 102.523
9600 | 1.129 | 1.177 | -14.306 | 935.913 | 7.396 | 80.657 | 105.856
9700 | 1.169 | 1.183 | -14.155 | 831.925 | 7.32 | 83.006 | 108.432
9800 | 1.209 | 1.194 | -14.004 | 935.913 | 7.32 | 84.673 | 111.614
9900 | 1.25 | 1.208 | -13.853 | 935.925 | 7.32 | 85.961 | 113.281
10000 | 1.29 | 1.243 | -13.719 | 935.913 | 7.32 | 87.4 | 115.857
10100 | 1.33 | 1.283 | -13.585 | 831.925 | 7.471 | 84.749 | 120.403
10200 | 1.371 | 1.292 | -13.417 | 831.925 | 9.062 | 83.461 | 124.949
10300 | 1.411 | 1.306 | -13.25 | 1039.913 | 9.365 | 84.673 | 126.918
10400 | 1.451 | 1.307 | -13.065 | 1039.902 | 9.744 | 86.264 | 128.888
10500 | 1.492 | 1.346 | -12.914 | 1143.902 | 9.516 | 86.946 | 129.949
10600 | 1.532 | 1.338 | -12.713 | 935.913 | 10.198 | 87.324 | 131.616
10700 | 1.572 | 1.368 | -12.545 | 1247.884 | 11.107 | 87.249 | 132.979
10800 | 1.613 | 1.368 | -12.344 | 1039.913 | 11.713 | 87.627 | 134.949
10900 | 1.653 | 1.371 | -12.142 | 1247.89 | 12.167 | 87.476 | 135.707
11000 | 1.693 | 1.396 | -11.957 | 1254.378 | 12.167 | 88.082 | 136.616
11100 | 1.734 | 1.392 | -11.739 | 1143.908 | 12.243 | 88.385 | 137.222
11200 | 1.774 | 1.425 | -11.555 | 1351.879 | 12.167 | 88.537 | 137.828
11300 | 1.814 | 1.446 | -11.354 | 1143.89 | 12.773 | 88.385 | 138.434
11400 | 1.855 | 1.437 | -11.119 | 1247.896 | 13.531 | 88.082 | 139.647
11500 | 1.895 | 1.482 | -10.934 | 1455.867 | 13.379 | 88.082 | 139.798
11600 | 1.935 | 1.481 | -10.7 | 1143.896 | 14.137 | 88.234 | 141.162
11700 | 1.975 | 1.518 | -10.498 | 1455.867 | 14.819 | 87.476 | 142.526
11800 | 2.016 | 1.542 | -10.28 | 1247.896 | 15.576 | 87.249 | 143.435
11900 | 2.056 | 1.553 | -10.046 | 1351.879 | 16.712 | 86.34 | 144.95
12000 | 2.096 | 1.535 | -9.777 | 1455.873 | 17.167 | 86.188 | 146.162
12100 | 2.137 | 1.554 | -9.543 | 1663.85 | 16.712 | 87.097 | 146.314
12200 | 2.177 | 1.56 | -9.291 | 1455.867 | 17.167 | 87.324 | 146.617
12300 | 2.217 | 1.621 | -9.09 | 1559.861 | 17.621 | 86.34 | 146.92
12400 | 2.258 | 1.602 | -8.805 | 1247.89 | 19.136 | 84.749 | 148.283
12500 | 2.298 | 1.604 | -8.536 | 1767.838 | 19.515 | 84.824 | 149.193
12600 | 2.338 | 1.66 | -8.318 | 1663.856 | 19.363 | 85.506 | 149.496
12700 | 2.379 | 1.67 | -8.05 | 1351.885 | 20.651 | 84.294 | 150.102
12800 | 2.419 | 1.666 | -7.764 | 1663.85 | 21.939 | 82.93 | 152.223
12900 | 2.419 | 1.639 | -7.496 | 1774.34 | 21.863 | 83.461 | 152.375
13000 | 2.419 | 1.613 | -7.227 | 1663.85 | 21.711 | 84.597 | 151.769
13100 | 2.419 | 1.587 | -6.959 | 1663.853 | 20.272 | 85.885 | 151.465
13200 | 2.419 | 1.577 | -6.707 | 1663.85 | 18.985 | 86.264 | 150.556
13300 | 2.419 | 1.534 | -6.422 | 1559.864 | 18.454 | 86.567 | 150.102
13400 | 2.419 | 1.558 | -6.204 | 1767.838 | 17.091 | 87.931 | 148.587
13500 | 2.419 | 1.531 | -5.936 | 1351.882 | 17.394 | 87.173 | 148.132
13600 | 2.419 | 1.555 | -5.718 | 1663.856 | 17.015 | 87.249 | 147.829
13700 | 2.419 | 1.545 | -5.466 | 1351.876 | 17.318 | 87.097 | 147.223
13800 | 2.419 | 1.553 | -5.232 | 1559.861 | 17.394 | 87.097 | 147.829
13900 | 2.419 | 1.577 | -5.014 | 1455.87 | 17.545 | 86.794 | 147.829
14000 | 2.419 | 1.55 | -4.745 | 1351.882 | 18.076 | 85.885 | 148.283
14100 | 2.419 | 1.557 | -4.511 | 1663.853 | 17.621 | 86.036 | 148.435
14200 | 2.419 | 1.548 | -4.259 | 1455.867 | 17.242 | 86.87 | 147.526
14300 | 2.419 | 1.555 | -4.024 | 1559.864 | 17.394 | 87.097 | 147.829
14400 | 2.419 | 1.545 | -3.773 | 1455.87 | 17.318 | 86.567 | 147.223
14500 | 2.298 | 1.43 | -3.537 | 1559.86 | 17.091 | 86.946 | 147.98
14600 | 2.177 | 1.287 | -3.285 | 1462.371 | 15.576 | 90.431 | 145.253
14700 | 2.056 | 1.166 | -3.067 | 1559.86 | 9.668 | 94.825 | 142.374
14800 | 1.935 | 1.083 | -2.9 | 1351.882 | 8.456 | 97.477 | 135.404
14900 | 1.814 | 0.988 | -2.732 | 1039.908 | 8.456 | 97.098 | 131.464
15000 | 1.693 | 0.931 | -2.615 | 1039.903 | 8.456 | 95.052 | 128.282
15100 | 1.572 | 0.862 | -2.497 | 727.938 | 8.38 | 93.385 | 123.736
15200 | 1.451 | 0.815 | -2.413 | 727.935 | 8.456 | 92.022 | 118.13
15300 | 1.33 | 0.755 | -2.329 | 519.952 | 8.456 | 87.855 | 114.039
15400 | 1.209 | 0.7 | -2.262 | 519.954 | 8.456 | 85.279 | 108.584
15500 | 1.089 | 0.65 | -2.212 | 415.962 | 8.456 | 81.794 | 104.644
15600 | 0.968 | 0.57 | -2.145 | 311.973 | 8.456 | 77.551 | 98.583
15700 | 0.847 | 0.513 | -2.111 | 415.962 | 8.456 | 73.157 | 93.734
15800 | 0.726 | 0.426 | -2.061 | 207.981 | 8.38 | 68.99 | 87.37
15900 | 0.605 | 0.361 | -2.044 | 311.973 | 8.38 | 64.596 | 82.067
16000 | 0.484 | 0.267 | -2.011 | 103.993 | 8.38 | 61.035 | 76.915
16100 | 0.363 | 0.178 | -1.994 | 207.981 | 8.38 | 57.929 | 73.127
16200 | 0.242 | 0.093 | -1.994 | 103.988 | 8.38 | 55.05 | 70.096
16300 | 0.121 | 0 | -1.994 | 0 | 8.38 | 52.246 | 66.46