## Data
Log File Data
2007-10-31 09:35 | MERIT Configuration Data
Test Description: Shot 8007, 0T field, 4TP
Mode = Triggered
LogFile = C:\MERIT Data\071031 logfile.txt
Trigger-Pulse Delay (s) = 13.970000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.363 | 0 | 0 | 1.258 | -0.514
100 | 0 | 0 | -15.363 | 0 | 0 | 1.41 | 0.243
200 | 0 | 0 | -15.363 | 0 | 0 | 1.258 | 0.092
300 | 0 | 0 | -15.363 | 0 | 0 | 1.258 | -0.363
400 | 0 | 0 | -15.379 | 0 | 0 | 1.258 | -0.363
500 | 0 | 0 | -15.363 | 0 | 0 | 1.41 | -0.06
600 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | 0.243
700 | 0 | 0 | -15.363 | 0 | 0 | 1.182 | 0.243
800 | 0 | 0 | -15.363 | 0 | 0 | 1.258 | -0.817
900 | 0 | 0 | -15.363 | 0 | 0 | 1.334 | -0.363
1000 | 0 | 0 | -15.363 | 0 | 0 | 1.334 | 0.092
1100 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.06
1200 | 0 | 0 | -15.363 | 0 | 0 | 1.334 | -0.06
1300 | 0 | 0 | -15.363 | 0 | 0 | 1.258 | 0.092
1400 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.363
1500 | 0 | 0 | -15.379 | 0 | 0 | 1.258 | -0.363
1600 | 0 | 0 | -15.363 | 0 | 0 | 1.334 | -0.514
1700 | 0 | 0 | -15.363 | 0 | 0 | 1.334 | -0.06
1800 | 0 | 0 | -15.363 | 0 | 0 | 1.182 | 0.395
1900 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.06
2000 | 0 | 0 | -15.363 | 0 | 0 | 1.258 | -0.666
2100 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.06
2200 | 0 | 0 | -15.363 | 0 | 0 | 1.107 | -0.363
2300 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.817
2400 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.817
2500 | 0 | 0 | -15.379 | 0 | 0 | 1.182 | 0.092
2600 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.06
2700 | 0 | 0 | -15.379 | 0 | 0 | 1.182 | 0.092
2800 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.363
2900 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.363
3000 | 0 | 0 | -15.379 | 0 | 0 | 1.258 | -0.363
3100 | 0 | 0 | -15.379 | 0 | 0 | 1.182 | 0.092
3200 | 0 | 0 | -15.379 | 0 | 0 | 1.41 | -0.363
3300 | 0 | 0 | -15.379 | 0 | 0 | 1.41 | -0.666
3400 | 0 | 0 | -15.379 | 0 | 0 | 1.41 | -0.514
3500 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.363
3600 | 0 | 0 | -15.379 | 0 | 0 | 1.182 | -0.06
3700 | 0 | 0 | -15.379 | 0 | 0 | 1.182 | 0.243
3800 | 0 | 0 | -15.396 | 0 | 0 | 1.182 | 0.395
3900 | 0 | 0 | -15.379 | 0 | 0 | 1.41 | -0.06
4000 | 0 | 0 | -15.379 | 0 | 0 | 1.258 | 0.092
4100 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | 0.092
4200 | 0 | 0 | -15.379 | 0 | 0 | 1.334 | -0.969
4300 | 0 | 0 | -15.379 | 0 | 0 | 1.258 | -0.817
4400 | 0 | 0 | -15.396 | 0 | 0 | 1.182 | -0.514
4500 | 0 | 0 | -15.379 | 0 | 0 | 1.258 | 0.092
4600 | 0 | 0 | -15.396 | 0 | 0 | 1.41 | -0.363
4700 | 0 | 0 | -15.379 | 0 | 0 | 1.258 | -0.514
4800 | 0 | 0 | -15.396 | 0 | 0 | 1.334 | -0.363
4900 | 0 | 0 | -15.396 | 0 | 0 | 1.258 | 0.395
5000 | 0 | 0 | -15.396 | 0 | 0 | 1.182 | -0.363
5100 | 0 | 0 | -15.396 | 0 | 0 | 1.258 | -0.06
5200 | 0 | 0 | -15.396 | 0 | 0 | 1.258 | -0.363
5300 | 0 | 0 | -15.396 | 0 | 0 | 1.182 | -0.363
5400 | 0 | 0 | -15.396 | 0 | 0 | 1.41 | 0.092
5500 | 0 | 0 | -15.396 | 0 | 0 | 1.334 | -0.514
5600 | 0 | 0 | -15.396 | 0 | 0 | 1.258 | 0.092
5700 | 0 | 0 | -15.396 | 0 | 0 | 1.258 | -0.363
5800 | 0 | 0 | -15.396 | 0 | 0 | 1.182 | -0.06
5900 | 0 | 0 | -15.396 | 0 | 0 | 1.334 | 0.243
6000 | 0 | 0 | -15.396 | 0 | 0 | 1.485 | 0.395
6100 | 0 | 0 | -15.396 | 0 | 0 | 1.334 | -0.363
6200 | 0 | 0 | -15.413 | 0 | 0 | 1.258 | -0.06
6300 | 0 | 0 | -15.413 | 0 | 0 | 1.182 | 0.092
6400 | 0 | 0 | -15.413 | 0 | 0 | 1.41 | 0.092
6500 | 0 | 0 | -15.396 | 0 | 0 | 1.258 | -0.363
6600 | 0 | 0 | -15.413 | 0 | 0 | 1.258 | -0.363
6700 | 0 | 0 | -15.396 | 0 | 0 | 1.258 | -0.363
6800 | 0 | 0 | -15.413 | 0 | 0 | 1.182 | -0.363
6900 | 0.04 | 0.04 | -15.413 | 0 | 10.501 | 1.41 | 0.092
7000 | 0.081 | 0.064 | -15.396 | 0 | 10.501 | 1.41 | 0.092
7100 | 0.121 | 0.133 | -15.413 | 103.988 | 10.501 | 1.485 | 0.243
7200 | 0.161 | 0.173 | -15.396 | -103.988 | 10.577 | 1.182 | -0.06
7300 | 0.202 | 0.25 | -15.413 | 103.988 | 10.501 | 1.031 | -0.363
7400 | 0.242 | 0.298 | -15.396 | -103.988 | 10.577 | 1.031 | 0.698
7500 | 0.282 | 0.366 | -15.396 | 103.988 | 10.577 | 0.955 | 0.546
7600 | 0.323 | 0.439 | -15.396 | 0 | 10.577 | 0.804 | 1.001
7700 | 0.363 | 0.515 | -15.396 | 0 | 10.501 | 0.728 | 0.849
7800 | 0.403 | 0.613 | -15.413 | 0 | 10.577 | 0.5 | 0.849
7900 | 0.443 | 0.697 | -15.413 | -103.988 | 10.577 | 0.804 | 1.001
8000 | 0.484 | 0.769 | -15.396 | 0 | 10.501 | 1.334 | 2.365
8100 | 0.524 | 0.862 | -15.396 | 103.988 | 10.577 | 2.849 | 4.486
8200 | 0.564 | 0.959 | -15.396 | 0 | 10.501 | 3.607 | 7.213
8300 | 0.605 | 1.043 | -15.379 | 0 | 10.501 | 6.183 | 11.153
8400 | 0.645 | 1.014 | -15.245 | 103.988 | 10.501 | 11.941 | 19.184
8500 | 0.685 | 1.039 | -15.161 | 831.925 | 10.501 | 20.502 | 28.427
8600 | 0.726 | 1.051 | -15.061 | 519.96 | 10.501 | 29.063 | 39.488
8700 | 0.766 | 1.084 | -14.977 | 623.942 | 10.501 | 36.867 | 49.944
8800 | 0.806 | 1.087 | -14.86 | 519.948 | 10.501 | 44.973 | 59.49
8900 | 0.847 | 1.078 | -14.725 | 727.936 | 10.577 | 52.777 | 69.642
9000 | 0.887 | 1.09 | -14.608 | 831.937 | 10.501 | 58.686 | 76.915
9100 | 0.927 | 1.106 | -14.491 | 727.936 | 10.501 | 64.368 | 83.885
9200 | 0.968 | 1.108 | -14.357 | 727.931 | 10.577 | 68.687 | 89.795
9300 | 1.008 | 1.132 | -14.239 | 831.925 | 10.501 | 72.248 | 94.492
9400 | 1.048 | 1.143 | -14.105 | 727.936 | 10.501 | 75.505 | 98.735
9500 | 1.089 | 1.158 | -13.971 | 831.925 | 10.501 | 78.536 | 102.674
9600 | 1.129 | 1.16 | -13.82 | 831.925 | 10.501 | 81.415 | 106.463
9700 | 1.169 | 1.183 | -13.686 | 935.913 | 10.577 | 83.461 | 109.341
9800 | 1.209 | 1.177 | -13.518 | 831.925 | 10.577 | 85.506 | 111.463
9900 | 1.25 | 1.208 | -13.384 | 1039.913 | 10.577 | 86.946 | 113.887
10000 | 1.29 | 1.21 | -13.216 | 831.925 | 10.501 | 88.082 | 115.251
10100 | 1.33 | 1.266 | -13.099 | 1039.902 | 10.501 | 85.43 | 120.706
10200 | 1.371 | 1.292 | -12.948 | 727.936 | 10.501 | 83.764 | 124.039
10300 | 1.411 | 1.323 | -12.797 | 935.913 | 10.501 | 85.203 | 126.312
10400 | 1.451 | 1.307 | -12.596 | 935.925 | 10.501 | 85.733 | 128.737
10500 | 1.492 | 1.329 | -12.428 | 1247.878 | 10.577 | 86.87 | 131.161
10600 | 1.532 | 1.321 | -12.227 | 1039.913 | 10.577 | 87.552 | 132.222
10700 | 1.572 | 1.35 | -12.058 | 1247.896 | 10.728 | 88.082 | 133.434
10800 | 1.613 | 1.384 | -11.89 | 1046.401 | 10.804 | 87.627 | 134.949
10900 | 1.653 | 1.371 | -11.672 | 1039.902 | 12.319 | 87.4 | 135.707
11000 | 1.693 | 1.38 | -11.471 | 1351.885 | 12.622 | 87.779 | 137.071
11100 | 1.734 | 1.426 | -11.303 | 1247.89 | 11.94 | 88.84 | 136.616
11200 | 1.774 | 1.409 | -11.069 | 1039.902 | 12.016 | 87.779 | 137.98
11300 | 1.814 | 1.446 | -10.884 | 1455.873 | 12.773 | 88.612 | 138.434
11400 | 1.855 | 1.454 | -10.666 | 1143.902 | 13.228 | 88.84 | 139.343
11500 | 1.895 | 1.482 | -10.465 | 1351.885 | 13.985 | 88.158 | 141.162
11600 | 1.935 | 1.448 | -10.197 | 1247.878 | 14.591 | 87.627 | 142.677
11700 | 1.975 | 1.501 | -10.012 | 1663.856 | 14.288 | 88.537 | 142.222
11800 | 2.016 | 1.491 | -9.761 | 1143.896 | 15.197 | 88.385 | 142.829
11900 | 2.056 | 1.519 | -9.543 | 1559.861 | 15.576 | 87.552 | 143.889
12000 | 2.096 | 1.518 | -9.291 | 1351.879 | 16.333 | 87.249 | 144.798
12100 | 2.137 | 1.554 | -9.073 | 1559.861 | 16.485 | 87.476 | 145.101
12200 | 2.177 | 1.577 | -8.838 | 1351.879 | 17.394 | 87.097 | 146.617
12300 | 2.217 | 1.571 | -8.57 | 1455.873 | 18.454 | 85.961 | 146.92
12400 | 2.258 | 1.636 | -8.369 | 1663.85 | 18.682 | 86.036 | 148.132
12500 | 2.298 | 1.604 | -8.067 | 1247.89 | 20.348 | 83.536 | 149.95
12600 | 2.338 | 1.609 | -7.797 | 1871.832 | 20.348 | 84.824 | 150.556
12700 | 2.379 | 1.669 | -7.579 | 1670.352 | 19.742 | 85.506 | 149.95
12800 | 2.419 | 1.649 | -7.278 | 1351.879 | 21.787 | 83.764 | 151.465
12900 | 2.419 | 1.639 | -7.026 | 1871.835 | 22.393 | 83.991 | 152.981
13000 | 2.419 | 1.596 | -6.741 | 1559.858 | 21.105 | 84.673 | 152.678
13100 | 2.419 | 1.587 | -6.489 | 1767.844 | 20.121 | 85.885 | 151.465
13200 | 2.419 | 1.577 | -6.238 | 1559.858 | 19.212 | 86.415 | 150.102
13300 | 2.419 | 1.551 | -5.97 | 1559.867 | 18.909 | 86.643 | 149.647
13400 | 2.419 | 1.524 | -5.701 | 1663.85 | 18.076 | 87.476 | 148.738
13500 | 2.419 | 1.531 | -5.466 | 1663.853 | 17.015 | 88.082 | 148.283
13600 | 2.419 | 1.522 | -5.215 | 1455.867 | 17.015 | 88.082 | 147.829
13700 | 2.419 | 1.545 | -4.997 | 1559.864 | 16.864 | 88.082 | 146.768
13800 | 2.419 | 1.553 | -4.762 | 1351.876 | 17.091 | 86.946 | 147.223
13900 | 2.419 | 1.56 | -4.527 | 1455.87 | 18.076 | 86.415 | 147.677
14000 | 2.419 | 1.533 | -4.259 | 1455.87 | 18.076 | 86.415 | 148.132
14100 | 2.419 | 1.524 | -4.007 | 1663.856 | 17.697 | 87.324 | 148.132
14200 | 2.419 | 1.55 | -3.789 | 1559.858 | 16.409 | 88.006 | 147.374
14300 | 2.419 | 1.537 | -3.537 | 1351.883 | 17.621 | 87.097 | 147.071
14400 | 2.419 | 1.544 | -3.302 | 1566.359 | 17.394 | 86.946 | 147.374
14500 | 2.298 | 1.397 | -3.034 | 1455.87 | 17.47 | 87.173 | 147.98
14600 | 2.177 | 1.287 | -2.816 | 1663.85 | 13.834 | 91.188 | 145.405
14700 | 2.056 | 1.183 | -2.615 | 1351.882 | 11.486 | 95.431 | 139.798
14800 | 1.935 | 1.066 | -2.413 | 1247.889 | 11.41 | 96.264 | 137.374
14900 | 1.814 | 1.005 | -2.279 | 1247.887 | 11.562 | 96.871 | 133.282
15000 | 1.693 | 0.948 | -2.162 | 831.926 | 11.486 | 96.34 | 127.828
15100 | 1.572 | 0.862 | -2.028 | 727.936 | 11.41 | 93.461 | 123.433
15200 | 1.451 | 0.815 | -1.944 | 831.923 | 11.486 | 91.34 | 119.191
15300 | 1.33 | 0.772 | -1.877 | 519.955 | 11.41 | 88.84 | 115.099
15400 | 1.209 | 0.7 | -1.793 | 415.962 | 11.486 | 85.203 | 109.948
15500 | 1.089 | 0.633 | -1.726 | 519.954 | 11.41 | 81.718 | 105.25
15600 | 0.968 | 0.57 | -1.675 | 415.962 | 11.486 | 78.384 | 99.492
15700 | 0.847 | 0.513 | -1.642 | 311.973 | 11.41 | 74.293 | 94.34
15800 | 0.726 | 0.443 | -1.608 | 207.981 | 11.41 | 70.505 | 88.128
15900 | 0.605 | 0.344 | -1.558 | 207.981 | 11.41 | 65.278 | 82.825
16000 | 0.484 | 0.267 | -1.541 | 311.973 | 11.41 | 62.626 | 78.582
16100 | 0.363 | 0.178 | -1.524 | 103.992 | 11.41 | 59.065 | 75.248
16200 | 0.242 | 0.093 | -1.524 | 103.989 | 11.41 | 55.807 | 70.703
16300 | 0.121 | 0 | -1.524 | 0 | 11.486 | 53.307 | 67.521