## Data
Log File Data
2007-10-31 14:56 | MERIT Configuration Data
Test Description: Shot 8037, 7T field, Pump-Probe, 15+5 TP
Mode = Triggered
LogFile = C:\MERIT Data\071031 logfile.txt
Trigger-Pulse Delay (s) = 13.970000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -14.91 | 0 | 0 | 1.258 | 0.243
100 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.243
200 | 0 | 0 | -14.893 | 0 | 0 | 1.334 | 0.243
300 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
400 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.395
500 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
600 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.698
700 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.395
800 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.243
900 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.395
1000 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.243
1100 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.698
1200 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.849
1300 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.546
1400 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.546
1500 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.243
1600 | 0 | 0 | -14.91 | 0 | 0 | 1.41 | 0.698
1700 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.243
1800 | 0 | 0 | -14.91 | 0 | 0 | 1.334 | 0.243
1900 | 0 | 0 | -14.927 | 0 | 0 | 1.561 | 0.395
2000 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.243
2100 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.395
2200 | 0 | 0 | -14.91 | 0 | 0 | 1.182 | 0.698
2300 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.092
2400 | 0 | 0 | -14.91 | 0 | 0 | 1.561 | 0.243
2500 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.395
2600 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
2700 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
2800 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.092
2900 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
3000 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.243
3100 | 0 | 0 | -14.91 | 0 | 0 | 1.485 | 0.546
3200 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.395
3300 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.698
3400 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.849
3500 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.546
3600 | 0 | 0 | -14.927 | 0 | 0 | 1.637 | 0.395
3700 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
3800 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.698
3900 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
4000 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
4100 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.395
4200 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.698
4300 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.698
4400 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.546
4500 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.546
4600 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.395
4700 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.395
4800 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 0.698
4900 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.546
5000 | 0 | 0 | -14.927 | 0 | 0 | 1.41 | 0.243
5100 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.243
5200 | 0 | 0 | -14.927 | 0 | 0 | 1.258 | 0.243
5300 | 0 | 0 | -14.927 | 0 | 0 | 1.334 | 1.001
5400 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.243
5500 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.395
5600 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.243
5700 | 0 | 0 | -14.943 | 0 | 0 | 1.41 | 0.546
5800 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
5900 | 0 | 0 | -14.943 | 0 | 0 | 1.561 | 0.395
6000 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.092
6100 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
6200 | 0 | 0 | -14.927 | 0 | 0 | 1.182 | 0.546
6300 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.698
6400 | 0 | 0 | -14.943 | 0 | 0 | 1.485 | 0.546
6500 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.546
6600 | 0 | 0 | -14.927 | 0 | 0 | 1.485 | 0.243
6700 | 0 | 0 | -14.943 | 0 | 0 | 1.334 | 0.243
6800 | 0 | 0 | -14.943 | 0 | 0 | 1.258 | 0.395
6900 | 0.04 | 0.04 | -14.943 | 0 | 44.591 | 1.258 | 0.395
7000 | 0.081 | 0.081 | -14.943 | 0 | 44.44 | 1.41 | 0.395
7100 | 0.121 | 0.133 | -14.943 | 0 | 44.44 | 1.258 | 0.395
7200 | 0.161 | 0.189 | -14.943 | 0 | 44.44 | 1.258 | 0.395
7300 | 0.202 | 0.25 | -14.943 | 0 | 44.44 | 1.258 | 0.395
7400 | 0.242 | 0.314 | -14.943 | 0 | 44.44 | 1.41 | 0.546
7500 | 0.282 | 0.383 | -14.943 | 0 | 44.515 | 1.334 | 1.001
7600 | 0.323 | 0.456 | -14.943 | 0 | 44.515 | 1.182 | 1.001
7700 | 0.363 | 0.532 | -14.943 | 0 | 44.44 | 1.031 | 0.698
7800 | 0.403 | 0.613 | -14.943 | 0 | 44.44 | 1.107 | 1.759
7900 | 0.443 | 0.697 | -14.943 | 0 | 45.121 | 1.182 | 2.365
8000 | 0.484 | 0.769 | -14.927 | 0 | 44.515 | 2.167 | 3.425
8100 | 0.524 | 0.862 | -14.927 | 103.988 | 44.515 | 2.849 | 5.395
8200 | 0.564 | 0.925 | -14.893 | 0 | 44.515 | 4.743 | 9.032
8300 | 0.605 | 0.976 | -14.843 | 207.983 | 44.515 | 8.759 | 13.881
8400 | 0.645 | 0.98 | -14.742 | 311.977 | 44.515 | 14.971 | 22.063
8500 | 0.685 | 1.005 | -14.658 | 623.936 | 44.44 | 22.093 | 30.245
8600 | 0.726 | 1.034 | -14.575 | 519.954 | 44.212 | 28.836 | 40.094
8700 | 0.766 | 1.05 | -14.474 | 519.96 | 44.061 | 37.397 | 50.247
8800 | 0.806 | 1.054 | -14.357 | 623.942 | 44.364 | 45.731 | 60.247
8900 | 0.847 | 1.078 | -14.256 | 727.936 | 44.818 | 52.549 | 69.187
9000 | 0.887 | 1.09 | -14.139 | 623.948 | 44.44 | 59.368 | 77.37
9100 | 0.927 | 1.106 | -14.021 | 727.936 | 44.288 | 63.308 | 83.279
9200 | 0.968 | 1.075 | -13.853 | 727.925 | 44.288 | 69.066 | 90.704
9300 | 1.008 | 1.099 | -13.736 | 1039.913 | 44.515 | 72.93 | 94.947
9400 | 1.048 | 1.143 | -13.635 | 727.936 | 44.44 | 76.036 | 98.28
9500 | 1.089 | 1.141 | -13.484 | 623.942 | 44.288 | 78.687 | 102.674
9600 | 1.129 | 1.16 | -13.35 | 935.913 | 44.212 | 81.339 | 106.008
9700 | 1.169 | 1.167 | -13.199 | 831.925 | 44.44 | 83.233 | 109.645
9800 | 1.209 | 1.177 | -13.048 | 935.913 | 44.137 | 85.658 | 111.766
9900 | 1.25 | 1.208 | -12.914 | 935.925 | 44.061 | 87.097 | 114.493
10000 | 1.29 | 1.243 | -12.78 | 831.925 | 43.682 | 86.036 | 117.978
10100 | 1.33 | 1.266 | -12.629 | 831.925 | 42.167 | 83.688 | 122.979
10200 | 1.371 | 1.275 | -12.462 | 935.913 | 42.395 | 84.9 | 126.161
10300 | 1.411 | 1.306 | -12.311 | 1039.913 | 42.167 | 85.733 | 127.221
10400 | 1.451 | 1.272 | -12.092 | 935.913 | 42.698 | 86.415 | 130.1
10500 | 1.492 | 1.277 | -11.907 | 1358.384 | 42.395 | 88.158 | 131.01
10600 | 1.532 | 1.32 | -11.756 | 1143.89 | 42.319 | 88.84 | 131.616
10700 | 1.572 | 1.333 | -11.572 | 935.913 | 42.395 | 88.082 | 133.131
10800 | 1.613 | 1.367 | -11.404 | 1143.902 | 42.092 | 87.097 | 134.343
10900 | 1.653 | 1.371 | -11.203 | 1039.908 | 42.47 | 87.552 | 136.01
11000 | 1.693 | 1.363 | -10.985 | 1247.89 | 42.47 | 88.309 | 136.919
11100 | 1.734 | 1.392 | -10.8 | 1351.879 | 42.016 | 89.143 | 137.374
11200 | 1.774 | 1.392 | -10.582 | 1143.908 | 42.47 | 89.143 | 138.131
11300 | 1.814 | 1.412 | -10.381 | 1351.867 | 42.167 | 88.991 | 138.889
11400 | 1.855 | 1.42 | -10.163 | 1247.896 | 42.167 | 89.143 | 139.343
11500 | 1.895 | 1.465 | -9.979 | 1351.879 | 42.016 | 88.612 | 140.556
11600 | 1.935 | 1.464 | -9.744 | 1143.896 | 44.818 | 87.779 | 141.465
11700 | 1.975 | 1.484 | -9.526 | 1455.873 | 44.515 | 88.006 | 142.98
11800 | 2.016 | 1.491 | -9.291 | 1351.873 | 44.743 | 87.476 | 143.586
11900 | 2.056 | 1.519 | -9.073 | 1455.873 | 44.212 | 87.627 | 144.798
12000 | 2.096 | 1.535 | -8.838 | 1351.879 | 44.44 | 87.097 | 145.253
12100 | 2.137 | 1.537 | -8.587 | 1455.873 | 44.212 | 86.643 | 146.617
12200 | 2.177 | 1.56 | -8.352 | 1559.861 | 44.364 | 86.491 | 146.768
12300 | 2.217 | 1.571 | -8.1 | 1455.867 | 43.531 | 86.264 | 148.283
12400 | 2.258 | 1.567 | -7.831 | 1559.861 | 44.212 | 85.885 | 148.738
12500 | 2.298 | 1.603 | -7.596 | 1670.355 | 44.515 | 86.112 | 148.738
12600 | 2.338 | 1.609 | -7.328 | 1455.87 | 43.834 | 85.582 | 149.344
12700 | 2.379 | 1.635 | -7.076 | 1663.85 | 44.515 | 84.749 | 150.253
12800 | 2.419 | 1.683 | -6.842 | 1559.858 | 43.834 | 84.067 | 151.314
12900 | 2.419 | 1.639 | -6.556 | 1455.873 | 42.395 | 82.476 | 152.829
13000 | 2.419 | 1.58 | -6.255 | 1767.844 | 43.076 | 83.536 | 153.738
13100 | 2.419 | 1.57 | -6.003 | 1871.832 | 43.758 | 86.264 | 152.526
13200 | 2.419 | 1.527 | -5.718 | 1559.858 | 44.137 | 87.173 | 151.314
13300 | 2.419 | 1.534 | -5.483 | 1767.844 | 44.212 | 87.931 | 150.102
13400 | 2.419 | 1.524 | -5.232 | 1455.87 | 44.212 | 88.082 | 148.283
13500 | 2.419 | 1.514 | -4.98 | 1559.861 | 44.364 | 87.703 | 148.435
13600 | 2.419 | 1.538 | -4.762 | 1559.864 | 44.137 | 88.082 | 147.829
13700 | 2.419 | 1.495 | -4.477 | 1351.876 | 44.137 | 86.946 | 147.374
13800 | 2.419 | 1.519 | -4.259 | 1767.844 | 44.212 | 87.703 | 147.677
13900 | 2.419 | 1.526 | -4.024 | 1351.882 | 44.288 | 87.855 | 147.071
14000 | 2.419 | 1.567 | -3.823 | 1455.87 | 43.758 | 87.173 | 148.132
14100 | 2.419 | 1.539 | -3.554 | 1247.887 | 54.746 | 86.036 | 147.677
14200 | 2.419 | 1.546 | -3.319 | 1670.353 | 54.064 | 86.036 | 148.283
14300 | 2.419 | 1.537 | -3.067 | 1455.866 | 54.064 | 86.491 | 148.283
14400 | 2.419 | 1.544 | -2.833 | 1559.866 | 53.988 | 86.415 | 148.587
14500 | 2.298 | 1.413 | -2.581 | 1455.87 | 54.14 | 86.415 | 148.435
14600 | 2.177 | 1.271 | -2.329 | 1559.86 | 54.822 | 90.658 | 147.374
14700 | 2.056 | 1.166 | -2.128 | 1559.86 | 51.943 | 93.764 | 142.98
14800 | 1.935 | 1.066 | -1.944 | 1247.889 | 51.867 | 97.098 | 138.131
14900 | 1.814 | 0.988 | -1.793 | 1143.898 | 54.216 | 97.022 | 133.586
15000 | 1.693 | 0.931 | -1.675 | 935.916 | 54.897 | 95.583 | 129.494
15100 | 1.572 | 0.862 | -1.558 | 727.936 | 54.594 | 93.764 | 124.646
15200 | 1.451 | 0.781 | -1.441 | 727.935 | 55.049 | 91.34 | 119.797
15300 | 1.33 | 0.738 | -1.374 | 727.936 | 55.882 | 88.612 | 115.857
15400 | 1.209 | 0.666 | -1.29 | 415.962 | 54.67 | 85.733 | 110.705
15500 | 1.089 | 0.599 | -1.223 | 519.955 | 54.746 | 81.642 | 105.25
15600 | 0.968 | 0.554 | -1.189 | 415.962 | 54.746 | 78.006 | 99.795
15700 | 0.847 | 0.496 | -1.156 | 207.981 | 54.67 | 73.763 | 93.28
15800 | 0.726 | 0.426 | -1.122 | 207.983 | 54.822 | 69.444 | 88.431
15900 | 0.605 | 0.344 | -1.088 | 207.981 | 54.822 | 65.732 | 83.885
16000 | 0.484 | 0.267 | -1.072 | 207.981 | 55.049 | 62.095 | 78.279
16100 | 0.363 | 0.178 | -1.055 | 103.989 | 55.125 | 58.989 | 75.4
16200 | 0.242 | 0.093 | -1.055 | 103.992 | 55.125 | 56.641 | 71.763
16300 | 0.121 | 0 | -1.055 | 0 | 55.2 | 53.686 | 69.187