## Data
Log File Data
2007-10-31 16:09 | MERIT Configuration Data
Test Description: Shot 8044, 7T field, Pump-Probe, 15+5 TP
Mode = Triggered
LogFile = C:\MERIT Data\071031 logfile.txt
Trigger-Pulse Delay (s) = 13.970000
FlatTop Pct = 0.600000
Jet Accel Time (s) = 6.000000
Jet Steady State Time (s) = 2.000000
Jet Decel Time (s) = 2.000000
Jet SS Velocity (cm/s) = 1500.000000
Hg Prefill Vol (liter) = 1.000000
Cylinder Retract Speed (cm/s) = 0.500000
Nozzle Dia (cm) = 1.020000
Hg Volume (liter) = 13.700000
Hg Pressure Alarm (bar) = 80.000000
Hg Temperature Alarm (C) = 30.000000
Hyd Fluid Temp Alarm Level (C) = 60.000000
Hg Cyl Inlet Temp Alarm (C) = 30.000000
Sec Air Temp Alarm (C) = 30.000000
Down Pri Win Temp Alarm (C) = 40.000000
Down Bore Air Temp Alarm (min) (C) = 15.000000
Up Bore Air Temp Alarm (min) (C) = 15.000000
Flange Temp Alarm (C) = 40.000000
Upstream Window Alarm (mbar) = 200.000000
Downstream Window Alarm (mbar) = 200.000000
Hg VaporMonitor 1 Alarm (mg/m^3) = 0.050000
Hg VaporMonitor 2 Alarm (mg/m^3) = 0.100000
Time after Trigger | Nominal Command Signal | Actual Command Signal | Syringe Position | Measured Nozzle Velocity | Hg Pressure | Port A Pressure | Port B Pressure
(ms) | (cm/s) | (cm/s) | (cm) | (cm/s) | (bar) | (bar) | (bar)
0 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.243
100 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.395
200 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.395
300 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.849
400 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.849
500 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.243
600 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.698
700 | 0 | 0 | -15.061 | 0 | 0 | 1.485 | 1.152
800 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.546
900 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.395
1000 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.395
1100 | 0 | 0 | -15.061 | 0 | 0 | 1.334 | 0.395
1200 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | 0.395
1300 | 0 | 0 | -15.061 | 0 | 0 | 1.561 | 0.698
1400 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 1.001
1500 | 0 | 0 | -15.061 | 0 | 0 | 1.182 | 0.395
1600 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.395
1700 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.395
1800 | 0 | 0 | -15.061 | 0 | 0 | 1.258 | 0.546
1900 | 0 | 0 | -15.061 | 0 | 0 | 1.41 | -0.06
2000 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.849
2100 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.698
2200 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 1.304
2300 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.849
2400 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.698
2500 | 0 | 0 | -15.078 | 0 | 0 | 1.485 | 0.395
2600 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.546
2700 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 1.001
2800 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.546
2900 | 0 | 0 | -15.078 | 0 | 0 | 1.561 | 0.395
3000 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.243
3100 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | 0.395
3200 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.546
3300 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.243
3400 | 0 | 0 | -15.078 | 0 | 0 | 1.182 | 0.395
3500 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 1.001
3600 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.243
3700 | 0 | 0 | -15.094 | 0 | 0 | 1.485 | 0.243
3800 | 0 | 0 | -15.078 | 0 | 0 | 1.334 | 0.395
3900 | 0 | 0 | -15.078 | 0 | 0 | 1.41 | -0.06
4000 | 0 | 0 | -15.078 | 0 | 0 | 1.258 | 0.546
4100 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 1.001
4200 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | 1.152
4300 | 0 | 0 | -15.094 | 0 | 0 | 1.561 | 0.243
4400 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.395
4500 | 0 | 0 | -15.094 | 0 | 0 | 1.485 | 0.395
4600 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.243
4700 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 0.395
4800 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 0.546
4900 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 0.849
5000 | 0 | 0 | -15.094 | 0 | 0 | 1.258 | 1.001
5100 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.849
5200 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.395
5300 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.395
5400 | 0 | 0 | -15.094 | 0 | 0 | 1.485 | 0.243
5500 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | 0.243
5600 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.546
5700 | 0 | 0 | -15.094 | 0 | 0 | 1.485 | 0.395
5800 | 0 | 0 | -15.094 | 0 | 0 | 1.485 | 0.546
5900 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.849
6000 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.243
6100 | 0 | 0 | -15.094 | 0 | 0 | 1.182 | 0.698
6200 | 0 | 0 | -15.094 | 0 | 0 | 1.334 | 0.698
6300 | 0 | 0 | -15.111 | 0 | 0 | 1.485 | 0.546
6400 | 0 | 0 | -15.094 | 0 | 0 | 1.41 | 0.243
6500 | 0 | 0 | -15.094 | 0 | 0 | 1.637 | 0.243
6600 | 0 | 0 | -15.111 | 0 | 0 | 1.334 | 0.243
6700 | 0 | 0 | -15.111 | 0 | 0 | 1.334 | 0.546
6800 | 0 | 0 | -15.111 | 0 | 0 | 1.334 | 0.395
6900 | 0.04 | 0.04 | -15.111 | 0 | 68.763 | 1.561 | 0.395
7000 | 0.081 | 0.064 | -15.094 | 0 | 68.612 | 1.334 | 0.698
7100 | 0.121 | 0.133 | -15.111 | 103.988 | 68.839 | 1.561 | 0.849
7200 | 0.161 | 0.189 | -15.111 | -103.988 | 68.839 | 1.334 | 0.243
7300 | 0.202 | 0.25 | -15.111 | 0 | 68.915 | 1.41 | 0.546
7400 | 0.242 | 0.314 | -15.111 | 0 | 68.915 | 1.258 | 1.152
7500 | 0.282 | 0.366 | -15.094 | 0 | 68.915 | 1.182 | 1.001
7600 | 0.323 | 0.439 | -15.094 | 103.988 | 68.536 | 1.031 | 0.849
7700 | 0.363 | 0.532 | -15.111 | 0 | 68.612 | 0.576 | 0.698
7800 | 0.403 | 0.596 | -15.094 | -103.988 | 69.066 | 0.5 | 1.455
7900 | 0.443 | 0.697 | -15.111 | 103.988 | 68.688 | 0.804 | 2.516
8000 | 0.484 | 0.769 | -15.094 | -103.988 | 69.066 | 1.485 | 3.88
8100 | 0.524 | 0.845 | -15.078 | 103.988 | 68.536 | 2.698 | 5.85
8200 | 0.564 | 0.909 | -15.044 | 104 | 68.157 | 4.743 | 9.183
8300 | 0.605 | 0.959 | -14.994 | 207.983 | 68.233 | 8.152 | 13.729
8400 | 0.645 | 0.98 | -14.91 | 311.965 | 67.703 | 13.986 | 20.851
8500 | 0.685 | 1.022 | -14.843 | 519.954 | 68.233 | 20.578 | 29.488
8600 | 0.726 | 1.017 | -14.725 | 415.971 | 67.551 | 28.23 | 39.337
8700 | 0.766 | 1.017 | -14.608 | 727.936 | 67.627 | 37.473 | 50.701
8800 | 0.806 | 1.054 | -14.524 | 727.936 | 68.006 | 44.367 | 59.035
8900 | 0.847 | 1.061 | -14.407 | 519.942 | 68.309 | 50.883 | 67.066
9000 | 0.887 | 1.09 | -14.306 | 727.936 | 68.082 | 56.792 | 74.945
9100 | 0.927 | 1.089 | -14.172 | 623.948 | 68.157 | 62.777 | 82.976
9200 | 0.968 | 1.108 | -14.055 | 831.925 | 68.233 | 67.702 | 88.886
9300 | 1.008 | 1.099 | -13.904 | 727.931 | 68.309 | 72.475 | 94.34
9400 | 1.048 | 1.126 | -13.786 | 935.913 | 68.309 | 75.43 | 98.28
9500 | 1.089 | 1.158 | -13.669 | 727.936 | 69.218 | 77.703 | 102.22
9600 | 1.129 | 1.144 | -13.501 | 727.936 | 67.779 | 80.506 | 106.463
9700 | 1.169 | 1.167 | -13.367 | 1039.913 | 68.082 | 83.082 | 109.493
9800 | 1.209 | 1.16 | -13.199 | 831.925 | 67.324 | 84.673 | 112.372
9900 | 1.25 | 1.208 | -13.082 | 1039.902 | 65.203 | 83.158 | 116.463
10000 | 1.29 | 1.26 | -12.965 | 727.936 | 63.381 | 81.188 | 120.857
10100 | 1.33 | 1.266 | -12.797 | 727.936 | 63.154 | 83.082 | 123.13
10200 | 1.371 | 1.275 | -12.629 | 1039.913 | 63.305 | 84.445 | 126.615
10300 | 1.411 | 1.289 | -12.462 | 1039.902 | 62.926 | 85.961 | 128.131
10400 | 1.451 | 1.29 | -12.277 | 1039.913 | 63.154 | 87.097 | 129.949
10500 | 1.492 | 1.328 | -12.125 | 1143.896 | 62.623 | 87.4 | 131.616
10600 | 1.532 | 1.303 | -11.907 | 942.413 | 63.154 | 87.779 | 132.979
10700 | 1.572 | 1.333 | -11.739 | 1351.879 | 63.229 | 87.931 | 134.04
10800 | 1.613 | 1.35 | -11.555 | 1039.913 | 62.926 | 88.309 | 134.949
10900 | 1.653 | 1.355 | -11.354 | 1143.89 | 63.154 | 88.309 | 136.01
11000 | 1.693 | 1.346 | -11.136 | 1247.896 | 63.002 | 88.612 | 136.768
11100 | 1.734 | 1.375 | -10.951 | 1351.879 | 63.154 | 88.84 | 137.374
11200 | 1.774 | 1.425 | -10.784 | 1143.896 | 62.623 | 88.991 | 137.525
11300 | 1.814 | 1.446 | -10.582 | 1039.913 | 63.154 | 87.627 | 139.343
11400 | 1.855 | 1.437 | -10.347 | 1247.878 | 63.759 | 87.552 | 139.798
11500 | 1.895 | 1.432 | -10.113 | 1455.873 | 61.79 | 88.006 | 141.465
11600 | 1.935 | 1.448 | -9.895 | 1455.873 | 62.017 | 88.915 | 141.919
11700 | 1.975 | 1.501 | -9.71 | 1351.879 | 69.445 | 88.688 | 142.526
11800 | 2.016 | 1.508 | -9.475 | 1143.896 | 68.082 | 87.4 | 143.586
11900 | 2.056 | 1.519 | -9.241 | 1455.873 | 68.233 | 86.567 | 145.101
12000 | 2.096 | 1.535 | -9.006 | 1455.867 | 68.233 | 86.946 | 145.405
12100 | 2.137 | 1.537 | -8.754 | 1455.873 | 67.4 | 86.643 | 146.768
12200 | 2.177 | 1.543 | -8.503 | 1559.861 | 67.324 | 86.188 | 147.526
12300 | 2.217 | 1.554 | -8.251 | 1559.861 | 67.324 | 86.491 | 148.132
12400 | 2.258 | 1.585 | -8.016 | 1559.861 | 66.643 | 86.264 | 148.132
12500 | 2.298 | 1.603 | -7.764 | 1455.873 | 67.703 | 85.582 | 149.041
12600 | 2.338 | 1.609 | -7.496 | 1566.358 | 66.567 | 84.749 | 150.102
12700 | 2.379 | 1.635 | -7.244 | 1663.85 | 66.34 | 84.521 | 150.556
12800 | 2.419 | 1.683 | -7.009 | 1559.864 | 66.794 | 83.839 | 151.617
12900 | 2.419 | 1.623 | -6.707 | 1455.87 | 64.29 | 82.4 | 153.284
13000 | 2.419 | 1.596 | -6.439 | 1871.832 | 66.718 | 83.764 | 154.041
13100 | 2.419 | 1.553 | -6.154 | 1663.85 | 66.946 | 86.036 | 152.223
13200 | 2.419 | 1.56 | -5.919 | 1767.844 | 68.536 | 86.946 | 151.162
13300 | 2.419 | 1.551 | -5.668 | 1455.87 | 66.567 | 87.097 | 150.405
13400 | 2.419 | 1.574 | -5.45 | 1559.861 | 66.491 | 86.491 | 149.95
13500 | 2.419 | 1.531 | -5.165 | 1351.882 | 67.93 | 86.188 | 149.647
13600 | 2.419 | 1.538 | -4.93 | 1767.844 | 66.946 | 86.718 | 149.647
13700 | 2.419 | 1.529 | -4.678 | 1455.864 | 67.627 | 87.097 | 148.89
13800 | 2.419 | 1.536 | -4.443 | 1559.864 | 67.551 | 87.097 | 148.738
13900 | 2.419 | 1.526 | -4.192 | 1455.87 | 68.006 | 86.718 | 148.738
14000 | 2.419 | 1.55 | -3.974 | 1559.861 | 79.065 | 86.87 | 148.283
14100 | 2.419 | 1.54 | -3.722 | 1351.876 | 80.049 | 86.036 | 148.283
14200 | 2.419 | 1.53 | -3.47 | 1559.866 | 78.913 | 86.188 | 148.738
14300 | 2.419 | 1.52 | -3.218 | 1566.359 | 80.049 | 86.946 | 148.283
14400 | 2.419 | 1.51 | -2.967 | 1559.86 | 80.504 | 87.097 | 148.283
14500 | 2.298 | 1.413 | -2.749 | 1559.86 | 80.58 | 87.552 | 147.677
14600 | 2.177 | 1.254 | -2.48 | 1351.88 | 73.611 | 89.294 | 146.465
14700 | 2.056 | 1.166 | -2.296 | 1663.853 | 73.687 | 94.901 | 142.677
14800 | 1.935 | 1.083 | -2.128 | 1143.897 | 74.596 | 96.567 | 137.677
14900 | 1.814 | 0.988 | -1.961 | 1039.908 | 78.989 | 96.113 | 133.889
15000 | 1.693 | 0.914 | -1.826 | 1039.909 | 79.595 | 95.583 | 128.434
15100 | 1.572 | 0.862 | -1.726 | 831.925 | 81.337 | 93.158 | 125.1
15200 | 1.451 | 0.815 | -1.642 | 623.943 | 81.564 | 91.037 | 119.948
15300 | 1.33 | 0.755 | -1.558 | 519.955 | 81.716 | 88.234 | 115.402
15400 | 1.209 | 0.683 | -1.474 | 519.954 | 79.746 | 85.355 | 111.311
15500 | 1.089 | 0.633 | -1.424 | 519.955 | 81.034 | 81.718 | 106.311
15600 | 0.968 | 0.57 | -1.374 | 311.973 | 80.731 | 78.081 | 100.553
15700 | 0.847 | 0.479 | -1.306 | 311.97 | 80.731 | 74.748 | 94.189
15800 | 0.726 | 0.409 | -1.273 | 415.962 | 80.807 | 69.975 | 89.946
15900 | 0.605 | 0.344 | -1.256 | 207.984 | 81.034 | 66.262 | 84.643
16000 | 0.484 | 0.267 | -1.239 | 103.989 | 81.337 | 63.005 | 80.097
16100 | 0.363 | 0.178 | -1.223 | 103.992 | 81.261 | 59.444 | 76.157
16200 | 0.242 | 0.076 | -1.206 | 103.989 | 81.792 | 57.095 | 73.127
16300 | 0.121 | 0 | -1.206 | 103.992 | 80.958 | 54.216 | 68.884