March 27, 2007

Optical diagnostic: CERN agenda

- Explore the remote control of DG535 delay generator using LabView driver

- Purchase remote power reboot devices for FV cameras, confirm its remote power reboot capability

- Create a very local network on an XP machine for Window98 network connection

- bring IEEE cable, scintillating fiber & detector, old FV camera & power supply.

- Confirm desktops/laptops for use at CERN can do remote desktop connection, load all necessary softwares, obtain IP address.

- Need 220 V to 110 V transformers for some equipment?

- Explore the remote control of oscilloscope through USB and remote desktop

- Investigate the double triggering issue of SMD/FV cameras

- Investigate the stability of the FV software

- Investigate file downloading problem on FV cameras, particularly when remote desktop was used.

- Consistence in image collection on FV: # of frames, image array size of 1280x1000 ? and absent of interlacing (mostly on VP1).

- Synchronize all computer clocks.

- increase drive current (800 mA to 1.2A?) on laser diodes

- DG535: A to trigger video (CERN Encore) camera, AB to trigger SMD camera?

- Review oscilloscope connection schematic, ch1-Avtech trigger, ch2-?, ch3-scintillator output- Avlanche photodiode, ch4-scope trigger?

- Shield trigger cable, prevent rf noise pickup.

- Trigger for Adrian’s Encore?

- Check with Van Graves on the correct shot # on ours/theirs logbook.

- Software needed: FV, Release2Avi, SMD, VNC, atomic clock syn, IrfanView, Cline Viewer, MS GIF construction, eDrawings 2006, all LabView labrary. SOP doc, xlc logbook, GrabBee, Imprex

- need BNC rf attenuators, 220 to 110 transformer.

Other Information:

iBoot, power recycle devices:  #1 MAC address 00-0D-AD-01-36-69,  (old) FastVision #1, Viewport #1

#2 MAC address 00-0D-AD-01-37-61, (new) FastVision #2, Viewport #3

#3 MAC address 00-0D-AD-01-37-85,  backup unit

User name/password: E951muon, access through http://130.199.33.5/P0.html